
[image: image1.png]


[image: image2.jpg]AHE0E TLunEC
MINISTRY OF INDUSTRY




Standard Procurement Document of Goods 

Method of Procurement: National Competitive Bidding (NCB)

RFB Reference No.:        NCB/MOI/ OS-IAIP 04/2025
Contract Title: 

    Laboratory Furniture
Name of Project:     
Support for the Operationalization and      Sustainability of the Four Integrated Agro Industrial Parks Project (OS-IAIP)

  Ministry of Industry

Funded by; Italian Agency for Development Cooperation (AICS) 

With the Technical Assistance of United Nations Industrial Development Organization (UNIDO)
November, 2025 

Addis Ababa, Ethiopia

Table of Contents

3PART 1 – Bidding Procedures

Section I - Instructions to Bidders
5
Section II - Bid Data Sheet (BDS)
47
Section III - Evaluation and Qualification Criteria
53
Section IV - Bidding Forms
59
Section V - Eligible Countries
85
Section VI - Fraud and Corruption
87
PART 2 – Supply Requirements
89
Section VII - Schedule of Requirements
91
PART 3 – Contract
143
Section VIII - General Conditions of Contract
145
Section IX - Special Conditions of Contract
167
Section X - Contract Forms
171


PART 1 – Bidding Procedures

	Section I - Instructions to Bidders


Contents
7A.
General


71.
Scope of Bid


72.
Source of Funds


83.
Fraud and Corruption


84.
Eligible Bidders


125.
Eligible Goods and Related Services


12B.
Contents of Request for Bids Document


126.
Sections of Bidding Document


137.
Clarification of the Bidding Document


148.
Amendment of Bidding Document


14C.
Preparation of Bids


149.
Cost of Bidding


1410.
Language of Bid


1511.
Documents comprising Bid


1612.
Letters of Bid


1713.
Alternative Bids


1714.
Bid prices and Discounts


2015.
Currencies of Bid and Payment


2016.
Documents Establishing the Eligibility and Conformity of the Goods and Related Services


2117.
Documents Establishing the Eligibility and Qualifications of the Bidder


2218.
Period of Validity of Bids


2319.
Bid Security


2520.
Format and Signing of Bid


26D.
Submission of Bids


2621.
Sealing and Marking of Bids


2722.
Deadline for Submission of Bids


2723.
Late Bids


2724.
Withdrawal, Substitution, and Modification of Bids


28E.
Public Opening of Technical Parts of Bids


2825.
Public Opening of Technical Parts of Bids


30F.
Evaluation of Bids - General Provisions


3026.
Confidentiality


3127.
Clarification of Bids


3128.
Deviations, Reservations, and Omissions


3229.
Nonconformities, Errors and Omissions


32G.
Evaluation of Technical Parts of Bids


3230.
Evaluation of Technical Parts


3231.
Determination of Responsiveness


3332.
Qualification of the Bidders and Detailed Evaluation of the Technical Part


34H.
Notification of Evaluation of Technical Parts and Public Opening of Financial Parts of Bids


3433.
Notification of Evaluation of Technical Parts and Public Opening of Financial Parts


36I.
Evaluation of Financial Parts of Bids


3634.
Evaluation of Financial Parts


3835.
Correction of Arithmetic Errors


3936.
Conversion to Single Currency


3937.
Margin of  Preference


3938.
Comparison of Financial Parts


3939.
Abnormally Low Bids


40J.
Evaluation of Combined Technical and Financial Parts, Most Advantageous Bid and Notification of Intention to Award


4040.
Evaluation of combined Technical and Financial Parts


4041.
Purchaser’s Right to Accept Any Bid, and to Reject Any or All Bids


4042.
Standstill Period


4143.
Notification of Intention to Award


41K.
Award of Contract


4144.
Award Criteria


4145.
Purchaser’s Right to Vary Quantities at Time of Award


4246.
Notification of Award


4347.
Debriefing by the Purchaser


4448.
Signing of Contract


4449.
Performance Security


4550.
Procurement Related Complaint




	Section I - Instructions to Bidders


	General

	Scope of Bid
	1.1 In connection with the Specific Procurement Notice, Request for Bids (RFB), specified in the Bid Data Sheet (BDS), the Purchaser, as specified in the BDS, issues this bidding document for the supply of Goods and, if applicable, any Related Services incidental thereto, as specified in Section VII, Schedule of Requirements. The name, identification and number of lots (contracts) of this RFB are specified in the BDS.
1.2 Throughout this bidding document:

(a) the term “in writing” means communicated in written form (e.g. by mail, e-mail, fax,  including, if specified in the BDS, distributed or received through the electronic-procurement system used by the Purchaser), with proof of receipt;

(b) if the context so requires, “singular” means “plural” and vice versa; and

(c) “Day” means calendar day, unless otherwise specified as “Business Day”. A Business Day is any day that is an official working day of the Borrower. It excludes the Borrower’s official public holidays.

	Source of Funds
	2.1 The Borrower or Recipient (hereinafter called “Borrower”) specified in the BDS has applied for or received financing (hereinafter called “funds”) from the International Bank for Reconstruction and Development or the International Development Association (hereinafter called “the Bank”) in an amount specified in the BDS, toward the project named in the BDS. The Borrower intends to apply a portion of the funds to eligible payments under the contract for which this bidding document is issued.

2.2 Payment by the Bank will be made only at the request of the Borrower and upon approval by the Bank in accordance with the terms and conditions of the Loan (or other financing) Agreement. The Loan (or other financing) Agreement prohibits a withdrawal from the loan  account for the purpose of any payment to persons or entities, or for any import of goods, if such payment or import is prohibited by a decision of the United Nations Security Council taken under Chapter VII of the Charter of the United Nations. No party other than the Borrower shall derive any rights from the Loan (or other financing) Agreement or have any claim to the proceeds of the Loan (or other financing).

	Fraud and Corruption
	3.1 The Bank requires compliance with the Bank’s Anti-Corruption Guidelines and its prevailing sanctions policies and procedures as set forth in the WBG’s Sanctions Framework, as set forth in Section VI, Fraud and Corruption.

3.2 In further pursuance of this policy, bidders shall permit and shall cause their agents (where declared or not), subcontractors, subconsultants, service providers, suppliers, and personnel, to permit the Bank to inspect all accounts, records and other documents relating to any initial selection process, prequalification process, bid submission, proposal submission, and contract performance (in the case of award), and to have them audited by auditors appointed by the Bank.

	Eligible Bidders 
	4.1 A Bidder may be a firm that is a private entity, a state-owned enterprise or institution (subject to ITB 4.6), or any combination of such entities in the form of a joint venture (JV) under an existing agreement or with the intent to enter into such an agreement supported by a letter of intent. In the case of a joint venture, all members shall be jointly and severally liable for the execution of the entire Contract in accordance with the Contract terms. The JV shall nominate a Representative who shall have the authority to conduct all business for and on behalf of any and all the members of the JV during the Bidding process and, in the event the JV is awarded the Contract, during contract execution. Unless specified in the BDS, there is no limit on the number of members in a JV.
4.2 A Bidder shall not have a conflict of interest. Any Bidder found to have a conflict of interest shall be disqualified. A Bidder may be considered to have a conflict of interest for the purpose of this Bidding process, if the Bidder: 
(a) directly or indirectly controls, is controlled by or is under common control with another Bidder; or 
(b) receives or has received any direct or indirect subsidy from another Bidder; or

(c) has the same legal representative as another Bidder; or

(d) has a relationship with another Bidder, directly or through common third parties, that puts it in a position to influence the Bid of another Bidder, or influence the decisions of the Purchaser regarding this Bidding process; or

(e) or any of its affiliates participated as a consultant in the preparation of the design or technical specifications of the works that are the subject of the Bid; or

(f) or any of its affiliates has been hired (or is proposed to be hired) by the Purchaser or Borrower for the Contract implementation; or

(g) would be providing goods, works, or non-consulting services resulting from or directly related to consulting services for the preparation or implementation of the project specified in the BDS reference ITB 2.1 (the name of the project), that it provided or were provided by any affiliate that directly or indirectly controls, is controlled by, or is under common control with that firm; or

(h) has a close business or family relationship with a professional staff of the Borrower (or of the project implementing agency, or of a recipient of a part of the loan) who: (i) are directly or indirectly involved in the preparation of the bidding document or specifications of the Contract, and/or the Bid evaluation process of such Contract; or (ii) would be involved in the implementation or supervision of such Contract unless the conflict stemming from such relationship has been resolved in a manner acceptable to the Bank throughout the Bidding process and execution of the Contract.

4.3 A firm that is a Bidder (either individually or as a JV member) shall not participate in more than one Bid, except for permitted alternative Bids. This includes participation as a subcontractor. Such participation shall result in the disqualification of all Bids in which the firm is involved. A firm that is not a Bidder or a JV member, may participate as a subcontractor in more than one Bid.
4.4 A Bidder may have the nationality of any country, subject to the restrictions pursuant to ITB 4.8. A Bidder shall be deemed to have the nationality of a country if the Bidder is constituted, incorporated or registered in and operates in conformity with the provisions of the laws of that country, as evidenced by its articles of incorporation (or equivalent documents of constitution or association) and its registration documents, as the case may be. This criterion also shall apply to the determination of the nationality of proposed subcontractors or subconsultants for any part of the Contract including related Services.

4.5 A Bidder that has been sanctioned by the Bank, pursuant to the Bank’s Anti-Corruption Guidelines,  and in accordance with its prevailing sanctions policies and procedures as set forth in the WBG’s Sanctions Framework as described in Section VI paragraph 2.2 d.  shall be ineligible to be prequalified for, initially selected for, bid for, propose for, or be awarded a Bank-financed contract or benefit from a Bank-financed contract, financially or otherwise, during such period of time as the Bank shall have determined. The list of debarred firms and individuals is available at the electronic address specified in the BDS.
4.6 Bidders that are state-owned enterprises or institutions in the Purchaser’s Country may be eligible to compete and be awarded a Contract(s) only if they can establish, in a manner acceptable to the Bank, that they (i) are legally and financially autonomous (ii) operate under commercial law, and (iii) are not under supervision of the Purchaser. 
4.7 A Bidder shall not be under suspension from Bidding by the Purchaser as the result of the operation of a Bid–Securing Declaration or Proposal-Securing Declaration.
4.8 Firms and individuals may be ineligible if so indicated in Section V, Eligible Countries,  and:

(a) as a matter of law or official regulations, the Borrower’s country prohibits commercial relations with that country, provided that the Bank is satisfied that such exclusion does not preclude effective competition for the supply of goods or the contracting of works or services required; or 
(b) by an act of compliance with a decision of the United Nations Security Council taken under Chapter VII of the Charter of the United Nations, the Borrower’s country prohibits any import of goods or contracting of works or services from that country, or any payments to any country, person, or entity in that country.
4.9 A Bidder shall provide such documentary evidence of eligibility satisfactory to the Purchaser, as the Purchaser shall reasonably request.

4.10 A firm that is under a sanction of debarment by the Borrower from being awarded a contract is eligible to participate in this procurement, unless the Bank, at the Borrower’s request, is satisfied that the debarment; 
(a) relates to fraud or corruption; and 
(b) followed a judicial or administrative proceeding that afforded the firm adequate due process.

	Eligible Goods and Related Services
	5.1 All the Goods and Related Services to be supplied under the Contract and financed by the Bank may have their origin in any country in accordance with Section V, Eligible Countries.

5.2 For purposes of this ITB, the term “goods” includes commodities, raw material, machinery, equipment, and industrial plants; and “related services” includes services such as insurance, installation, training, and initial maintenance.

5.3 The term “origin” means the country where the goods have been mined, grown, cultivated, produced, manufactured or processed; or, through manufacture, processing, or assembly, another commercially recognized article results that differs substantially in its basic characteristics from its components.

	Contents of Request for Bids Document

	Sections of Bidding Document

	6.1 The bidding document consist of Parts 1, 2, and 3, which include all the sections indicated below, and should be read in conjunction with any addenda issued in accordance with ITB 8.

PART 1  Bidding Procedures

· Section I - Instructions to Bidders (ITB)

· Section II - Bidding Data Sheet (BDS)

· Section III - Evaluation and Qualification Criteria

· Section IV - Bidding Forms

· Section V - Eligible Countries

· Section VI - Fraud and Corruption 

	
	PART 2  Supply Requirements

· Section VII - Schedule of Requirements

PART 3  Contract

· Section VIII - General Conditions of Contract 
· Section IX - Special Conditions of Contract 
· Section X - Contract Forms 

	
	6.2 The Specific Procurement Notice - Request for Bids (RFB) issued by the Purchaser is not part of this bidding document.

6.3 Unless obtained directly from the Purchaser, the Purchaser is not responsible for the completeness of the document, responses to requests for clarification, the Minutes of the pre-Bid meeting (if any), or addenda to the bidding document in accordance with ITB 8. In case of any contradiction, documents obtained directly from the Purchaser shall prevail.

6.4 The Bidder is expected to examine all instructions, forms, terms, and specifications in the bidding document and to furnish with its Bid all information or documentation as is required by the bidding document.

	Clarification of the Bidding Document

	7.1 A Bidder requiring any clarification of the bidding document shall contact the Purchaser in writing at the Purchaser’s address specified in the BDS. The Purchaser will respond in writing to any request for clarification, provided that such request is received prior to the deadline for submission of Bids within a period specified in the BDS. The Purchaser shall forward copies of its response to all Bidders who have acquired the bidding document in accordance with ITB 6.3, including a description of the inquiry but without identifying its source. If so specified in the BDS, the Purchaser shall also promptly publish its response at the web page identified in the BDS. Should the clarification result in changes to the essential elements of the bidding document, the Purchaser shall amend the bidding document following the procedure under ITB 8 and ITB 22.2.

	Amendment of Bidding Document

	8.1 At any time prior to the deadline for submission of Bids, the Purchaser may amend the bidding document by issuing addenda.

8.2 Any addendum issued shall be part of the bidding document and shall be communicated in writing to all who have obtained the bidding document from the Purchaser in accordance with ITB 6.3. The Purchaser shall also promptly publish the addendum on the Purchaser’s web page in accordance with ITB 7.1. 
8.3 To give prospective Bidders reasonable time in which to take an addendum into account in preparing their Bids, the Purchaser may, at its discretion, extend the deadline for the submission of Bids, pursuant to ITB 22.2.

	Preparation of Bids

	Cost of Bidding


	9.1 The Bidder shall bear all costs associated with the preparation and submission of its Bid, and the Purchaser shall not be responsible or liable for those costs, regardless of the conduct or outcome of the Bidding process.

	Language of Bid


	10.1 The Bid, as well as all correspondence and documents relating to the Bid exchanged by the Bidder and the Purchaser, shall be written in the language specified in the BDS. Supporting documents and printed literature that are part of the Bid may be in another language provided they are accompanied by an accurate translation of the relevant passages into the language specified in the BDS, in which case, for purposes of interpretation of the Bid, such translation shall govern.

	Documents comprising Bid


	11.1 The Bid shall comprise two Parts, namely the Technical Part and the Financial Part. These two Parts shall be submitted simultaneously in two separate sealed envelopes (two-envelope Bidding process). One envelope shall contain only information relating to the Technical Part and the other, only information relating to the Financial Part. These two envelopes shall be enclosed in a separate sealed outer envelope marked “Original Bid”. 
11.2 The Technical Part shall contain the following:

(a) Letter of Bid - Technical Part: prepared in accordance with ITB 12;

(b) Bid Security or Bid-Securing Declaration: in accordance with ITB 19.1;

(c) Alternative Bid - Technical Part: if permissible in accordance with ITB 13, the Technical Part of any Alternative Bid;

(d) Authorization: written confirmation authorizing the signatory of the Bid to commit the Bidder, in accordance with ITB 20.3;

(e) Bidder’s Eligibility: documentary evidence in accordance with ITB 17 establishing the Bidder’s eligibility to Bid;

(f) Qualifications: documentary evidence in accordance with ITB 17 establishing the Bidder’s qualifications to perform the Contract if its Bid is accepted; 
(g) Eligibility of Goods and Related Services: documentary evidence in accordance with ITB 16, establishing the eligibility of the Goods and Related Services to be supplied by the Bidder;

(h) Conformity: documentary evidence in accordance with ITB 16, that the Goods and Related Services conform to the bidding document;

(i) any other document required in the BDS.   
11.3 The Financial Part envelope shall contain the following:

(a) Letter of Bid – Financial Part: prepared in accordance with ITB 12 and ITB 14;
(b) Price Schedules: completed prepared in accordance with ITB 12 and ITB 14;
(c) Alternative Bid - Financial Part; if permissible in accordance with ITB 13, the Financial Part of any Alternative Bid;

(d) any other document required in the BDS.   
11.4 The Technical Part shall not include any financial information related to the Bid price. Where material financial information related to the Bid price is contained in the Technical Part the Bid shall be declared non-responsive.
11.5 In addition to the requirements under ITB 11.2, Bids submitted by a JV shall include a copy of the Joint Venture Agreement entered into by all members. Alternatively, a letter of intent to execute a Joint Venture Agreement in the event of a successful Bid shall be signed by all members and submitted with the Bid, together with a copy of the proposed Agreement. 
11.6 The Bidder shall furnish in the Letter of Bid information on commissions and gratuities, if any, paid or to be paid to agents or any other party relating to this Bid.

	Letters of Bid  
	12.1. The Bidder shall prepare the Letter of Bid – Technical Part, and Letter of Bid – Financial Part using the relevant forms furnished in Section IV, Bidding Forms. The forms must be completed without any alterations to the text, and no substitutes shall be accepted except as provided under ITB 20.3. All blank spaces shall be filled in with the information requested.

	Alternative Bids
	13.1. Unless otherwise specified in the BDS, Alternative Bids shall not be considered.

	Bid prices and Discounts
	14.1 The prices and discounts quoted by the Bidder in the Letter of Bid - Financial Part and in the Price Schedules shall conform to the requirements specified below.

14.2 All lots (contracts) and items must be listed and priced separately in the Price Schedules. 
14.3 The price to be quoted in the Letter of Bid - Financial Part, in accordance with ITB 12.1 shall be the total price of the Bid, excluding any discounts offered. 
14.4 The Bidder shall quote any discounts and indicate the methodology for their application in the Letter of Bid - Financial Part, in accordance with ITB 12.1.

14.5 Prices quoted by the Bidder shall be fixed during the Bidder’s performance of the Contract and not subject to variation on any account, unless otherwise specified in the BDS. A Bid submitted with an adjustable price quotation shall be treated as nonresponsive and shall be rejected, pursuant to ITB 31. However, if in accordance with the BDS, prices quoted by the Bidder shall be subject to adjustment during the performance of the Contract, a Bid submitted with a fixed price quotation shall not be rejected, but the price adjustment shall be treated as zero.

14.6 If so specified in ITB 1.1, Bids are being invited for individual lots (contracts) or for any combination of lots (packages). Unless otherwise specified in the BDS, prices quoted shall correspond to 100% of the items specified for each lot and to 100% of the quantities specified for each item of a lot. Bidders wishing to offer discounts for the award of more than one Contract shall specify in their Bid the price reductions applicable to each package, or alternatively, to individual Contracts within the package. However, discounts that are conditional on the award of more that one lot will not be considered for bid evaluation purpose.

14.7 The terms EXW, CIP, and other similar terms shall be governed by the rules prescribed in the current edition of Incoterms, published by the International Chamber of Commerce, as specified in the BDS.
14.8 Prices shall be quoted as specified in each Price Schedule included in Section IV, Bidding Forms. The disaggregation of price components is required solely for the purpose of facilitating the comparison of Bids by the Purchaser. This shall not in any way limit the Purchaser’s right to contract on any of the terms offered. In quoting prices, the Bidder shall be free to use transportation through carriers registered in any eligible country, in accordance with Section V, Eligible Countries. Similarly, the Bidder may obtain insurance services from any eligible country in accordance with Section V, Eligible Countries. Prices shall be entered in the following manner:

(a) For Goods manufactured in the Purchaser’s Country:

(i) the price of the Goods quoted EXW (ex-works, ex-factory, ex warehouse, ex showroom, or off-the-shelf, as applicable), including all customs duties and sales and other taxes already paid or payable on the components and raw material used in the manufacture or assembly of the Goods; 
(ii) any Purchaser’s Country sales tax and other taxes which will be payable on the Goods if the Contract is awarded to the Bidder; and

(iii) the price for inland transportation, insurance, and other local services required to convey the Goods to their final destination (Project Site) specified in the BDS.
(b) For Goods manufactured outside the Purchaser’s Country, to be imported:

(i) the price of the Goods, quoted CIP named place of destination, in the Purchaser’s Country, as specified in the BDS; 
(ii) the price for inland transportation, insurance, and other local services required to convey the Goods from the named place of destination to their final destination (Project Site) specified in the BDS;
(c) For Goods manufactured outside the Purchaser’s Country, already imported: 
(i) the price of the Goods, including the original import value of the Goods; plus any mark-up (or rebate); plus any other related local cost, and custom duties and other import taxes already paid or to be paid on the Goods already imported.

(ii) the custom duties and other import taxes already paid (need to be supported with documentary evidence) or to be paid on the Goods already imported; 
(iii) the price of the Goods, obtained as the difference between (i) and (ii) above; 
(iv) any Purchaser’s Country sales and other taxes which will be payable on the Goods if the Contract is awarded to the Bidder; and 
(v) the price for inland transportation, insurance, and other local services required to convey the Goods to their final destination (Project Site) specified in the BDS.
(d) for Related Services, other than inland transportation and other services required to convey the Goods to their final destination, whenever such Related Services are specified in the Schedule of Requirements:

(i) the price of each item comprising the Related Services (inclusive of any applicable taxes). 

	Currencies of Bid and Payment
	15.1 The currency(ies) of the Bid and the currency(ies) of payments shall be the same. The Bidder shall quote in the currency of the Purchaser’s Country the portion of the Bid price that corresponds to expenditures incurred in the currency of the Purchaser’s country, unless otherwise specified in the BDS.
15.2 The Bidder may express the Bid price in any currency. If the Bidder wishes to be paid in a combination of amounts in different currencies, it may quote its price accordingly but shall use no more than three foreign currencies in addition to the currency of the Purchaser’s Country. 

	Documents Establishing the Eligibility and Conformity of the Goods and Related Services
	16.1 To establish the eligibility of the Goods and Related Services in accordance with ITB 5, Bidders shall complete the country of origin declarations in the Price Schedule Forms, included in Section IV, Bidding Forms.
16.2 To establish the conformity of the Goods and Related Services to the bidding document, the Bidder shall furnish as part of its Bid the documentary evidence that the Goods conform to the technical specifications and standards specified in Section VII, Schedule of Requirements.
16.3 The documentary evidence may be in the form of literature, drawings or data, and shall consist of a detailed item by item description of the essential technical and performance characteristics of the Goods and Related Services, demonstrating substantial responsiveness of the Goods and Related Services to the technical specification, and if applicable, a statement of deviations and exceptions to the provisions of the Section VII, Schedule of Requirements.
16.4 The Bidder shall also furnish a list giving full particulars, including available sources and current prices of spare parts, special tools, etc., necessary for the proper and continuing functioning of the Goods during the period specified in the BDS following commencement of the use of the goods by the Purchaser.
16.5 Standards for workmanship, process, material, and equipment, as well as references to brand names or catalogue numbers specified by the Purchaser in the Schedule of Requirements, are intended to be descriptive only and not restrictive. The Bidder may offer other standards of quality, brand names, and/or catalogue numbers, provided that it demonstrates, to the Purchaser’s satisfaction, that the substitutions ensure substantial equivalence or are superior to those specified in the Section VII, Schedule of Requirements.

	Documents Establishing the Eligibility and Qualifications of the Bidder
	17.1 To establish Bidder’s eligibility in accordance with ITB 4, Bidders shall complete the Letter of Bid – Technical Part, included in Section IV, Bidding Forms. 
17.2 The documentary evidence of the Bidder’s qualifications to perform the Contract, if its Bid is accepted, shall establish to the Purchaser’s satisfaction: 
(a) that, if required in the BDS, a Bidder that does not manufacture or produce the Goods it offers to supply shall submit the Manufacturer’s Authorization using the form included in Section IV, Bidding Forms to demonstrate that it has been duly authorized by the manufacturer or producer of the Goods to supply these Goods in the Purchaser’s Country;

(b) that, if required in the BDS, in case of a Bidder not doing business within the Purchaser’s Country, the Bidder is or will be (if awarded the Contract) represented by an Agent in the country equipped and able to carry out the Supplier’s maintenance, repair and spare parts-stocking obligations prescribed in the Conditions of Contract and/or Technical Specifications; and
(c) that the Bidder meets each of the qualification criterion specified in Section III, Evaluation and Qualification Criteria.

	Period of Validity of Bids
	18.1. Bids shall remain valid until the date specified in the BDS or any extended date if amended by the Purchaser in accordance with ITB 8. A Bid that is not valid until the date specified in the BDS, or any extended date if amended by the Purchaser in accordance with ITB 8, shall be rejected by the Purchaser as nonresponsive.

18.2. In exceptional circumstances, prior to the expiry of the Bid validity, the Purchaser may request Bidders to extend the period of validity of their Bids. The request and the responses shall be made in writing. If a Bid Security is requested (in accordance with ITB 19), it shall also be extended for a corresponding period. A Bidder may refuse the request without forfeiting its Bid Security. A Bidder granting the request shall not be required or permitted to modify its Bid, except as provided in ITB 18.3.

18.3. If the award is delayed by a period exceeding fifty-six (56) days beyond the expiry of the initial Bid validity, the Contract price shall be determined as follows: 
(a) In the case of fixed price contracts, the Contract price shall be the Bid price adjusted by the factor specified in the BDS. 
(b) In the case of adjustable price contracts, no adjustment shall be made.

(c) In any case, Bid evaluation shall be based on the Bid price without taking into consideration the applicable correction from those indicated above.

	Bid Security
	19.1. The Bidder shall furnish, as part of the Technical Part of its Bid, either a Bid-Securing Declaration or a Bid Security, as specified in the BDS, in original form and, in the case of a Bid security, in the amount and currency specified in the BDS.
19.2. A Bid Securing Declaration shall use the form included in Section IV, Bidding Forms.

19.3. If a Bid Security is specified pursuant to ITB 19.1, the Bid security shall be a demand guarantee in any of the following forms at the Bidder’s option:

(a) an unconditional guarantee issued by a bank or non-bank financial institution (such as an insurance, bonding or surety company);

(b) an irrevocable letter of credit;

(c) a cashier’s or certified check; or

(d) another security specified in the BDS,
from a reputable source from an eligible country. If an unconditional guarantee is issued by a non-bank financial institution located outside the Purchaser’s Country the issuing non-bank financial institution shall have a correspondent financial institution located in the Purchaser’s Country to make it enforceable unless the Purchaser has agreed in writing, prior to Bid submission, that a correspondent financial institution is not required. In the case of a bank guarantee, the Bid security shall be submitted either using the Bid Security Form included in Section IV, Bidding Forms, or in another substantially similar format approved by the Purchaser prior to Bid submission. The Bid security shall be valid for twenty-eight (28) days beyond the original date of expiry of the Bid validity, or beyond any extended date if requested under ITB 18.2.

19.4. If a Bid Security is specified pursuant to ITB 19.1, any Bid not accompanied by a substantially responsive Bid Security shall be rejected by the Purchaser as non-responsive.

19.5. If a Bid Security is specified pursuant to ITB 19.1, the Bid Security of unsuccessful Bidders shall be returned as promptly as possible upon the successful Bidder’s signing the contract and furnishing the Performance Security pursuant to ITB 49.
19.6. The Bid Security of the successful Bidder shall be returned as promptly as possible once the successful Bidder has signed the Contract and furnished the required performance security.

19.7. The Bid Security may be forfeited:

(a) if a Bidder withdraws its Bid prior to the expiry date of Bid validity specified by the Bidder on the Letter of Bid or any extended date provided by the Bidder ; or

(b) if the successful Bidder fails to: 
(i) sign the Contract in accordance with ITB 48; or 
(ii) furnish a performance security in accordance with ITB 49.

19.8. The Bid Security or Bid-Securing Declaration of a JV must be in the name of the JV that submits the Bid. If the JV has not been legally constituted into a legally enforceable JV at the time of Bidding, the Bid security or Bid-Securing Declaration shall be in the names of all future members as named in the letter of intent referred to in ITB 4.1 and ITB 11.5.

19.9. If a Bid security is not required in the BDS, pursuant to ITB 19.1, and
(a) if a Bidder withdraws its Bid during the period of Bid validity specified by the Bidder on the Letter of Bid, or any extended date provided by the Bidder, or

(b) if the successful Bidder fails to: sign the Contract in accordance with ITB 48; or furnish a performance security in accordance with ITB 49;

the Borrower may, if provided for in the BDS, declare the Bidder ineligible to be awarded a contract by the Purchaser for a period of time as stated in the BDS.

	Format and Signing of Bid


	20.1 The Bidder shall prepare the Bid, in accordance with ITB 11 and ITB 21. 
20.2 Bidders shall mark as “Confidential” information in their Bids which is confidential to their business. This may include proprietary information, trade secrets, or commercial or financially sensitive information.
20.3 The original and all copies of the Bid shall be typed or written in indelible ink and shall be signed by a person duly authorized to sign on behalf of the Bidder. This authorization shall consist of a written confirmation as specified in the BDS and shall be attached to the Bid.  The name and position held by each person signing the authorization must be typed or printed below the signature. All pages of the Bid where entries or amendments have been made shall be signed or initialed by the person signing the Bid.
20.4 In case the Bidder is a JV, the Bid shall be signed by an authorized representative of the JV on behalf of the JV, and so as to be legally binding on all the members as evidenced by a power of attorney signed by their legally authorized representatives.
20.5 Any inter-lineation, erasures, or overwriting shall be valid only if they are signed or initialed by the person signing the Bid.

	Submission of Bids

	Sealing and Marking of Bids 
	21.1 The Bidder shall deliver the Bid in two separate, sealed envelopes (the Technical Part and the Financial Part). These two envelopes shall be enclosed in a sealed outer envelope marked “Original Bid”. 
21.2 In addition, the Bidder shall submit copies of the Bid in the number specified in the BDS. Copies of the Technical Part shall be placed in a separate sealed envelope marked “Copies: Technical Part”. Copies of the Financial Part shall be placed in a separate sealed envelope marked “Copies: Financial Part”. The Bidder shall place both of these envelopes in a separate, sealed outer envelope marked “Bid Copies”. In the event of any discrepancy between the original and the copies, the original shall prevail. If alternative Bids are permitted in accordance with ITB 13, the alternative Bids shall be submitted as follows: the original of the alternative Bid Technical Part shall be placed in a sealed envelope marked “Alternative Bid – Technical Part” and the Financial Part shall be placed in a sealed envelope marked “Alternative Bid – Financial Part” and these two separate sealed envelopes then enclosed within a sealed outer envelope marked “Alternative Bid – Original”, the copies of the alternative Bid will be placed in separate sealed envelopes marked “Alternative Bid – Copies Of Technical Part”, and “Alternative Bid – Copies Of Financial Part” and enclosed in a separate sealed outer envelope marked “Alternative Bid - Copies”. 
21.3 The envelopes marked “Original Bid” and “Bid Copies” (and, if appropriate, a third envelope marked “Alternative Bid”) shall be enclosed in a separate sealed outer envelope for submission to the Purchaser.
21.4 All inner and outer envelopes, shall:

(a) bear the name and address of the Bidder;

(b) be addressed to the Purchaser in accordance with ITB 22.1;

(c) bear the specific identification of this Bidding process indicated in ITB 1.1; and

(d) bear a warning not to open before the time and date for Bid opening.

21.5 If all envelopes are not sealed and marked as required, the Purchaser will assume no responsibility for the misplacement or premature opening of the Bid.

	Deadline for Submission of Bids
	22.1. Bids must be received by the Purchaser at the address and no later than the date and time specified in the BDS. When so specified in the BDS, Bidders shall have the option of submitting their Bids electronically. Bidders submitting Bids electronically shall follow the electronic Bid submission procedures specified in the BDS.
22.2. The Purchaser may, at its discretion, extend the deadline for the submission of Bids by amending the bidding document in accordance with ITB 8, in which case all rights and obligations of the Purchaser and Bidders previously subject to the deadline shall thereafter be subject to the deadline as extended.

	Late Bids
	23.1. The Purchaser shall not consider any Bid that arrives after the deadline for submission of Bids, in accordance with ITB 22.  Any Bid received by the Purchaser after the deadline for submission of Bids shall be declared late, rejected, and returned unopened to the Bidder.

	Withdrawal, Substitution, and Modification of Bids 
	24.1. A Bidder may withdraw, substitute, or modify its Bid after it has been submitted by sending a written notice, duly signed by an authorized representative, and shall include a copy of the authorization (the power of attorney) in accordance with ITB 20.3, (except that withdrawal notices do not require copies ). The corresponding substitution or modification of the Bid must accompany the respective written notice. All notices must be:

(a) prepared and submitted in accordance with ITB 20 and ITB 21 (except that withdrawal notices do not require copies), and in addition, the respective envelopes shall be clearly marked “Withdrawal,” “Substitution,” or “Modification;” and

(b) received by the Purchaser prior to the deadline prescribed for submission of Bids, in accordance with ITB 22.

24.2. Bids requested to be withdrawn in accordance with ITB 24.1 shall be returned unopened to the Bidders.

24.3. No Bid may be withdrawn, substituted, or modified in the interval between the deadline for submission of Bids and the expiration of the period of Bid validity specified by the Bidder on the Letter of Bid -Technical Part and repeated in the Letter of Bid - Financial Part, or any extension thereof.  

	Public Opening of Technical Parts of Bids

	Public Opening of Technical Parts of Bids 
	25.1. Except as in the cases specified in ITB 23 and ITB 24.2, the Purchaser shall, at this Bid opening, publicly open and read out, in accordance with this ITB, all bids received by the deadline at the date, time and place specified in the BDS in the presence of Bidders’ designated representatives and anyone who chooses to attend. Any specific electronic Bid opening procedures required if electronic Bidding is permitted in accordance with ITB 22.1, shall be as specified in the BDS. 
25.2. First, the written notice of withdrawal in the envelopes marked “Withdrawal” shall be opened and read out and the envelope with the corresponding Bid shall not be opened, but returned to the Bidder. If the withdrawal envelope does not contain a copy of the “power of attorney” confirming the signature as a person duly authorized to sign on behalf of the Bidder, the corresponding Bid will be opened. No Bid withdrawal shall be permitted unless the corresponding withdrawal notice contains a valid authorization to request the withdrawal and is read out at Bid opening. 
25.3. Next, envelopes marked “Substitution” shall be opened and read out and exchanged with the corresponding Bid being substituted, and the substituted Bid shall not be opened, but returned to the Bidder. No Bid substitution shall be permitted unless the corresponding substitution notice contains a valid authorization to request the substitution and is read out at Bid opening. 
25.4. Next, envelopes marked “Modification” shall be opened and read out with the corresponding Bid. No Bid modification shall be permitted unless the corresponding modification notice contains a valid authorization to request the modification and is read out at Bid opening. Only Bids that are opened and read out at Bid opening shall be considered further.

25.5. Next, all other envelopes marked “Technical Part” shall be opened one at a time. All envelopes marked “Financial Part” shall remain sealed, and kept by the Purchaser in safe custody until they are opened, at a later public opening, following the evaluation of the Technical Part of the Bids. On opening the envelopes marked “Technical Part” the Purchaser shall read out: the name of the Bidder and whether there is a modification; and Alternative Bid the presence or absence of a Bid Security, if required and any other details as the Purchaser may consider appropriate. 
25.6. Only Technical Parts of  Bids and Alternative Bid - Technical Parts that are read out at Bid opening shall be considered further in the evaluation. The Letter of Bid – Technical Part and the separate sealed envelope marked “Financial Part” are to be initialed by representatives of the Purchaser attending Bid opening in the manner specified in the BDS.
25.7. At the Bid opening the Purchaser shall neither discuss the merits of any Bid nor reject any Bid (except for late Bids, in accordance with ITB 23.1).

25.8. Following the opening of the Technical Parts of the Bid the Purchaser shall prepare a record that shall include, as a minimum: 
(a) the name of the Bidder and whether there is a withdrawal, substitution, or modification;

(b) the presence or absence of a duly sealed envelope marked “Financial Part”; 
(c) the presence or absence of a Bid Security or Bid-Securing Declaration; and
(d) if applicable, any Alternative Bid - Technical Part; 
25.9. The Bidders’ representatives who are present shall be requested to sign the record. The omission of a Bidder’s signature on the record shall not invalidate the contents and effect of the record. A copy of the record shall be distributed to all Bidders.

	Evaluation of Bids - General Provisions

	
Confidentiality
	26.1 Information relating to the evaluation of the Technical Part shall not be disclosed to Bidders or any other persons not officially concerned with the Bidding process until the notification of evaluation of the Technical Part in accordance with ITB 33. Information relating to the evaluation of Financial Part, the evaluation of combined Technical Part and Financial Part, and recommendation of contract award shall not be disclosed to Bidders or any other persons not officially concerned with the RFB process until the Notification of Intention to Award the Contract is transmitted to Bidders in accordance with ITB 43. 
26.2 Any effort by a Bidder to influence the Purchaser in the evaluation or contract award decisions may result in the rejection of its Bid.

26.3 Notwithstanding ITB 26.2, from the time of Bid opening to the time of Contract Award, if any Bidder wishes to contact the Purchaser on any matter related to the Bidding process, it should do so in writing.

	Clarification of Bids


	27.1 To assist in the examination, evaluation, comparison of the Bids, and qualification of the Bidders, the Purchaser may, at its discretion, ask any Bidder for a clarification of its Bid. Any clarification submitted by a Bidder in respect to its Bid and that is not in response to a request by the Purchaser shall not be considered. The Purchaser’s request for clarification and the response shall be in writing. No change, including any voluntary increase or decrease, in the prices or substance of the Bid shall be sought, offered, or permitted, except to confirm the correction of arithmetic errors discovered by the Purchaser in the Evaluation of the Bids, in accordance with ITB 35.

27.2 If a Bidder does not provide clarifications of its Bid by the date and time set in the Purchaser’s request for clarification, its Bid may be rejected.

	Deviations, Reservations, and Omissions


	28.1 During the evaluation of Bids, the following definitions apply:
(a) “Deviation” is a departure from the requirements specified in the bidding document; 
(b) “Reservation” is the setting of limiting conditions or withholding from complete acceptance of the requirements specified in the bidding document; and

28.2 “Omission” is the failure to submit part or all of the information or documentation required in the bidding document.

	Nonconformities, Errors and Omissions 
	29.1 Provided that a Bid is substantially responsive, the Purchaser may waive any nonconformities in the Bid. 
29.2 Provided that a Bid is substantially responsive, the Purchaser may request that the Bidder submit the necessary information or documentation, within a reasonable period of time, to rectify nonmaterial nonconformities or omissions in the Bid related to documentation requirements.  Such omission shall not be related to any aspect of the price of the Bid.  Failure of the Bidder to comply with the request may result in the rejection of its Bid.



	Evaluation of Technical Parts of Bids 

	Evaluation of Technical Parts 
	30.1 In evaluating the Technical Parts of each Bid, the Purchaser shall use the criteria and methodologies listed in ITB 31, ITB 32, the BDS, if applicable, and Section III, Evaluation and Qualification Criteria. No other evaluation criteria or methodologies shall be permitted. 

	Determination of Responsiveness 
	31.1 The Purchaser’s determination of a Bid’s responsiveness is to be based on the contents of the Bid itself, as defined in ITB 11. A substantially responsive Bid is one that meets the requirements of the bidding document without material deviation, reservation, or omission. A material deviation, reservation, or omission is one that:

(a) if accepted, would:

(i) affect in any substantial way the scope, quality, or performance of the Goods and Related Services specified in the Contract; or

(ii) limit in any substantial way, inconsistent with the bidding document, the Purchaser’s rights or the Bidder’s obligations under the Contract; or

(b) if rectified, would unfairly affect the competitive position of other Bidders presenting substantially responsive Bids.

31.2 The Purchaser shall examine the technical aspects of the Bid submitted in accordance with ITB 16 and ITB 17, in particular, to confirm that all requirements of Section VII, Schedule of Requirements have been met without any material deviation or reservation, or omission. 
31.3 If a Bid is not substantially responsive to the requirements of bidding document, it shall be rejected by the Purchaser and may not subsequently be made responsive by correction of the material deviation, reservation, or omission.

	Qualification of the Bidders and Detailed Evaluation of the Technical Part
	32.1 The Purchaser shall determine, to its satisfaction, whether all eligible Bidders, whose Bids have been determined to be substantially responsive to the bidding document, meet the Qualification Criteria specified in Section III, Evaluation and Qualification Criteria. 
32.2 The determination shall be based upon an examination of the documentary evidence of the Bidder’s qualifications submitted by the Bidder, pursuant to ITB 17. The determination shall not take into consideration the qualifications of other firms such as the Bidder’s subsidiaries, parent entities, affiliates, subcontractors (other than specialized subcontractors if permitted in the bidding document), or any other firm different from the Bidder.

32.3 Prior to Contract award, the Purchaser will verify that the successful Bidder (including each member of a JV) is not disqualified by the Bank due to noncompliance with contractual SEA/SH prevention and response obligations. The Purchaser will conduct the same verification for each subcontractor proposed by the successful Bidder. If any proposed subcontractor does not meet the requirement, the Purchaser will require the Bidder to propose a replacement subcontractor.
32.4  Only substantially responsive bids submitted by eligible and qualified bidders shall proceed to the detailed technical evaluation to assess adequacy of the Technical Part followed by evaluation applying technical factors/subfactors and corresponding scores as specified in the BDS. 

	Notification of Evaluation of Technical Parts and Public Opening of Financial Parts of Bids

	Notification of Evaluation of Technical Parts and Public Opening of Financial Parts
	33.1 Following the completion of the evaluation of the Technical Parts of the Bids, and the Bank has issued its no objection (if applicable), the Purchaser shall notify in writing those Bidders who have failed to meet the Qualification Criteria and/or whose Bids were considered non-responsive to the requirements in the bidding document, advising them of the following information:

(a) the grounds on which their Technical Part of Bid failed to meet the requirements of the bidding document;
(b) their envelope marked “Financial Part” will be returned to them unopened after the completion of the bid evaluation process and the signing of the Contract;

(c) notify them of the date, time and location of the public opening of the envelopes marked ‘Financial Part”. 
33.2 The Purchaser shall, simultaneously, notify in writing those Bidders whose Technical Parts have been evaluated as substantially responsive to the bidding document and met the Qualification Criteria, advising them of the following information:

(a) their Bid has been evaluated as substantially responsive to the bidding document and met the Qualification Criteria; and

(b) their envelope marked “Financial Part” will be opened at the public opening of Financial Parts;
(c) notify them of the date, time and location of the public opening of the envelopes marked “Financial Part”. 
33.3 The opening date shall be not less than ten (10) Business Days from the date of notification of the results of the technical evaluation, specified in ITB 33.1 and 33.2. However, if the Purchaser receives a complaint on the results of the technical evaluation within the ten (10) Business Days, the opening date shall be subject to ITB 50.1. The Financial Part of the Bid shall be opened publicly in the presence of Bidders’ designated representatives and anyone who chooses to attend.
33.4 At this public opening the Financial Parts will be opened by the Purchaser in the presence of Bidders, or their designated representatives and anyone else who chooses to attend. Bidders who met the Qualification Criteria and whose Bids were evaluated as substantially responsive will have their envelopes marked “Financial Part” opened at the second public opening. Each of these envelopes marked “Financial Part” shall be inspected to confirm that they have remained sealed and unopened. These envelopes shall then be opened by the Purchaser. The Purchaser shall read out the names of each Bidder, the technical score and the total Bid prices, per lot (contract) if applicable, including any discounts and Alternative Bid - Financial Part, and any other details as the Purchaser may consider appropriate. 
33.5 Only envelopes of Financial Part of Bids, Financial Parts of Alternative Bids and discounts that are opened and read out at Bid opening shall be considered further for evaluation. The Letter of Bid - Financial Part and the Price Schedules are to be initialed by a representative of the Purchaser attending the Bid opening in the manner specified in the BDS.

33.6 The Purchaser shall neither discuss the merits of any Bid nor reject any envelopes marked “Financial Part”. 
33.7 The Purchaser shall prepare a record of the Financial Part of the Bid opening that shall include, as a minimum: 
(a)
the name of the Bidder whose Financial Part was opened; 
(b)
the Bid price, per lot (contract) if applicable, including any discounts, 
(c)
if applicable, any Alternative Bid - Financial Part.
33.8 The Bidders whose envelopes marked ‘Financial Part” have been opened or their representatives who are present shall be requested to sign the record. The omission of a Bidder’s signature on the record shall not invalidate the contents and effect of the record. A copy of the record shall be distributed to all Bidders.

	Evaluation of Financial Parts of Bids

	Evaluation of Financial Parts


	34.1 Provided that a Bid is substantially responsive, the Purchaser shall rectify quantifiable nonmaterial nonconformities related to the Bid Price.  To this effect, the Bid Price shall be adjusted, for comparison purposes only, to reflect the price of a missing or non-conforming item or component, by adding the average price of the item or component quoted by substantially responsive Bidders. If the price of the item or component cannot be derived from the price of other substantially responsive Bids, the Purchaser shall use its best estimate.
34.2 To evaluate the Financial Part of each Bid, the Purchaser shall consider the following:

(a) evaluation will be done for Items or Lots (contracts), as specified in the BDS; and the Bid Price as quoted in accordance with ITB 14;

(b) price adjustment for correction of arithmetic errors in accordance with ITB 35.1;

(c) price adjustment due to discounts offered in accordance with ITB 14.4;

(d) converting the amount resulting from applying (a) to (c) above, if relevant, to a single currency in accordance with ITB 36;

(e) price adjustment due to quantifiable nonmaterial nonconformities in accordance with ITB 34.1; and
(f) the additional evaluation factors specified in Section III, Evaluation and Qualification Criteria.
34.3 The estimated effect of the price adjustment provisions of the Conditions of Contract, applied over the period of execution of the Contract, shall not be taken into account in Bid evaluation.
34.4 If this bidding document allows Bidders to quote separate prices for different lots (contracts), each lot will be evaluated separately to determine the Most Advantageous Bid using the methodology specified in Section III, Evaluation and Qualification Criteria. Discounts that are conditional on the award of more than one lot or slice shall not be considered for Bid evaluation.
34.5 The Purchaser’s evaluation of a Bid will exclude and not take into account:

(a) in the case of Goods manufactured in the Purchaser’s Country, sales and other similar taxes, which will be payable on the goods if a contract is awarded to the Bidder;

(b) in the case of Goods manufactured outside the Purchaser’s Country, already imported or to be imported, customs duties and other import taxes levied on the imported Good, sales and other similar  taxes, which will be payable on the Goods if the contract is awarded to the Bidder; 
(c) any allowance for price adjustment during the period of execution of the contract, if provided in the Bid.

34.6 The Purchaser’s evaluation of a Bid may require the consideration of other factors, in addition to the Bid price quoted in accordance with ITB 14. These factors may be related to the characteristics, performance, and terms and conditions of purchase of the Goods and Related Services. The effect of the factors selected, if any, shall be expressed in monetary terms to facilitate comparison of Bids, unless otherwise specified in the BDS from amongst those set out in Section III, Evaluation and Qualification Criteria. The criteria and methodologies to be used shall be as specified in ITB 34.2 (f).


	Correction of Arithmetic Errors


	35.1 In evaluating the Financial Part of each Bid, the Purchaser shall correct arithmetic errors on the following basis:

(a) if there is a discrepancy between the unit price and the line item total that is obtained by multiplying the unit price by the quantity, the unit price shall prevail and the line item total shall be corrected, unless in the opinion of the Purchaser there is an obvious misplacement of the decimal point in the unit price, in which case the line item total as quoted shall govern and the unit price shall be corrected;

(b) if there is an error in a total corresponding to the addition or subtraction of subtotals, the subtotals shall prevail and the total shall be corrected; and

(c) if there is a discrepancy between words and figures, the amount in words shall prevail, unless the amount expressed in words is related to an arithmetic error, in which case the amount in figures shall prevail subject to (a) and (b) above.

35.2 Bidders shall be requested to accept correction of arithmetic errors. Failure to accept the correction in accordance with ITB 35.1, shall result in the rejection of the Bid. 

	Conversion to Single Currency
	36.1 For evaluation and comparison purposes, the currency(ies) of the Bids shall be converted in a single currency as specified in the BDS.    

	Margin of  Preference
	37.1 Unless otherwise specified in the BDS, a margin of preference shall not apply. 

	Comparison of Financial Parts

	38.1 The Purchaser shall compare the evaluated costs of the Bids to determine the Bid that has the lowest evaluated cost. The comparison shall be on the basis of CIP (place of final destination) prices for imported goods and EXW prices, plus cost of inland transportation and insurance to place of destination, for goods manufactured within the Borrower’s country, together with prices for any required installation, training, commissioning and other services. The evaluation of prices shall not take into account custom duties and other taxes levied on imported goods quoted CIP and sales and similar taxes levied in connection with the sale or delivery of goods.

	Abnormally Low Bids
	39.1
An Abnormally Low Bid is one where the Bid price, in combination with other elements of the Bid, appears so low that it raises material concerns with the Purchaser as to the capability of the Bidder to perform the Contract for the offered Bid Price.

39.2
In the event of identification of a potentially Abnormally Low Bid, the Purchaser shall seek written clarification from the Bidder, including a detailed price analyses of its Bid price in relation to the subject matter of the contract, scope, delivery schedule, allocation of risks and responsibilities and any other requirements of the bidding document.

39.3
After evaluation of the price analyses, in the event that the Purchaser determines that the Bidder has failed to demonstrate its capability to perform the contract for the offered Bid price, the Purchaser shall reject the Bid.

	Evaluation of Combined Technical and Financial Parts, Most Advantageous Bid and Notification of Intention to Award

	Evaluation of combined Technical and Financial Parts
	40.1 The Purchaser’s evaluation of responsive Bids will take into account technical factors, in addition to cost factors in accordance with Section III Evaluation and Qualification Criteria. The weight to be assigned for the Technical factors and cost is  specified in the BDS. The Purchaser will rank the Bids based on the evaluated Bid score (B).
40.2 The Purchaser will determine the Most Advantageous Bid. The Most Advantageous Bid is the Bid of the Bidder that meets the Qualification Criteria and whose Bid has been determined to be substantially responsive to the Bidding document and is the Bid with the highest combined technical and financial score. 

	Purchaser’s Right to Accept Any Bid, and to Reject Any or All Bids
	41.1 The Purchaser reserves the right to accept or reject any Bid, and to annul the Bidding process and reject all Bids at any time prior to Contract Award, without thereby incurring any liability to Bidders. In case of annulment, all Bids submitted and specifically, Bid securities, shall be promptly returned to the Bidders.

	Standstill Period
	42.1 The Contract shall not be awarded earlier than the expiry of the Standstill Period. The Standstill Period shall be ten (10) Business Days unless extended in accordance with ITB 47. The Standstill Period commences the day after the date the Purchaser has transmitted to each Bidder the Notification of Intention to Award the Contract. Where only one Bid is submitted, or if this contract is in response to an emergency situation recognized by the Bank, the Standstill Period shall not apply. 

	Notification of Intention to Award 
	43.1 
The Purchaser shall send to each Bidder (that has not already been notified that it has been unsuccessful) the Notification of Intention to Award the Contract to the successful Bidder. The Notification of Intention to Award shall contain, at a minimum, the following information:

(a) the name and address of the Bidder submitting the successful Bid; 

(b) the Contract price of the successful Bid; 

(c) the total combined score of the successful Bidder;
(d) the names of all Bidders who submitted Bids, and their Bid prices as readout, and as evaluated and technical scores;

(e) a statement of the reason(s) the Bid (of the unsuccessful Bidder to whom the notification is addressed) was unsuccessful;
(f) the expiry date of the Standstill Period;

(g) instructions on how to request a debriefing and/or submit a complaint during the standstill period.

	Award of Contract

	Award Criteria
	44.1 Subject to ITB 41, the Purchaser shall award the Contract to the successful Bidder. This is the Bidder whose Bid has been determined to be the Most Advantageous Bid as specified in ITB 40. 

	Purchaser’s Right to Vary Quantities at Time of Award 
	45.1 At the time the Contract is awarded, the Purchaser reserves the right to increase or decrease the quantity of Goods and Related Services originally specified in Section VII, Schedule of Requirements, provided this does not exceed the percentages specified in the BDS, and without any change in the unit prices or other terms and conditions of the Bid and the bidding document.

	Notification of Award
	46.1 
Prior to the date of expiry of the Bid validity and upon expiry of the Standstill Period, specified in ITB 42.1 or any extension thereof, and upon satisfactorily addressing any complaint that has been filed within the Standstill Period, the Purchaser shall notify the successful Bidder, in writing, that its Bid has been accepted. The notification of award (hereinafter and in the Contract Forms called the “Letter of Acceptance”) shall specify the sum that the Purchaser will pay the Supplier in consideration of the execution of the Contract (hereinafter and in the Conditions of Contract and Contract Forms called “the Contract Price”).

46.2   
Within ten (10) Business Days  after the date of transmission of the Letter of Acceptance, the Purchaser shall publish the Contract Award Notice which shall contain, at a minimum, the following information: 
(a) name and address of the Purchaser;

(b) name and reference number of the contract being awarded, and the selection method used; 

(c) names of all Bidders that submitted Bids, and their Bid prices as read out at Bid opening, and as evaluated; 

(d) names of all Bidders whose Bids were rejected either as nonresponsive or as not meeting qualification criteria, or were not evaluated, with the reasons therefor; 

(e) the name of the successful Bidder, the final total contract price, the contract duration and a summary of its scope; and
(f) successful Bidder’s Beneficial Ownership Disclosure Form.
46.3   
The Contract Award Notice shall be published on the Purchaser’s website with free access if available, or in at least one newspaper of national circulation in the Purchaser’s Country, or in the official gazette. The Purchaser shall also publish the contract award notice in UNDB online.

46.4  
Until a formal Contract is prepared and executed, the Letter of Acceptance shall constitute a binding Contract.

	Debriefing by the Purchaser
	47.1 On receipt of the Purchaser’s Notification of Intention to Award referred to in ITB 43.1, an unsuccessful Bidder has three (3) Business Days to make a written request to the Purchaser for a debriefing. The Purchaser shall provide a debriefing to all unsuccessful Bidders whose request is received within this deadline.

47.2 Where a request for debriefing is received within the deadline, the Purchaser shall provide a debriefing within five (5) Business Days, unless the Purchaser decides, for justifiable reasons, to provide the debriefing outside this timeframe. In that case, the standstill period shall automatically be extended until five (5) Business Days after such debriefing is provided.  If more than one debriefing is so delayed, the standstill period shall not end earlier than five (5) Business Days after the last debriefing takes place. The Purchaser shall promptly inform, by the quickest means available, all Bidders of the extended standstill period

47.3 Where a request for debriefing is received by the Purchaser later than the three (3) Business Day deadline, the Purchaser should provide the debriefing as soon as practicable, and normally no later than fifteen (15) Business Days from the date of publication of Public Notice of Award of contract. Requests for debriefing received outside the three (3) day deadline shall not lead to extension of the standstill period.  

47.4 Debriefings of unsuccessful Bidders may be done in writing or verbally. The Bidders shall bear their own costs of attending such a debriefing meeting. 

	Signing of Contract
	48.1
The Purchaser shall send to the successful Bidder the Letter of Acceptance including the Contract Agreement, and a request to submit the Beneficial Ownership Disclosure Form providing additional information on its beneficial ownership. The Beneficial Ownership Disclosure Form shall be submitted within eight (8) Business Days of receiving this request.
48.2
The successful Bidder shall sign, date and return to the Purchaser, the Contract Agreement within twenty-eight (28) days of its receipt.
48.3
Notwithstanding ITB 48.2 above, in case signing of the Contract Agreement is prevented by any export restrictions attributable to the Purchaser, to the country of the Purchaser, or to the use of the products/goods, systems or services to be supplied, where such export restrictions arise from trade regulations from a country supplying those products/goods, systems or services, the Bidder shall not be bound by its Bid, always provided however, that the Bidder can demonstrate to the satisfaction of the Purchaser and of the Bank that signing of the Contact Agreement has not been prevented by any lack of diligence on the part of the Bidder in completing any formalities, including applying for permits, authorizations and licenses necessary for the export of the products/goods, systems or services under the terms of the Contract.

	Performance Security
	49.1 Within twenty-eight (28) days of the receipt of the Letter of Acceptance from the Purchaser, the successful Bidder, if required, shall furnish the Performance Security in accordance with the GCC 18 using for that purpose the Performance Security Form included in Section X, Contract Forms, or another Form acceptable to the Purchaser. If the Performance Security furnished by the successful Bidder is in the form of a bond, it shall be issued by a bonding or insurance company that has been determined by the successful Bidder to be acceptable to the Purchaser. A foreign institution providing a bond shall have a correspondent financial institution located in the Purchaser’s Country, unless the Purchaser has agreed in writing that a correspondent financial institution is not required.  
49.2 Failure of the successful Bidder to submit the above-mentioned Performance Security or sign the Contract shall constitute sufficient grounds for the annulment of the award and forfeiture of the Bid Security. In that event the Purchaser may award the Contract to the Bidder offering the Most Advantageous Bid. 

	Procurement Related Complaint
	50.1    The procedures for making a Procurement-related Complaint are as specified in the BDS.


	Section II - Bid Data Sheet (BDS)

The following specific data for the Goods to be procured shall complement, supplement, and/or amend the provisions in the Instructions to Bidders (ITB). Whenever there is a conflict, the provisions herein shall prevail over those in ITB.


	ITB Reference
	A. General

	ITB 1.1
	The reference number of the Request for Bids (RFB) is : NCB MOI/ OS-IAIP 04/2025.
 The Purchaser is: Ministry of Industry

 The number and identification of lots (contracts) comprising this RFB is: 
 Labratory Furniture 

	ITB 2.1
	The Borrower is: Ministry of Industry
 The name of the Project is: OS-IAIP project

	ITB 4.1
	Maximum number of members in the Joint Venture (JV) shall be two.

	
	B. Contents of Bidding Document

	
	C. Preparation of Bids

	ITB 10.1
	The language of the Bid is: “English”  
 

	ITB 11.2 (i) & 11.3 (d)
	The Bidder shall submit the following additional documents in its Bid:  are ITB 11.2 (i) & 11.3 (d)  and 
a. for  foreign bidders, registration certificate or renewed  trade license issued by the country of Administration;

b, For local bidders, Registered in the Public Procurements & Property Administration Agency, Tax Clearance Certificate including; Renewed Trade License for the current year (2017E.C. for each purchasing and VAT & TIN Registration Certificates.)



	ITB 13.1
	Alternative Bids Technical and Financial Parts shall not be considered. 


	ITB 14.5
	The prices quoted by the Bidder shall not be subject to adjustment during the performance of the Contract.

	ITB 14.7
	· Final Destination (Project Site): Ethiopia Addis Ababa, 4 Kilo, Ministry of Industry. The materials mentioned in PART 2 – Section VII: Requirements shall be delivered to the respective Regional Industrial Parks, with equal distribution  among the following locations:
·  Bure Integrated Agro-Industrial Park(IAIP), Amhara Region, Distance from Addis Ababa: 414 km

· Inijibara Rural Transformation Center(RTC), Amhara Region, Distance from Addis Ababa: 438 km

· Bulbula Integrated Agro-Industrial Park (IAIP), Oromia Region Distance from Addis Ababa: 195 km

· Shashemene Rural Transformation Center(RTC), Oromia Region, Distance from Addis Ababa: 265 km

· Yirgalem) Integrated Agro-Industrial Park (IAIP) Sidama Region, Distance from Addis Ababa: 319 km
· Bensa Daye Rural Transformation Center(RTC)  Sidama Region, Distance from Addis Ababa: 411 km

	
	No

Furniture Type

Measurement

Total

1

Double sided Laboratory Workbenches with cabinets, shelves and sinks(ISLAND)
pcs

12

2

Single sided Laboratory Workbenches with cabinets (Width 175 – 185 cm) without sink
pcs

57

3

Single sided Laboratory Work benches with cabinets, Sink and Facet  (Width 175 – 185 cm)
pcs

18

4

Laboratory chair
pcs

123

5

Chemical resistant chemical/reagent storage shelves
pcs

24

6

Samples storage shelves
pcs

30

7

Wall mounted glassware storage glass shelves
pcs

18

8

Chemical/reagent vented storage cabinet

pcs

3

9

Laboratory Balance Table

pcs

12



	ITB 14.8 (b)(i) 
	Place of Destination:  

· Bure Integrated Agro-Industrial Park(IAIP), Amhara Region, Distance from Addis Ababa: 414 km

· Inijibara Rural Transformation Center(RTC), Amhara Region, Distance from Addis Ababa: 438 km
· Bulbula Integrated Agro-Industrial Park (IAIP), Oromia Region Distance from Addis Ababa: 195 km

· Shashemene Rural Transformation Center(RTC), Oromia Region, Distance from Addis Ababa: 265 km

· Yirgalem) Integrated Agro-Industrial Park (IAIP) Sidama Region, Distance from Addis Ababa: 319 km
· Bensa Daye, Rural Transformation Center(RTC)  Sidama Region, Distance from Addis Ababa: 411 km

	ITB 17.2 (a)
	Manufacturer’s authorization is: required 


	ITB 17.2 (b)
	The Laboratory Furniture   is hand over shall occur only after the successful completion of allocation and full installation of all required materials, including successful testing to confirm.

	ITB 18.1 
	The bid shall be valid for 90 days after the date for bid submission deadline.



	ITB 18.3 (a)
	The Bid price shall not be adjusted. 


	ITB 19.1


	Bidding process requires placing the Bid Security in the first envelope -Technical Part - amounting 200,000.00 (Two Hundred Thousand ETB) or equivalent by CPO or unconditional bank guaranty.  


	ITB 20.3
	The written confirmation of authorization to sign on behalf of the Bidder shall consist of: legal letter   owner or representative. 



	
	D. Submission of Bids

	ITB 21.2
	In addition to the original of the Bid, the number of copies is: Bidders must submit one “Technical Copy, & one “Financial Copy separately.

	ITB 22.1 

	For Bid submission purposes only, the Purchaser’s address is: 
Attention to: Ato. Girma Teferi
Address:     OS-IAIP Project Office, 5th floor, Room No 511,

 Ministry of Industry, 4 Kilo Behind Abrehot Library

 Addis Ababa, Ethiopia 
The Bid Issue date is   November 25/2025 G.C. shall be on air for 30 days.
The deadline for Bid submission is December 26/2025 GC 4:00 Addis Ababa local time starting from the date of advertising for consecutive 30 days.


	
	E. Public Opening of Technical Parts of Bids

	ITB 25.1
	The Bid opening shall take place at: 
Address:     OS-IAIP Project Office, 5th floor, Room No 511,
 Ministry of Industry, 4 Kilo Behind Abrehot Library

 Addis Ababa, Ethiopia 
Bid Opening Date: December 26/2025 G.C. 4:30 Addis Ababa local time. After 30 days of advertisement.


	ITB 25.6
	The Financial and Technical Proposals shall be opened simultaneously by the Bid Opening Committee, as both are submitted in a single envelope.

	G. Evaluation of Technical Parts of Bids

	ITB 32.4
	The technical factors and sub factors as applicable and the corresponding scores out of 100% are:

We use technical evaluation pass or fail system so the supplier or bidder must submit 

(a) The Bidder shall demonstrate that it has successfully completed at least three contracts within the last five -years. and
(b) Each  value of contracts must be   at least 5 Million  ETB/  Five million ETB / or equivalent  
(c) If the bidder meets the technical specification then selection shall be made on the lowest cost. 


	H. Notification of Evaluation of Technical Parts and Public Opening of Financial Parts of Bids

	ITB 33.5
	The Letter of Bid – Financial Part and the Price Schedules shall be initialed by four representatives of the Purchaser conducting Bid opening.   

	
	I. Evaluation of Financial Part of Bids 

	ITB 34.2(a)
	Evaluation will be done for: Each item will be evaluated individually, and the contract will be awarded as a lump sum to the successful bidder based on the total of the awarded items."


	ITB 34.6
	The adjustments shall be determined using the following criteria, from amongst those set out in Section III, Evaluation and Qualification Criteria: [refer to Section III, Evaluation and Qualification Criteria; insert complementary details if necessary] 
(a) Deviation in Delivery schedule: No.
(b) Deviation in payment schedule: No.
(c) The cost of major replacement component, mandatory spare parts, and service: No. 
(d) the availability in the Purchaser’s Country of spare parts and after-sales services for the furniture offered in the Bid  no .
(e) Life cycle costs: the costs during the life of the goods or furniture No.
(f) the performance and productivity of the furniture offered; Yes 
(g) Refer the specification Yes

	ITB 36.1


	The currency that shall be used for Bid evaluation and comparison purposes to convert at the selling exchange rate all Bid prices expressed in various currencies into a single currency is: Ethiopian Birr.


	J. Evaluation of Combined Technical and Financial Parts and Most Advantageous Bid

	
	J. Award of Contract

	ITB 45.1
	The maximum percentage by which quantities may be increased is: 20%
The maximum percentage by which quantities may be decreased is: 20%

	ITB 50.1
	The procedures for making a Procurement-related Complaint are detailed in the “Procurement Regulations for IPF Borrowers (Annex III).” If a Bidder wishes to make a Procurement-related Complaint, the Bidder should submit its complaint following these procedures, in writing (by the quickest means available, that is either by email or fax), to:

For the attention: H.E. Hassan Mohammed Moalin
Title/position: State Minister, Ministry of Industry  
Purchaser: Ministry of  Industry 
Email address: hassanmoalin2021@gmail.com
In summary, a Procurement-related Complaint may challenge any of the following:

1. the terms of the Bidding Documents; 

2. the Purchaser’s decision to exclude a Bidder from the procurement process prior to the award of contract; and
3. the Purchaser’s decision to award the contract.


Section III - Evaluation and Qualification Criteria

This Section contains the criteria that the Purchaser shall use to evaluate Bids and qualify the Bidders.  No other factors, methods or criteria shall be used other than specified in this bidding document.
The Purchaser shall select the criteria deemed appropriate for the procurement process, insert the appropriate wording using the samples below or other acceptable wording, and delete the text in italics]
TECHNICAL PART
 Qualification 
Qualification Criteria (ITB 32.1)

The Purchaser shall assess each Bid against the following Qualification Criteria. Requirements not included in the text below shall not be used in the evaluation of the Bidder’s qualifications.

(d) Financial Capability: The Bidder shall submit audited financial statements or, if not required by the law of the Bidder’s country, other financial statements acceptable to the Purchaser, for the last five  years  prior to bid submission deadline, demonstrating the current soundness of the Bidder’s financial position. For a joint venture, this requirement shall be met by each member;

(e) Specific Experience: The Bidder shall demonstrate that it has successfully completed at least three contracts within the last five years prior to bid submission deadline, each with a value of at least 5 Million ETB/ five Million or Equivalent   that have been successfully and substantially completed and that are similar in nature and complexity to the Goods and Related Services under the Contract. For a joint venture, this requirement may be met by all members combined.
(f) Documentary Evidence: The Bidder shall furnish documentary evidence to demonstrate that the Goods it offers meet the following usage requirement drowning and videos.

(g) Manufacturing experience and Technical Capacity: For the items under the Contract that the bidder is a manufacturer, the Bidder shall furnish documentary evidence to demonstrate that: 

(i) it has manufactured goods of similar nature and complexity for at least three years  prior to the bid submission deadline; and

(ii) its annual production capacity of goods of similar nature and complexity for each of the last three years   prior to the bid submission deadline, is at least three times the quantities specified under the contract.
(h) [If cyber security risk has been assessed to present potential or actual cyber security risks, include key relevant specific experience requirement to demonstrate cyber security experience, practice and track record, including relevant Cyber security accreditation such as ISO 27000 (ISO 27001) or equivalent.]

(i) Manufacturer’s authorization: A Bidder who does not manufacture an item/s where a manufacturer authorization is required in accordance with BDS ITB 17.2 (a), the Bidder shall  provide evidence of being duly authorized by a manufacturer (Manufacturer’s Authorization Form, Section IV, Bidding Forms), meeting the criteria in (d) (i) and (ii) above, to supply the Goods; 

(j) A bidder who does who does not manufacture an item/s where a manufacturer authorization is not required in accordance with BDS ITB 17.2 (a), the bidder shall submit documentation on, its status as a supplier, to the satisfaction of the Purchaser (e.g. authorized dealer/ distributor of the items).

At the time of Contract Award, the Bidder (including each subcontractor proposed by the Bidder) shall not be subject to disqualification by the Bank for non-compliance with SEA/ SH obligations.
FINANCIAL PART
1. Margin of Preference (ITB 37)

If the Bidding Data Sheet so specifies, the Purchaser will grant a margin of preference to goods manufactured in the Purchaser’s country for the purpose of Bid comparison, in accordance with the procedures outlined in subsequent paragraphs.

Substantially responsive Bids will be classified in one of three groups, as follows:

(a)
Group A: Bids offering goods manufactured in the Purchaser’s Country, for which (i) labor, raw materials, and components from within the Purchaser’s Country account for more than thirty (30) percent of the EXW price; and (ii) the production facility in which they will be manufactured or assembled has been engaged in manufacturing or assembling such goods at least since the date of Bid submission.

(b)
Group B: All other Bids offering Goods manufactured in the Purchaser’s Country.

(c)
Group C: Bids offering Goods manufactured outside the Purchaser’s Country that have been already imported or that will be imported.  
To facilitate this classification by the Purchaser, the Bidder shall complete whichever version of the Price Schedule furnished in the bidding document is appropriate provided, however, that the completion of an incorrect version of the Price Schedule by the Bidder shall not result in rejection of its Bid, but merely in the Purchaser’s reclassification of the Bid into its appropriate Bid group.

The Purchaser will first review the Bids to confirm the appropriateness of, and to modify as necessary, the Bid group classification to which Bidders assigned their Bids in preparing their Bid Forms and Price Schedules.

Following the combined evaluation procedure described below, the Bids in each group will then be compared to determine the Most Advantageous Bid in that group. The Most Advantageous Bid from each group shall then be compared with each other and if as a result of this comparison a Bid from Group A or Group B is the Most Advantageous, it shall be selected for the award.

If as a result of the preceding comparison, a Bid from Group C is the Most Advantageous Bid, all Bids from Group C shall be further compared with the Most Advantageous Bid from Group A after adding to the evaluated price of goods offered in each Bid from Group C, for the purpose of this further comparison only, an amount equal to 15% (fifteen percent) of the respective CIP Bid price for goods to be imported and already imported goods. Both prices shall include unconditional discounts and be corrected for arithmetical errors. If the Bid from Group A is the Most Advantageous, it shall be selected for award. If not, the Most Advantageous Bid from Group C shall be selected. 
Evaluation Criteria (ITB 34.6)

The Purchaser shall use the criteria and methodologies listed in this Section to evaluate the Financial Part.
The Purchaser’s evaluation of the Financial Part may take into account, in addition to the Bid Price, one or more of the following factors as specified in BDS ITB 34.6, using the following criteria and methodologies. The Purchaser’s evaluation of a Bid may require the consideration of other factors, in addition to the Bid price quoted in accordance with ITB 14. These factors may be related to the characteristics, performance, and terms and conditions of purchase of the Goods and Related Services. The effect of the factors selected, if any, shall be expressed in monetary terms to facilitate comparison of Bids.
(a)
Delivery schedule. (As per Incoterms specified in the BDS)

The Goods specified in the List of Goods are required to be delivered within the acceptable time range (after the earliest and before the final date, both dates inclusive) specified in Section VII, Schedule of Requirements. No credit will be given to deliveries before the earliest date, and Bids offering delivery after the final date shall be treated as nonresponsive. Within this acceptable period, an adjustment of [insert the adjustment factor] will be added, for evaluation purposes only, to the Bid price of Bids offering deliveries later than the “Earliest Delivery Date” specified in Section VII, Schedule of Requirements.

 (b)
Cost of major replacement components, mandatory spare parts, and service. 

The list of items and quantities of major assemblies, components, and selected spare parts, likely to be required during the initial period of operation specified in the BDS 16.4, is in the List of Goods. An adjustment equal to the total cost of these items, at the unit prices quoted in each Bid, shall be added to the Bid price, for evaluation purposes only.

 (c)
Availability in the Purchaser’s Country of spare parts and after sales services for equipment offered in the Bid.

An adjustment equal to the cost to the Purchaser of establishing the minimum service facilities and parts inventories if quoted separately shall be added to the Bid price, for evaluation purposes only.

Technical Specifications and Scoring Criteria for Laboratory Furniture

This section outlines the technical evaluation criteria for laboratory furniture to be supplied under this tender. The Technical Evaluation Committee will conduct the evaluation either through physical inspection, virtual presentation, or on-site visit to assess the quality and compliance of the proposed furniture

Evaluation Methodology

The evaluation will be based on a pass/fail criterion. Among the bidders who meet all the requirements, the contract will be awarded to the one offering the leastprice. 
	No
	Evaluation Factor
	Evaluation Criteria
	Score

	1
	Material Quality
	High-quality materials suitable for laboratory use, e.g., chemical-resistant tops, rustproof metal, durable joints, etc.
	Pass/Fail

	
	
	Medium-quality materials that meet minimum lab standards but may lack durability.
	Pass/Fail

	2
	Design, Functionality & Aesthetic
	Well-designed, functional layout with efficient space utilization, modern appearance, and attractive finish.
	Pass/Fail

	
	
	Acceptable design and attractiveness but with minor issues in layout or appearance.
	Pass/Fail


Sample Review

All bidders are required to present a sample of the proposed laboratory furniture for evaluation. This can be done in one of the following ways:

· Physical Sample Submission: A sample unit of the proposed furniture must be delivered for inspection.

· Virtual Demonstration: A detailed virtual demonstration of the furniture, showcasing design, materials, and functionality.

· On-Site Visit: A visit to the bidder’s working facility where the proposed furniture is already in use or available for demonstration.

Important Notes

· Mandatory Requirement: Failure to provide a physical sample, virtual presentation, or arrange a working facility visit will lead to disqualification from the technical evaluation.

	Section IV - Bidding Forms


Table of Forms

60Letter of Bid – Technical Part

Technical Part
63
Technical Bid Checklist
64
Functional Guarantees
65
Manufacturer’s Authorization
66
Bidder Information Form
67
Bidder’s JV Members Information Form
69
Sexual Exploitation and Abuse (SEA) and/or Sexual Harassment Performance Declaration
71
Form of Bid Security
72
Form of Bid Security (Bid Bond)
74
Form of Bid-Securing Declaration
76
Letter of Bid - Financial Part
78
Price Schedule Forms
80
Price Schedule: Goods Manufactured Outside the Purchaser’s Country, to be Imported
81
Price Schedule: Goods Manufactured Outside the Purchaser’s Country, already imported*
82
Price Schedule: Goods Manufactured in the Purchaser’s Country
82
Price and Completion Schedule - Related Services
84



Section IV - Bidding Forms
Letter of Bid – Technical Part
	INSTRUCTIONS TO BIDDERS: DELETE THIS BOX ONCE YOU HAVE COMPLETED THE DOCUMENT

Place this Letter of Bid in the first envelope “TECHNICAL PART”.

The Bidder must prepare the Letter of Bid on stationery with its letterhead clearly showing the Bidder’s complete name and business address.

Note: All italicized text in black font is to help Bidders in preparing this form and Bidders shall delete it from the final document. 


Date of this Bid submission: December 26/2025 GC 4:00 Addis Ababa local time  
RFB No.: NCB MOI/ OS-IAIP 04/2025 
To: 










We, the undersigned Bidder, hereby submit our Bid, in two parts, namely:

(a) the Technical Part, and

(b) the Financial Part.

In submitting our Bid we make the following declarations: 
(a) No reservations: We have examined and have no reservations to the bidding document, including addenda issued in accordance with Instructions to Bidders (ITB 8);

(b) Eligibility: We meet the eligibility requirements and have no conflict of interest in accordance with ITB 4;
(c) Bid/Proposal-Securing Declaration: We have not been suspended nor declared ineligible by the Purchaser based on execution of a Bid Securing Declaration  or Proposal Securing Declaration in the Purchaser’s country in accordance with ITB 4.7;

(d) Sexual Exploitation and Abuse (SEA) and/or Sexual Harassment (SH): [select the appropriate option from (i) to (iii) below and delete the others. In case of JV members and/or subcontractors, indicate the status of disqualification by the Bank of each JV member and/or subcontractor].

We, including any of our subcontractors:

(i)  [have not been subject to disqualification by the Bank for non-compliance with SEA/ SH obligations.] 

(ii)  [are subject to disqualification by the Bank for non-compliance with SEA/ SH obligations.] 

(iii)  [had been subject to disqualification by the Bank for non-compliance with SEA/ SH obligations, and were removed from the disqualification list. An arbitral award on the disqualification case has been made in our favor.]

(e) Conformity: We offer to supply in conformity with the bidding document and in accordance with the Delivery Schedules specified in the Schedule of Requirements the following Goods: [insert a brief description of the Goods and Related Services];

(f) Bid Validity: Our Bid shall be valid until [insert day, month and year in accordance with ITB 18.1], and it shall remain binding upon us and may be accepted at any time before the expiration of that period;

(g) Performance Security: If our Bid is accepted, we commit to obtain a performance security in accordance with the bidding document;

One Bid per Bidder: We are not submitting any other Bid(s) as an individual Bidder, and we are not participating in any other bid(s) as a Joint Venture member or as a subcontractor, and meet the requirements of ITB 4.3, other than Alternative Bids submitted in accordance with ITB 13;

(h) Suspension and Debarment: We, along with any of our subcontractors, suppliers, consultants, manufacturers, or service providers for any part of the contract, are not subject to, and not controlled by any entity or individual that is subject to, a temporary suspension or a debarment imposed by the World Bank Group or a debarment imposed by the World Bank Group in accordance with the Agreement for Mutual Enforcement of Debarment Decisions between the World Bank and other development banks. Further, we are not ineligible under the Purchaser’s country laws or official regulations or pursuant to a decision of the United Nations Security Council;

(i) State-owned enterprise or institution: [select the appropriate option and delete the other] [We are not a state-owned enterprise or institution] / [We are a state-owned enterprise or institution but meet the requirements of ITB 4.6];
(j) Binding Contract: We understand that this Bid, together with your written acceptance thereof included in your Letter of Acceptance, shall constitute a binding contract between us, until a formal contract is prepared and executed; 
(k) Not Bound to Accept: We understand that you are not bound to accept the lowest evaluated cost Bid, the Most Advantageous Bid or any other Bid that you may receive; and

(l) Fraud and Corruption: We hereby certify that we have taken steps to ensure that no person acting for us, or on our behalf, engages in any type of Fraud and Corruption.

Name of the Bidder: *[insert complete name of Bidder]

Name of the person duly authorized to sign the Bid on behalf of the Bidder: ** [insert complete name of person duly authorized to sign the Bid]
Title of the person signing the Bid: [insert complete title of the person signing the Bid]

Signature of the person named above: [insert signature of person whose name and capacity are shown above]

Date signed [insert date of signing] day of [insert month], [insert year]

*: In the case of the Bid submitted by a Joint Venture specify the name of the Joint Venture as Bidder.

**: Person signing the Bid shall have the power of attorney given by the Bidder. The power of attorney shall be attached with the Bid Schedules.
Technical Part
The technical bid shall include all relevant information required to evaluate the technical Part in accordance with the requirements.
To establish the conformity of the Goods and Related Services to the RFB document, the Bidder shall furnish the documentary evidence that the Goods conform to the technical specifications and standards, including any essential technical and performance characteristics  specified in Section VII, Schedule of Requirements. Any required functional guarantees shall also be provided. The attached forms/format may support the Bidder to organize information required to present its technical bid. 

The documentary evidence may be in the form of literature, drawings or data, and shall consist of a detailed item by item description of the essential technical and performance characteristics of the Goods and Related Services, demonstrating substantial responsiveness of the Goods and Related Services to the technical specification, and if applicable, a statement of deviations and exceptions to the provisions of the Section VII, Schedule of Requirements. 

In the interest of timely bid evaluation and contract award, Bidders are encouraged not to overload the supporting materials with documents that do not directly address the Purchaser’s requirements.

The Bidder shall also furnish a list giving full particulars, including available sources and current prices of spare parts, special tools, etc., necessary for the proper and continuing functioning of the Goods during the period specified in the BDS following commencement of the use of the goods by the Purchaser.
Standards for workmanship, process, material, and equipment, as well as references to brand names or catalogue numbers specified by the Purchaser in the Schedule of Requirements, are intended to be descriptive only and not restrictive. The Bidder may offer other standards of quality, brand names, and/or catalogue numbers, provided that it demonstrates, to the Purchaser’s satisfaction, that the substitutions ensure substantial equivalence or are superior to those specified in the Section VII, Schedule of Requirements. 

If the contract has been assessed to present potential or actual cyber security risks, the technical bid  must include proposed cyber security risks management plan.

If there are assessed supply chain risks, the technical bid must include proposed supply chain risk management plan.

The Manufacture’s Authorizations shall be included in accordance with ITB BDS 17.2 (a) and the attached Manufacturer’s Authorization form.

Technical Bid Checklist 

	Technical.
Requirement
No. _  
	Technical Requirement:

[ insert:  description of requirement ]

	Bidder’s technical bid/ compliance:  



	Bidder’s cross references to supporting information in the Technical Bid:




Functional Guarantees

(to be used as applicable)

The Bidder shall copy in the left column of the table below; the identification of each functional guarantee required in the Specification and in the right column, provides the corresponding value for each functional guarantee of the proposed Goods. 

	Required Functional Guarantee 
	Value of Functional Guarantee of the Goods

	1.
	

	2.
	

	3.
	

	…
	


Manufacturer’s Authorization 

[The Bidder shall require the Manufacturer to fill in this Form in accordance with the instructions indicated. This letter of authorization should be on the letterhead of the Manufacturer and should be signed by a person with the proper authority to sign documents that are binding on the Manufacturer. The Bidder shall include it in its Bid, if so indicated in the BDS.]

Date: [insert date (as day, month and year) of Bid submission]
RFB No.: [insert number of RFB process]

Alternative No.: [insert identification No if this is a Bid for an alternative]
To: [insert complete name of Purchaser] 
WHEREAS

We [insert complete name of Manufacturer], who are official manufacturers of [insert type of goods manufactured], having factories at [insert full address of Manufacturer’s factories], do hereby authorize [insert complete name of Bidder] to submit a Bid the purpose of which is to provide the following Goods, manufactured by us [insert name and or brief description of the Goods], and to subsequently negotiate and sign the Contract.

We hereby extend our full guarantee and warranty in accordance with Clause 28 of the General Conditions of Contract, with respect to the Goods offered by the above firm.

We confirm that we do not engage or employ forced labor or persons subject to trafficking or child labor, in accordance with Clause 14 of the General Conditions of Contract.

Signed: [insert signature(s) of authorized representative(s) of the Manufacturer] 
Name: [insert complete name(s) of authorized representative(s) of the Manufacturer]


Title: [insert title] 

Dated on ____________ day of __________________, _______ [insert date of signing]
Bidder Information Form

[The Bidder shall fill in this Form in accordance with the instructions indicated below. No alterations to its format shall be permitted and no substitutions shall be accepted.]

Date: [insert date (as day, month and year) of Bid submission] 
RFB No.: [insert number of Bidding process]

Alternative No.: [insert identification No if this is a Bid for an alternative]
Page ________ of_ ______ pages

	1. Bidder’s Name [insert Bidder’s legal name]

	2. In case of JV, legal name of each member : [insert legal name of each member in JV]

	3. Bidder’s actual or intended country of registration: [insert actual or intended country of registration]

	4. Bidder’s year of registration: [insert Bidder’s year of registration]

	5. Bidder’s Address in country of registration: [insert Bidder’s legal address in country of registration]

	6. Bidder’s Authorized Representative Information

   Name: [insert Authorized Representative’s name]
   Address: [insert Authorized Representative’s Address]
   Telephone/Fax numbers: [insert Authorized Representative’s telephone/fax numbers]
   Email Address: [insert Authorized Representative’s email address]

	7. 
Attached are copies of original documents of [check the box(es) of the attached original documents]
(
Articles of Incorporation (or equivalent documents of constitution or association), and/or documents of registration of the legal entity named above, in accordance with ITB 4.4.

(
In case of JV, letter of intent to form JV or JV agreement, in accordance with ITB 4.1.

(
In case of state-owned enterprise or institution, in accordance with ITB 4.6 documents establishing:

· Legal and financial autonomy
· Operation under commercial law
· Establishing that the Bidder is not under the supervision of the Purchaser
8. 
Included are the organizational chart, a list of Board of Directors, and the beneficial ownership. The successful Bidder shall provide additional information on beneficial ownership, using the Beneficial Ownership Disclosure Form.


Bidder’s JV Members Information Form

[The Bidder shall fill in this Form in accordance with the instructions indicated below. The following table shall be filled in for the Bidder and for each member of a Joint Venture]].
Date: [insert date (as day, month and year) of Bid submission] 
RFB No.: [insert number of RFB process]

Alternative No.: [insert identification No if this is a Bid for an alternative]
Page ________ of_ ______ pages

	1.
Bidder’s Name: [insert Bidder’s legal name]

	2.
Bidder’s JV Member’s  name: [insert JV’s Member legal name]

	3.
Bidder’s JV Member’s country of registration: [insert JV’s Member country of registration]

	4.
Bidder’s JV Member’s year of registration: [insert JV’s Member year of registration]

	5.
Bidder’s JV Member’s legal address in country of registration: [insert JV’s Member legal address in country of registration]

	6.
Bidder’s JV Member’s authorized representative information

Name: [insert name of JV’s Member authorized representative]
Address: [insert address of JV’s Member authorized representative]
Telephone/Fax numbers: [insert telephone/fax numbers of JV’s Member authorized representative]

Email Address: [insert email address of JV’s Member authorized representative]

	7.
 Attached are copies of original documents of [check the box(es) of the attached original documents]
(
Articles of Incorporation (or equivalent documents of constitution or association), and/or registration documents of the legal entity named above, in accordance with ITB 4.4.

( 
In case of a state-owned enterprise or institution, documents establishing legal and financial autonomy, operation in accordance with commercial law, and that they are not under the supervision of the Purchaser, in accordance with ITB 4.6.

8. 
Included are the organizational chart, a list of Board of Directors, and the beneficial ownership.  The successful Bidder shall provide additional information on beneficial ownership for each JV member using the Beneficial Ownership Disclosure Form.



Sexual Exploitation and Abuse (SEA) and/or Sexual Harassment Performance Declaration 

[The following table shall be filled in by the Bidder, each member of a Joint Venture and each subcontractor proposed by the Bidder]

Bidder’s Name: [insert full name]
Date: [insert day, month, year]
Joint Venture Member’s or Subcontractor’s Name: [insert full name]
RFB No. and title: [insert RFB number and title]
Page [insert page number] of [insert total number] pages

	SEA and/or SH Declaration 

in accordance with Section III, Qualification Criteria, and Requirements

	We:

(  (a) have not been subject to disqualification by the Bank for non-compliance with SEA/ SH obligations
(  (b) are subject to disqualification by the Bank for non-compliance with SEA/ SH obligations
(  (c) had been subject to disqualification by the Bank for non-compliance with SEA/ SH obligations, and were removed from the disqualification list. An arbitral award on the disqualification case has been made in our favor.  

	[If (c) above is applicable, attach evidence of an arbitral award reversing the findings on the issues underlying the disqualification.]


Form of Bid Security

(Bank Guarantee)

[The bank shall fill in this Bank Guarantee Form in accordance with the instructions indicated.]

[Guarantor letterhead or SWIFT identifier code]

Beneficiary: [Purchaser to insert its name and address] 

RFB No.: [Purchaser to insert reference number for the Request for Bids]

Alternative No.: [Insert identification No if this is a Bid for an alternative]

Date: [Insert date of issue] 

BID GUARANTEE No.: [Insert guarantee reference number]

Guarantor: [Insert name and address of place of issue, unless indicated in the letterhead]

We have been informed that ______ [insert name of the Bidder, which in the case of a joint venture shall be the name of the joint venture (whether legally constituted or prospective) or the names of all members thereof] (hereinafter called "the Applicant") has submitted or will submit to the Beneficiary its Bid (hereinafter called "the Bid") for the execution of ________________ under Request for Bids No. __________ (“the RFB”). 

Furthermore, we understand that, according to the Beneficiary’s conditions, Bids must be supported by a Bid guarantee.

At the request of the Applicant, we, as Guarantor, hereby irrevocably undertake to pay the Beneficiary any sum or sums not exceeding in total an amount of ___________ (____________) upon receipt by us of the Beneficiary’s complying demand, supported by the Beneficiary’s statement, whether in the demand itself or a separate signed document accompanying or identifying the demand, stating that either the Applicant:

(a) 
has withdrawn its Bid prior to the Bid validity expiry date set forth in the Applicant’s Letter of Bid, or any extended date provided by the Applicant; or

(b) 
having been notified of the acceptance of its Bid by the Beneficiary prior to the expiry date of the Bid validity or any extension thereof provided by the Applicant has failed to: (i) sign the contract agreement, or (ii) furnish the performance security, in accordance with the Instructions to Bidders (“ITB”) of the Beneficiary’s bidding document.

This guarantee will expire: (a) if the Applicant is the successful Bidder, upon our receipt of copies of the Contract agreement signed by the Applicant and the performance security issued to the Beneficiary in relation to such Contract agreement; or (b) if the Applicant is not the successful Bidder, upon the earlier of (i) our receipt of a copy of the Beneficiary’s notification to the Applicant of the results of the Bidding process; or (ii) twenty-eight days after the expiry date of the Bid validity. 

Consequently, any demand for payment under this guarantee must be received by us at the office indicated above on or before that date.

This guarantee is subject to the Uniform Rules for Demand Guarantees (URDG) 2010 Revision, ICC Publication No. 758.

_____________________________

[Signature(s)]

Note: All italicized text is for use in preparing this form and shall be deleted from the final product.

Form of Bid Security (Bid Bond)

[The Surety shall fill in this Bid Bond Form in accordance with the instructions indicated.]

BOND NO. ______________________

BY THIS BOND [name of Bidder] as Principal (hereinafter called “the Principal”), and [name, legal title, and address of surety], authorized to transact business in [name of country of Purchaser], as Surety (hereinafter called “the Surety”), are held and firmly bound unto [name of Purchaser] as Obligee (hereinafter called “the Purchaser”) in the sum of [amount of Bond]
 [amount in words], for the payment of which sum, well and truly to be made, we, the said Principal and Surety, bind ourselves, our successors and assigns, jointly and severally, firmly by these presents.

WHEREAS the Principal has submitted or will submit a written Bid to the Purchaser dated the ___ day of ______, 20__, for the supply of [name of Contract] (hereinafter called the “Bid”).

NOW, THEREFORE, THE CONDITION OF THIS OBLIGATION is such that if the Principal:

(a) withdraws its Bid prior to the Bid validity expiry date set forth in the Principal’s Letter of Bid, or any extended date provided by the Principal; or

(b) having been notified of the acceptance of its Bid by the Purchaser prior to the expiry date of the Bid validity or any extension thereto provided by the Applicant has failed to: (i) execute the Contract agreement; or (ii) furnish the Performance Security, in accordance with the Instructions to Bidders (“ITB”) of the Purchaser’s bidding document. 

then the Surety undertakes to immediately pay to the Purchaser up to the above amount upon receipt of the Purchaser’s first written demand, without the Purchaser having to substantiate its demand, provided that in its demand the Purchaser shall state that the demand arises from the occurrence of any of the above events, specifying which event(s) has occurred. 

The Surety hereby agrees that its obligation will remain in full force and effect up to and including the date 28 days after the date of expiry of the Bid validity set forth in the Principal’s Letter of Bid or any extension thereto provided by the Principal. 

IN TESTIMONY WHEREOF, the Principal and the Surety have caused these presents to be executed in their respective names this ____ day of ____________ 20__.

Principal: _______________________
Surety: _____________________________


Apply Corporate Seal (where appropriate)

_______________________________
____________________________________ 
(Signature)
(Signature) 
(Printed name and title)
(Printed name and title)
Form of Bid-Securing Declaration 

[The Bidder shall fill in this Form in accordance with the instructions indicated.]

Date: [date (as day, month and year)]
RFB No.: [number of RFB process]

Alternative No.: [insert identification No if this is a Bid for an alternative]
To: [complete name of Purchaser]
We, the undersigned, declare that: 

We understand that, according to your conditions, Bids must be supported by a Bid-Securing Declaration.

We accept that we will automatically be suspended from being eligible for Bidding or submitting proposals in any contract with the Purchaser for the period of time specified in Section II – Bid Data Sheet if we are in breach of our obligation(s) under the Bid conditions, because we:

(a) 
have withdrawn our Bid prior to the expiry date of the Bid validity specified in the Letter of Bid or any extended date provided by us; or

(b) 
having been notified of the acceptance of our Bid by the Purchaser prior to the expiry date of the Bid validity in the Letter of Bid or any extended date provided by us, (i) fail or refuse to sign the Contract; or (ii) fail or refuse to furnish the Performance Security, if required, in accordance with the ITB.

We understand this Bid Securing Declaration shall expire if we are not the successful Bidder, upon the earlier of (i) our receipt of your notification to us of the name of the successful Bidder; or (ii) twenty-eight days after the expiry date of the Bid validity.

Name of the Bidder*

Name of the person duly authorized to sign the Bid on behalf of the Bidder**
_______
Title of the person signing the Bid
______________________

Signature of the person named above
______________________

Date signed ________________________________ day of ___________________, _____

*: In the case of the Bid submitted by joint venture specify the name of the Joint Venture as Bidder

**: Person signing the Bid shall have the power of attorney given by the Bidder attached to the Bid

 [Note: In case of a Joint Venture, the Bid-Securing Declaration must be in the name of all members to the Joint Venture that submits the Bid.]
Letter of Bid - Financial Part

	INSTRUCTIONS TO BIDDERS: DELETE THIS BOX ONCE YOU HAVE COMPLETED THE DOCUMENT

Place this Letter of Bid - Financial Part in the second envelope marked “FINANCIAL PART”.

The Bidder must prepare the Letter of Bid - Financial Part on stationery with its letterhead clearly showing the Bidder’s complete name and business address.

Note: All italicized text is to help Bidders in preparing this form.


Date of this Bid submission: [insert date (as day, month and year) of Bid submission]

RFB No.: [insert number of bidding process]

Request for Bid No.: [insert identification]

Alternative No.: [insert identification No if this is a Bid for an alternative]
To: [insert complete name of Purchaser]

We, the undersigned Bidder, hereby submit the second part of our Bid, the Financial Part

In submitting our Financial Part we make the following additional declarations: 

(a) Bid Validity: Our Bid shall be valid until [insert day, month and year in accordance with ITB 18.1], and it shall remain binding upon us and may be accepted at any time before the expiration of that period;

(b) Total Price: The total price of our Bid, excluding any discounts offered in item (c) below is: 

In case of only one lot, the total price of the Bid is [insert the total price of the bid in words and figures, indicating the various amounts and the respective currencies];

In case of multiple lots, the total price of each lot is [insert the total price of each lot in words and figures, indicating the various amounts and the respective currencies];

In case of multiple lots, total price of all lots (sum of all lots) [insert the total price of all lots in words and figures, indicating the various amounts and the respective currencies];

(c) Discounts: The discounts offered and the methodology for their application are: 

(i) The discounts offered are: [Specify in detail each discount offered]

(ii) The exact method of calculations to determine the net price after application of discounts is shown below: [Specify in detail the method that shall be used to apply the discounts];

(d) Commissions, gratuities and fees: We have paid, or will pay the following commissions, gratuities, or fees with respect to the bidding process or execution of the Contract: [insert complete name of each Recipient, its full address, the reason for which each commission or gratuity was paid and the amount and currency of each such commission or gratuity].    

	Name of Recipient
	Address
	Reason
	Amount

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	


(If none has been paid or is to be paid, indicate “none.”)

(e) Binding Contract: We understand that this Bid, together with your written acceptance thereof included in your Letter of Acceptance, shall constitute a binding contract between us, until a formal contract is prepared and executed. 

Name of the Bidder:*[insert complete name of the Bidder]

Name of the person duly authorized to sign the Bid on behalf of the Bidder: ** [insert complete name of person duly authorized to sign the Bid]
Title of the person signing the Bid: [insert complete title of the person signing the Bid]

Signature of the person named above: [insert signature of person whose name and capacity are shown above]

Date signed [insert date of signing] day of [insert month], [insert year]

*: In the case of the Bid submitted by a Joint Venture specify the name of the Joint Venture as Bidder.

**: Person signing the Bid shall have the power of attorney given by the Bidder. The power of attorney shall be attached with the Bid Schedules.

Price Schedule Forms

[The Bidder shall fill in these Price Schedule Forms in accordance with the instructions indicated. The list of line items in column 1 of the Price Schedules shall coincide with the List of Goods and Related Services specified by the Purchaser in the Schedule of Requirements.]

	Price Schedule: Goods Manufactured Outside the Purchaser’s Country, to be Imported

	
	(Group C Bids, goods to be imported)

Currencies in accordance with ITB 15 ETB)
	Date:_________________________

RFB No: _____________________
Alternative No: ________________

Page N( ______ of ______

	1
	2
	3
	4
	5
	6
	7
	8
	9

	Line Item

N(

	Description of Goods 
	Country of Origin
	Delivery Date as defined by Incoterms
	Quantity and physical unit
	Unit price 
cip [insert place of destination]
in accordance with ITB 14.8(b)(i)
	CIP Price per line item

(Col. 5x6)
	Price per line item for inland transportation and other services required in the Purchaser’s Country to convey the Goods to their final destination specified in BDS


	Total Price per Line item 
(Col. 7+8)

	1
	Labratory Furniture
	NA
	Within 120 days after signing the contract.
	[insert number of units to be supplied and name of the physical unit]
	[insert unit price CIP per unit]
	[insert total CIP price per line item]
	[insert the corresponding price per line item]
	[insert total price of the line item]

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	Total Price
	

	Name of Bidder [insert complete name of Bidder] Signature of Bidder [signature of person signing the Bid] Date [Insert Date]


	Price Schedule: Goods Manufactured Outside the Purchaser’s Country, already imported*

	
	(Group C Bids, Goods already imported)

Currencies in accordance with ITB 15( ETB)
	Date:_________________________

RFB No: _____________________
Alternative No: ________________

Page N( ______ of ______

	1
	2
	3
	4
	5
	6
	7
	8
	9
	10
	11
	12

	Line Item

N(
	Description of Goods 
	Country of Origin
	Delivery Date as defined by Incoterms
	Quantity and physical unit
	Unit price including Custom Duties and Import Taxes paid, in accordance with ITB 14.8(c)(i)
	Custom Duties and Import Taxes paid per unit in accordance with ITB 14.8(c)(ii) , [to be supported by documents]   
	Unit Price  net of custom duties and import taxes, in accordance with ITB 14.8 (c) (iii)

 (Col. 6 minus Col.7)
	Price per line item net of Custom Duties and Import Taxes paid, in accordance with ITB 14.8(c)(i)

(Col. 5(8)
	Price per line item for inland transportation and other services required in the Purchaser’s Country to convey the goods to their final destination, as specified in BDS in accordance with ITB 14.8 (c)(v)
	Sales and other taxes paid or payable per item if Contract is awarded (in accordance with ITB 14.8(c)(iv)
	Total Price per line item

(Col. 9+10)

	[insert number of the item]
	[insert name of Goods]
	[insert country of origin of the Good]
	[insert quoted Delivery Date]
	[insert number of units to be supplied and name of the physical unit]
	[insert unit price per unit]
	[insert custom duties and taxes paid per unit]
	[insert unit price net of custom  duties and import taxes]
	[ insert price per line item net of custom duties and import taxes]
	[insert price per line item for inland transportation and other services required in the Purchaser’s Country]
	[insert sales and other taxes payable per item if Contract is awarded]
	[insert total price per line item]

	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	

	
	Total Bid Price
	

	Name of Bidder [insert complete name of Bidder] Signature of Bidder [signature of person signing the Bid] Date [insert date]


* [For previously imported Goods, the quoted price shall be distinguishable from the original import value of these Goods declared to customs and shall include any rebate or mark-up of the local agent or representative and all local costs except import duties and taxes, which have been and/or have to be paid by the Purchaser. For clarity the Bidders are asked to quote the price including import duties, and additionally to provide the import duties and the price net of import duties which is the difference of those values.]

	Price and Completion Schedule - Related Services

	
	Currencies in accordance with ITB 15
	Date:_________________________

RFB No: _____________________
Alternative No: ________________

Page N( ______ of ______

	1
	2
	3
	4
	5
	6
	7

	Service 
N(
	Description of Services (excludes inland transportation and other services required in the Purchaser’s Country to convey the goods to their final destination) 
	Country of Origin
	Delivery Date at place of Final destination
	Quantity and physical unit
	Unit price 
	Total Price per Service 
(Col. 5*6 or estimate)

	[insert number of the Service ]
	[insert name of Services]
	[insert country of origin of the Services]
	[insert delivery date at place of final destination per Service]
	[insert number of units to be supplied and name of the physical unit]
	[insert unit price per item]
	[insert total price per item]

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	Total Bid Price
	

	Name of Bidder [insert complete name of Bidder] Signature of Bidder [signature of person signing the Bid] Date [insert date]


Section V - Eligible Countries

Eligibility for the Provision of Goods, Works and Non Consulting Services in 
Bank-Financed Procurement

In reference to ITB 4.8 and ITB 5.1, for the information of the Bidders, at the present time firms, goods and services from the following countries are excluded from this Bidding process:

Under ITB 4.8 (a) and ITB 5.1 [insert a list of the countries following approval by the Bank to apply the restriction or state “none”].
Under ITB 4.8(b) and ITB 5.1: [insert a list of the countries following approval by the Bank to apply the restriction or state “none”]
Section VI - Fraud and Corruption  
(Section VI shall not be modified)

1. Purpose

1.1 The Bank’s Anti-Corruption Guidelines and this annex apply with respect to procurement under Bank Investment Project Financing operations.

2. Requirements

2.1 The Bank requires that Borrowers (including beneficiaries of Bank financing); bidders (applicants/proposers), consultants, contractors and suppliers; any sub-contractors, sub-consultants, service providers or suppliers; any agents (whether declared or not); and any of their personnel, observe the highest standard of ethics during the procurement process, selection and contract execution of Bank-financed contracts, and refrain from Fraud and Corruption.
2.2 To this end, the Bank:

a. Defines, for the purposes of this provision, the terms set forth below as follows:

i. “corrupt practice” is the offering, giving, receiving, or soliciting, directly or indirectly, of anything of value to influence improperly the actions of another party;

ii. “fraudulent practice” is any act or omission, including misrepresentation, that knowingly or recklessly misleads, or attempts to mislead, a party to obtain financial or other benefit or to avoid an obligation;

iii. “collusive practice” is an arrangement between two or more parties designed to achieve an improper purpose, including to influence improperly the actions of another party;

iv. “coercive practice” is impairing or harming, or threatening to impair or harm, directly or indirectly, any party or the property of the party to influence improperly the actions of a party;

v. “obstructive practice” is:

(a) deliberately destroying, falsifying, altering, or concealing of evidence material to the investigation or making false statements to investigators in order to materially impede a Bank investigation into allegations of a corrupt, fraudulent, coercive, or collusive practice; and/or threatening, harassing, or intimidating any party to prevent it from disclosing its knowledge of matters relevant to the investigation or from pursuing the investigation; or

(b) acts intended to materially impede the exercise of the Bank’s inspection and audit rights provided for under paragraph 2.2 e. below.

b. Rejects a proposal for award if the Bank determines that the firm or individual recommended for award, any of its personnel, or its agents, or its sub-consultants, sub-contractors, service providers, suppliers and/ or their employees, has, directly or indirectly, engaged in corrupt, fraudulent, collusive, coercive, or obstructive practices in competing for the contract in question;

c. In addition to the legal remedies set out in the relevant Legal Agreement, may take other appropriate actions, including declaring mis-procurement, if the Bank determines at any time that representatives of the Borrower or of a recipient of any part of the proceeds of the loan engaged in corrupt, fraudulent, collusive, coercive, or obstructive practices during the procurement process, selection and/or execution of the contract in question,  without the Borrower having taken timely and appropriate action satisfactory to the Bank to address such practices when they occur, including by failing to inform the Bank in a timely manner at the time  they knew of the practices; 

d. Pursuant to the Bank’s Anti-Corruption Guidelines, and in accordance with the Bank’s prevailing sanctions policies and procedures, may sanction a firm or individual, either indefinitely or for a stated period of time, including by publicly declaring such firm or individual ineligible (i) to be awarded or otherwise benefit from a Bank-financed contract, financially or in any other manner;
 (ii) to be a nominated
 sub-contractor, consultant, manufacturer or supplier, or service provider of an otherwise eligible firm being awarded a Bank-financed contract; and (iii) to receive the proceeds of any loan made by the Bank or otherwise to participate further in the preparation or implementation of any Bank-financed project; 

e. Requires that a clause be included in bidding/request for proposals documents and in contracts financed by a Bank loan, requiring (i) bidders (applicants/proposers), consultants, contractors, and suppliers, and their sub-contractors, sub-consultants, service providers, suppliers, agents, personnel, permit the Bank to inspect
 all accounts, records and other documents relating to the procurement process, selection and/or contract execution, and to have them audited by auditors appointed by the Bank.
PART 2 – Supply Requirements

	Section VII - Schedule of Requirements


Contents

931.
List of Goods and Delivery Schedule

2. Technical Specifications
93
3. Inspections and Tests
142


Notes for Preparing the Schedule of Requirements

The Schedule of Requirements shall be included in the bidding document by the Purchaser, and shall cover, at a minimum, a description of the goods and services to be supplied and the delivery schedule.

The objective of the Schedule of Requirements is to provide sufficient information to enable Bidders to prepare their Bids efficiently and accurately, in particular, the Price Schedule, for which a form is provided in Section IV. In addition, the Schedule of Requirements, together with the Price Schedule, should serve as a basis in the event of quantity variation at the time of award of contract pursuant to ITB 45.1.
The date or period for delivery should be carefully specified, taking into account (a) the implications of delivery terms stipulated in the Instructions to Bidders pursuant to the Incoterms rules CIP, terms—that “delivery” takes place when goods are delivered to the carriers), and (b) the date prescribed herein from which the Bidder’s delivery obligations start (i.e., notice of award, contract signature, opening or confirmation of the letter of credit).

	1. List of Goods and Delivery Schedule

[The Purchaser shall fill in this table, with the exception of the column “Bidder’s offered Delivery date” to be filled by the Bidder]


2. Technical Specifications

The purpose of the Technical Specifications (TS), is to define the technical characteristics of the Goods and Related Services required by the Purchaser. 

The technical requirements may be as, appropriate, in the form of detailed technical specifications/characteristics or in the form of functional/performance requirements or both. A specification that provides the desired level of functionality/ performance allows technical approaches to achieving the Purchaser’s functional and performance objectives.  Such a specification could enable suppliers (particularly for specialized Goods) to bring their expertise, technology and innovation as appropriate. 

When preparing the TS, the Purchaser shall take into account that:  

· The TS constitute the benchmarks against which the Purchaser will verify the technical responsiveness of Bids and subsequently evaluate the Bids. Therefore, well-defined TS will facilitate preparation of responsive Bids by Bidders, as well as examination, evaluation, and comparison of the Bids by the Purchaser. 

· The TS shall require that all goods and materials to be incorporated in the goods be new, unused, and of the most recent or current models, and that they incorporate all recent improvements in design and materials, unless provided for otherwise in the contract.

· The TS shall make use of best practices. Samples of specifications from successful similar procurements in the same country or sector may provide a sound basis for drafting the TS.

· The Bank encourages the use of metric units.

· Standardizing technical specifications may be advantageous, depending on the complexity of the goods and the repetitiveness of the type of procurement. Technical Specifications should be broad enough to avoid restrictions on workmanship, materials, and equipment commonly used in manufacturing similar kinds of goods. 

· Standards for equipment, materials, and workmanship specified in the bidding document shall not be restrictive. Recognized international standards should be specified as much as possible. Reference to brand names, catalogue numbers, or other details that limit any materials or items to a specific manufacturer should be avoided as far as possible. Where unavoidable, such item description should always be followed by the words “or substantially equivalent.” When other particular standards or codes of practice are referred to in the TS, whether from the Borrower’s or from other eligible countries, a statement should follow other authoritative standards that ensure at least a substantially equal quality, then the standards mentioned in the TS will also be acceptable.

· Reference to brand names and catalogue numbers should be avoided as far as possible; where unavoidable the words “or at least equivalent” shall always follow such references.

· Technical Specifications shall be fully descriptive of the requirements in respect of, but not limited to, the following:

(a) Standards of materials and workmanship required for the production and manufacturing of the Goods.

(b) Any sustainable procurement technical requirements  shall be clearly specified. Please refer to the Bank’s Procurement Regulations for Borrowers and Sustainable procurement guidance for further information. The sustainable procurement requirements should be consistent with the objectives of the contract. The requirements shall be specified to enable their evaluation. To encourage Bidders’ innovation in addressing sustainable procurement requirements, as long as the Bid evaluation criteria specify the mechanism for monetary adjustments and/or rated criteria evaluation for the purpose of Bid comparisons, Bidders may be invited to offer goods that exceed the specified minimum sustainable procurement requirements.
(c) If the contract has been assessed to present potential or actual cyber security risks, the Purchaser shall specify cyber security requirements, including cyber security accreditations as appropriate.
(d) If there are supply chain risks, the Purchaser shall require the Bidder to include its assessment of supply chain risks and proposal to manage the risks.
(e) Detailed tests required (type and number).

(f) Other additional work and/or Related Services required to achieve full delivery/completion.

(g) Detailed activities to be performed by the Supplier, and participation of the Purchaser thereon.

(h) List of detailed functional guarantees covered by the Warranty and the specification of the liquidated damages to be applied in the event that such guarantees are not met.

· The TS shall specify all essential technical and performance characteristics and requirements, including guaranteed or acceptable maximum or minimum values, as appropriate. Whenever necessary, the Purchaser shall include an additional ad-hoc Bidding form (to be an Attachment to the Letter of Bid), where the Bidder shall provide detailed information on such technical performance characteristics in respect to the corresponding acceptable or guaranteed values.

· When the Purchaser requests that the Bidder provides in its Bid a part or all of the Technical Specifications, technical schedules, or other technical information, the Purchaser shall specify in detail the nature and extent of the required information and the manner in which it has to be presented by the Bidder in its Bid. The format of the Technical Part in Section IV may therefore be modified as appropriate.

If a summary of the Technical Specifications (TS) has to be provided, the Purchaser shall insert information in the table below. The Bidder shall prepare a similar table to justify compliance with the requirements 

Laboratory Furniture
Technical Specifications of Laboratory Furniture 
	Ministry of Industry, OS-IAIP Project Specification
	Unit
	Quantity
	Bidder Offer:
	Evaluating Note on Scoring (C=Comply, NC=Not Comply)

	
	
	
	Items and Specification
	

	Category of specification
	Items and Specification


	
	
	
	

	Item.01
	 
	
	
	
	

	Item Name:
	Double sided Laboratory Workbenches with cabinets, shelves and sinks (ISLAND)
	Pcs
	12
	
	

	1.Description
	The workbench shall be modular, ergonomic, acid and alkali resistant, scratch resistant, mechanical and heat resistant.
	
	
	
	

	2.Unique Identification feature
	Name of the manufacturer of the Laboratory bench should be provided

Provide Model Number with traceability internet link of the laboratory Bench at the manufacturer website for verification purpose

The country of origin of the Laboratory Bench shall be declared.
	
	
	
	

	3.Status of the Lab bench
	It shall be new (Refurbished Lab Bench will not be accepted)/ shall be declared 

Manufactured Since 2025 GC
	
	
	
	

	                       4.Technical specification
	
	
	
	

	4.1 General Features and Specifications
	4.1.1 The workbench, cabinet and shelf shall be of a type specifically designed and manufactured for installation and use in a laboratory. Construction shall conform to the best practices of the scientific casework industry. 

Joints and corners shall be well fitted, eliminating unsightly openings and seams. Edges or corners that may, in normal use, come into contact with laboratory personnel shall be free of burrs, splinters, sharp or rough edges. Structural strength shall be adequate to support heavy laboratory apparatus, high-density shielding, or containers and heavy instruments.

4.1.2 The sink shall be incorporated with the benches side and the total width of the overall setting Excluding the sink bench shall be 295-305 cm.

4.1.3 It shall provide two work space with 150cm width and shall have suspended cabinet underneath the workbenches for each workspace.
	
	
	
	

	                               4.2 Detailed Technical Specifications
	

	4.2.1 Design


	4.2.1.1 Adaptable, modular and flexible in design and concept (versatility within any System should have double sided starters and add on units.

4.2.1.2 Leg design should be C-frame.

4.2.1.3 The modular configuration should be suitable for wall, peninsula, or island setups
	
	
	
	

	4.2.2.Bench
	4.2.2.1. The laboratory benches shall consist of tables with tops made of 1” thick black epoxy resin laminate that withstands moisture and resists chemicals, suitable for heavy duty lab use. The chemical resistance shall show excellent resistance against acids, alkaline solutions, coloring and corrosive substances, ketones, alcohols, esters, aromatics, chlorinated and aliphatic hydrocarbons, oxidizing and bleaching substances. The benches shall also be impact resistant with rounded safety edge.

4.2.2.2. Bench system shall be assembled to adjustable steel or aluminum frame with slotted uprights which will support the upper shelving and work surface table frame

4.2.2.3 Dimension: Width 295 – 305 cm, Depth 75 – 80 cm, height (from ground to the workbench) 95 – 105 cm. (the width length could be achieved either by single worktops with additional support at the middle or two worktop with smoothly connected benches)

4.2.2.4. Minimum loading capacity: 500 kg
	Set
	21
	
	

	4.2.3 Sink and Facet ( two on both  side of each edge of the bench, four  sink and facet)
	4.2.3.1. The workbench shall have add on sink with facet that faces off on the sides of workspace while having the same worktops with the bench

4.2.3.2. Mounted with workbenches on sides and have the same tops as the rest of the workbenches while having double door cupboard under bench that hides the plumbing.

4.2.3.3. Dimension of overall add on: width 70-80cm, length:150-160cm, Height from ground: 95-105cm, it shall be synchronized with the work benches.


	
	
	
	

	4.2.3.4. Sink (Bowel)
	4.2.3.4.1. Material: Epoxy resin sink

4.2.3.4.2. Dimension of each bowl: 35 – 40 cm depth, 45 – 50 cm width and 50 – 60 cm length

4.2.3.4.3. Center drain locations

4.2.3.4.4.Design: two Under mount sink where the countertop on  has been milled up to the top-laminate with overflow protection
	
	
	
	

	4.2.3.5. Facet
	4.2.3.5.1. Goose neck type

4.2.3.5.2. Deck mounted

4.2.3.5.3. With mixing valve

4.2.3.5.4. Barbed aerator tip
	
	
	
	

	4.2.4. Frame Assembly
	4.2.4.1. Material: Stainless steel 304; (Type 304 brushed stainless steel 14 gauge) tabular size 4 – 5 cm.

4.2.4.2.1. Leg design: C-frame, movable (lockable).

4.2.4.2.2.Starter Unit: Double sided

4.2.4.2.3.Adds-on unit: Double sided

4.2.4.2.4 Dimension: Upright height: 195 – 210 cm. With power distribution system (trunk).


	
	
	
	

	4.2.5. Under bench cabinets with drawers ( two on each side of the bench , totally four under bench cabinets)
	4.2.5.1. Cabinets shall be constructed of prime 18 steel gauge

4.2.5.2. Under bench cabinets shall be mountable (suspended) independent of modular size so as to allow sitting niches are possible anywhere.

4.2.5.3.Self-closing hinges with Cathode Electronic Deposition (CED)

4.2.5.4.All parts of the body of each cabinet shall be coated with chemical resistant phenolic resin, or epoxy powder

4.2.5.5. Drawers

4.2.5.5.1. Drawer bodies shall be made of 14 gauge steel

4.2.5.5.2. Constructions fully coved on all four sides horizontally and formed out of one sheet of steel.

4.2.5.5.3. Standard cabinets have safety recessed handles on all drawers and cabinets with single locks.

The cabinets shall have three drawers
	
	
	
	

	4.2.6. Over bench cabinets/shelves


	4.2.6.1. Phenolic resin shelf with steel (stainless or cold rolled) frame to be mounted above each table shall be of Phenolic Material to be 1” Thick. 

Shelf platforms shall be available in phenolic resin, or epoxy powder coated cold rolled steel
	
	
	
	

	5.Testimonial Requirement
	· Should have Certificate of performance
	
	
	
	

	6.Manufacturer Authorization Letter
	· Should have Valid Manufacturer's Authorization Letter 
	
	
	
	

	7.Construction and Durability


	Operating conditions: 

· Temperature: 10°C to 40°C.

· Humidity: ≤ 85% non-condensing.
	
	
	
	

	8.Power Requirements


	· Power supply: 220V, 50 Hz.


	
	
	
	

	9.Required Services
	
	
	
	
	

	9.1 Delivery and Installation:


	· The supply must include transportation to the specified site (Bulbula and shashemene, Yirgalem and bensa daye, Bure and Inijibara), 

· All accessories and spares required for normal functioning of the workbench should be supplied and it should be assembled onsite.
	
	
	
	

	9.2 Training:
	N/A
	
	
	
	

	9.3 Documentation:


	· User and maintenance manuals in English.

·  All the necessary manuals, certificate of conformance with SEFA 8M or equivalent standards.


	
	
	
	

	9.4 Maintenance and After-Sales Support:


	· Availability of spare parts guaranteed for at least 2 years.
	
	
	
	

	10.Warranty Requirement
	The benches shall be aesthetically appealing and durable with at least five years warranty.


	
	
	
	

	Ministry of Industry, OS-IAIP Project Specification
	Unit
	Quantity
	Bidder Offer:
	Evaluating Note on Scoring (C=Comply, NC=Not Comply)

	
	
	
	Items and Specification
	

	Category of specification
	Items and Specification


	
	
	
	

	Item.02
	 
	
	
	
	

	Item Name:
	Single sided Laboratory Workbenches with cabinets (Width 175 – 185 cm) without sink
	Pcs
	57
	
	

	1.Description
	The workbench shall be modular, ergonomic, acid and alkali resistant, scratch resistant, mechanical and heat resistant.
	
	
	
	

	2.Unique Identification feature
	Name of the manufacturer of the Laboratory bench should be provided

Provide Model Number with traceability internet link of the laboratory Bench at the manufacturer website for verification purpose

The country of origin of the Laboratory Bench shall be declared.
	
	
	
	

	3.Status of the Lab Bench
	It shall be new (Refurbished furniture will not be accepted)/ shall be declared

 manufactured Since 2025 GC
	
	
	
	

	                       4.Technical specification
	
	
	
	

	4.1 General Features and Specifications
	4.1.1 The workbench, cabinet and shelf shall be of a type specifically designed and manufactured for installation and use in a laboratory. Construction shall conform to the best practices of the scientific casework industry. Joints and corners shall be well fitted, eliminating unsightly openings and seams. Edges or corners that may, in normal use, come into contact with laboratory personnel shall be free of burrs, splinters, sharp or rough edges. Structural strength shall be adequate to support heavy laboratory apparatus, high-density shielding, or containers and heavy instruments.
	
	
	
	

	                               4.2 Detailed Technical Specifications
	

	4.2.1 Design


	4.2.1.1 Adaptable, modular and flexible in design and concept (versatility within any System should have double sided starters and add on units)

4.2.1.2 Leg design should be H-frame.

4.2.1.3 .The modular configuration should be suitable for wall, peninsula, or island setups.
	
	
	
	

	4.2.2.Bench
	4.2.2.1. The laboratory benches shall consist of tables with tops made of 1” thick black phenolic resin laminate that withstands moisture and resists chemicals, suitable for heavy duty lab use. The chemical resistance shall show excellent resistance against acids, alkaline solutions, coloring and corrosive substances, ketones, alcohols, esters, aromatics, chlorinated and aliphatic hydrocarbons, oxidizing and bleaching substances. The benches shall also be impact resistant with rounded safety edge.

4.2.2.1. Dimension:

4.2.2.1.1. Width 175 – 185 cm

4.2.2.1.2. Depth 88 – 94 cm

4.2.2.1.3. Height (from ground to the workbench) 95 – 105 cm.

4.2.2.3. Minimum loading capacity: 500 kg
	Set
	18
	
	

	4.2.3 Frame Assembly
	4.2.3.1 Material: Stainless steel 304; (Type 304 brushed stainless steel 14 gauge) tabular size 4 – 5 cm.

4.2.3.2. Design: Leg design: H-frame, with adjustable height and movable (lockable).

4.2.3.3. With power distribution system (trunk).
	
	
	
	

	4.2.4.  Under bench cabinets with drawers
	4.2.4.1 Cabinets shall be constructed of prime 18 steel gauge

4.2.4.2 Under bench cabinets shall be mountable (suspended) independent of modular size so as to allow sitting niches are possible anywhere.

4.2.4.3 Self-closing hinges with Cathode Electronic Deposition (CED)

4.2.4.4 All parts of the body of each cabinet shall be coated with chemical resistant phenolic resin, or epoxy powder

4.2.4.5 Drawers

4.2.4.5.1 Drawer bodies shall be made of 14 gauge steel

4.2.4.5.2 Constructions fully coved on all four sides horizontally and formed out of one sheet of steel.

4.2.4.5.3 Standard cabinets have safety recessed handles on all drawers and cabinets with single locks.
	Set
	18
	
	

	5.Testimonial Requirement
	· Should have Certificate of performance
	
	
	
	

	6.Manufacturer Authorization Letter
	· Should have Valid Manufacturer's Authorization Letter 
	
	
	
	

	7.Construction and Durability


	Operating conditions: 

· Temperature: 10°C to 40°C.

· Humidity: ≤ 85% non-condensing.
	
	
	
	

	8.Power Requirements


	· Power supply: 220V, 50 Hz.


	
	
	
	

	9.Required Services
	
	
	
	
	

	9.1 Delivery and Installation:


	· The supply must include transportation to the specified site (Bulbula and shashemene, Yirgalem and bensa daye, Bure and Inijibara),  

· All accessories and spares required for normal functioning of the workbench should be supplied and it should be assembled onsite.
	
	
	
	

	9.2 Training:
	N/A
	
	
	
	

	9.3 Documentation:


	· User and maintenance manuals in English.


	
	
	
	

	9.4 Maintenance and After-Sales Support:


	· Availability of spare parts guaranteed for at least 2 years.
	
	
	
	

	10.Warranty Requirement
	The benches shall be aesthetically appealing and durable with at least five years warranty.
	
	
	
	


	Ministry of Industry, OS-IAIP Project Specification
	Unit
	Quantity
	Bidder Offer:
	Evaluating Note on Scoring (C=Comply, NC=Not Comply)

	
	
	
	Items and Specification
	

	Category of specification
	Items and Specification


	
	
	
	

	Item.03
	 
	
	
	
	

	Item Name:
	Single sided Laboratory Work benches with cabinets, Sink and Facet  

(Width 175 – 185 cm)
	Pcs
	18
	
	

	1.Description
	The workbench shall be modular, ergonomic, acid and alkali resistant, scratch resistant, mechanical and heat resistant.
	
	
	
	

	2.Unique Identification feature
	Name of the manufacturer of the Laboratory bench should be provided

Provide Model Number with traceability internet link of the laboratory Bench at the manufacturer website for verification purpose

The country of origin of the Laboratory Bench shall be declared.
	
	
	
	

	3.Status of the Lab Bench
	It shall be new (Refurbished equipment will not be accepted)/ shall be declared

 manufactured Since 2025 GC
	
	
	
	

	                       4.Technical specification
	
	
	
	

	4.1 General Features and Specifications
	4.1.1 The workbench, cabinet and shelf shall be of a type specifically designed and manufactured for installation and use in a laboratory. Construction shall conform to the best practices of the scientific casework industry. Joints and corners shall be well fitted, eliminating unsightly openings and seams. Edges or corners that may, in normal use, come into contact with laboratory personnel shall be free of burrs, splinters, sharp or rough edges. Structural strength shall be adequate to support heavy laboratory apparatus, high-density shielding, or containers and heavy instruments.

The sink shall be incorporated with the benches side and the total width of the overall setting including the sink bench shall be 175-185 cm


	
	
	
	

	                               4.2 Detailed Technical Specifications
	

	4.2.1 Design


	4.2.1.1 Adaptable, modular and flexible in design and concept (versatility within any System should have double sided starters and add on units)

4.2.1.2 Leg design should be H-frame.

4.2.1.3 .The modular configuration should be suitable for wall, peninsula, or island setups.
	
	
	
	

	4.2.2.Bench
	4.2.2.1. The laboratory benches shall consist of tables with tops made of 1” thick black phenolic resin laminate that withstands moisture and resists chemicals, suitable for heavy duty lab use. The chemical resistance shall show excellent resistance against acids, alkaline solutions, coloring and corrosive substances, ketones, alcohols, esters, aromatics, chlorinated and aliphatic hydrocarbons, oxidizing and bleaching substances. The benches shall also be impact resistant with rounded safety edge.

4.2.2.1. Dimension:

4.2.2.1.1. Width 175 – 185 cm

4.2.2.1.2. Depth 88 – 94 cm

4.2.2.1.3. Height (from ground to the workbench) 95 – 105 cm.

4.2.2.3. Minimum loading capacity: 500 kg
	Set
	18
	
	

	4.2.3  Frame Assembly
	4.2.3.1 Material: Stainless steel 304; (Type 304 brushed stainless steel 14 gauge) tabular size 4 – 5 cm.

4.2.3.2. Design: Leg design: H-frame, with adjustable height and movable (lockable).

4.2.3.3. With power distribution system (trunk).
	
	
	
	

	Sink and Facet ( one  side of  edge of the bench)
	The workbench shall have add on sink with facet that faces off on the sides of workspace while having the same worktops with the bench

4.2.3.2. Mounted with workbenches on sides and have the same tops as the rest of the workbenches while having double door  cupboard underbench that hides the plumbing.

4.2.3.3. Dimension of overall add on: width 31-40cm, length:80-90 cm, Height from ground: 95-105cm, it shall be synchronized with the work bench.


	
	
	
	

	4.2.4.  Under bench cabinets with drawers
	4.2.4.1 Cabinets shall be constructed of prime 18 steel gauge

4.2.4.2 Under bench cabinets shall be mountable (suspended) independent of modular size so as to allow sitting niches are possible anywhere.

4.2.4.3 Self-closing hinges with Cathode Electronic Deposition (CED)

4.2.4.4 All parts of the body of each cabinet shall be coated with chemical resistant phenolic resin, or epoxy powder

4.2.4.5 Drawers

4.2.4.5.1 Drawer bodies shall be made of 14 gauge steel

4.2.4.5.2 Constructions fully coved on all four sides horizontally and formed out of one sheet of steel.

4.2.4.5.3 Standard cabinets have safety recessed handles on all drawers and cabinets with single locks.
	Set
	18
	
	

	5.Testimonial Requirement
	· Should have Certificate of performance
	
	
	
	

	6.Manufacturer Authorization Letter
	· Should have Valid Manufacturer's Authorization Letter 
	
	
	
	

	7.Construction and Durability


	Operating conditions: 

· Temperature: 10°C to 40°C.

· Humidity: ≤ 85% non-condensing.
	
	
	
	

	8.Power Requirements


	· Power supply: 220V, 50 Hz.


	
	
	
	

	9.Required Services
	
	
	
	
	

	9.1 Delivery and Installation:


	· The supply must include transportation to the specified site (Bulbula and shashemene, Yirgalem and bensa daye, Bure and Inijibara),  

· All accessories and spares required for normal functioning of the workbench should be supplied and it should be assembled onsite.
	
	
	
	

	9.2 Training:
	N/A
	
	
	
	

	9.3 Documentation:


	· User and maintenance manuals in English.


	
	
	
	

	9.4 Maintenance and After-Sales Support:


	· Availability of spare parts guaranteed for at least 2 years.
	
	
	
	

	10.Warranty Requirement
	The benches shall be aesthetically appealing and durable with at least five years warranty.
	
	
	
	


	Ministry of Industry, OS-IAIP Project Specification
	Unit
	Quantity
	Bidder Name:
	Evaluating Note on Scoring (C=Comply, NC=Not Comply)

	
	
	
	Bidder Offer:
	

	Category of specification
	Items and Specification


	
	
	Items and Specification
	

	Item.04
	 
	
	
	
	

	Item Name:
	Laboratory chair
	Pcs
	123
	
	

	1.Description
	These chairs designed to provide optimal support promote health posture and enhance overall wellbeing during long hours of work. The ergonomic design ensures proper alignment of the spine, promote good blood circulation and reduce the risk of musculoskeletal disorders. Anatomically-moulded cushions with pelvis and integrated lumbar support
	
	
	
	

	2.Unique Identification feature
	Name of the manufacturer of the Laboratory Chair should be provided

Provide Model Number with traceability internet link of the laboratory chair at the manufacturer website for verification purpose

The country of origin of the Laboratory chair shall be declared.
	
	
	
	

	3.Status of the Lab Chair
	It shall be new (Refurbished will not be accepted)/ shall be declared
	
	
	
	

	                       4.Technical specification
	
	
	
	

	4.1 General Features and Specifications
	4.1.1 Ergonomic (pneumatic height adjustment, adjustable lumbar support, adjustable foot ring and adjustable seat). It should be resistant to abrasion, and cleaning products. Durable Rugged polyurethane round seat is self-skinning, chemical-resistant, puncture-resistant, easily cleaned, and soil resistant (Design for laboratory).

It should comply to the laboratory furniture standards and tests
	
	
	
	

	                               4.2 Detailed Technical Specifications
	

	4.2.1 Material


	4.2.1.1. It should be made of Anti-slip polyurethane.

4.2.1.2 Base: Black polyamide with fiberglass - Diameter 60 cm.

4.2.1.3  Color: black


	
	
	
	

	4.2.2 Design
	4.2.2.1 It should be 360 degrees rotatable.

4.2.2.2 Features manual back height and back depth adjustments

4.2.2.3 Adjustable height with range of 55 cm - 74 cm.

4.2.2.4 Adjustable ring foot rest with diameter of 45 cm

4.2.2.5 Black, nylon-reinforced fiberglass base

4.2.2.6 Dual-wheel, self-braking, non-marring casters suitable for hard floors

4.2.2.7 Chemical, soil, and puncture-resistant polyurethane

4.2.2.8 Built in handle for ease of movement.


	
	
	
	

	4.2.3 Dimension and weight
	4.2.3.1 Dimensions of the backrest: Width 41 cm - Height 31 cm.

4.2.3.2 Seat width 46cm,Seat depth 45cm

4.2.3.3 Minimum seat height 55cmto74 cm.

4.2.3.4 Chair weight: 15 -30 kg

4.2.3.5 Minimum supported weight 120kg.
	
	
	
	

	5.Testimonial Requirement
	· Should have Certificate of performance
	
	
	
	

	6.Manufacturer Authorization Letter
	· Should have Valid Manufacturer's Authorization Letter 
	
	
	
	

	7.Construction and Durability


	Operating conditions: 

· Temperature: 10°C to 40°C.

· Humidity: ≤ 85% non-condensing.
	
	
	
	

	8.Power Requirements


	N/A
	
	
	
	

	9.Required Services
	
	
	
	
	

	9.1 Delivery and Installation:


	· The supply must include transportation to the specified site (Bulbula and shashemene, Yirgalem and bensa daye, Bure and Inijibara), Ethiopia

· All accessories and spares required for normal functioning of the lab chair should be supplied and it should be assembled onsite.
	
	
	
	

	9.2 Training:
	· N/A
	
	
	
	

	9.3 Documentation:


	· User and maintenance manuals in English.

· All the necessary manuals, certificate of conformance with SEFA 8M or equivalent standards


	
	
	
	

	9.4 Maintenance and After-Sales Support:


	· Availability of spare parts guaranteed for at least 2 years.
	
	
	
	

	10.Warranty Requirement
	The benches shall be aesthetically appealing and durable with at least five years warranty.
	
	
	
	


	Ministry of Industry, OS-IAIP Project Specification
	Unit
	Quantity
	Bidder Offer:
	Evaluating Note on Scoring (C=Comply, NC=Not Comply)

	
	
	
	Items and Specification
	

	Category of specification
	Items and Specification


	
	
	
	

	Item.05
	 
	
	
	
	

	Item Name:
	Chemical resistant chemical/reagent storage shelves
	Pcs
	24
	
	

	1.Description
	The chemical cabinet 105 cm, height 195 cm, is a versatile safety cabinet specially developed for the safe storage of chemicals and other hazardous substances in laboratories. This cabinet offers an optimal solution for the storage of liquids, gas cylinders, pharmaceuticals, solvents and acids
	
	
	
	

	2.Unique Identification feature
	Name of the manufacturer of the Laboratory chemical storage shelves should be provided

Provide Model Number with traceability internet link of the laboratory chemical storage shelves at the manufacturer website for verification purpose

The country of origin of the Laboratory chemical storage shelves shall be declared.
	
	
	
	

	3.Status of the Chemical/Reagent Shelve
	It shall be new (Refurbished Chemical/ reagent shelve will not be accepted)/ shall be declared
	
	
	
	

	                       4.Technical specification
	
	
	
	

	4.1 General Features and Specifications
	4.1.1 Features a rust resistant phosphatized cleaning for better paint adhesion and durability. Baked-on gray enamel finish. Compression clip rapidly snaps into post which allows for independent adjustment of shelves – normal shelf loading increases the locking action. Closed units feature back and end panels.

It should comply to the laboratory furniture standards and tests
	
	
	
	

	                               4.2 Detailed Technical Specifications
	

	4.2.1 Dimension


	4.2.1.1.  External dimensions: (W x D x H): 1055 x 520 x 1950 mm

4.2.1.2. Internal dimensions: (W x D x H): 996 x 493 x 1835 mm


	
	
	
	

	4.2.2 Exhaust air connection:


	4.2.2.1 (NW): 75 mm
	
	
	
	

	4.2.3 Air volume:
	4.2.3.1 10-fold: 9 m³/h
	
	
	
	

	4.2.4 Pressure loss in the cabinet: 
	4.2.4.1 2 Pa
	
	
	
	

	4.2.5 Interior equipment: 
	Storage shelf/shelf, floor drip tray, perforated plate insert
	
	
	
	

	4.2.6 Doors: 
	Hinged doors
	
	
	
	

	4.2.7 Safety Features
	Fire resistance: The cabinet is certified in accordance with DIN EN 14470-1 and offers a high level of fire resistance.

Ventilation: The integrated exhaust air connection ensures effective ventilation and prevents the accumulation of hazardous vapors.

Leakage protection: The floor drip tray offers additional protection in the event of leaks or spills.
	
	
	
	

	4.2.8 Material Contact
	Food-grade stainless steel (AISI 304 or 316L)
	
	
	
	

	4.2.9 Cleaning
	Easy cleaning, Staining Resistant
	
	
	
	

	4.2.10 Environmental Adaptability:
	Environment: 0 to 50°C (32 to 122°F); RH max 95% non-condensing
	
	
	
	

	4.2.11 Features:


	Width (Safety storage cabinets): 1055 mm

Width inside (Safety storage cabinets): 996 mm

Height (Safety storage cabinets): 1950 mm

Height inside (Safety storage cabinets): 1835 mm

Interior: bottom tray, storage shelves, perforated sheet insert

Depth (Safety storage cabinets):520 mm

Depth inside (Safety storage cabinets):493 mm

Doors, drawers: Wing Doors
	
	
	
	

	5.Testimonial Requirement
	· DIN EN 14470-1: This standard specifies the requirements for safety cabinets for the storage of flammable liquids.

· CE marking: The cabinet is CE-certified and therefore complies with the basic health and safety requirements of EU directives.
	
	
	
	

	6.Manufacturer Authorization Letter
	· Should have Valid Manufacturer's Authorization Letter
	
	
	
	

	7.Construction and Durability


	N/A
	
	
	
	

	8.Power Requirements


	N/A
	
	
	
	

	9.Required Services
	
	
	
	
	

	9.1 Delivery and Installation:


	· The supply must include transportation to the specified site (Bulbula and shashemene, Yirgalem and bensa daye, Bure and Inijibara), Ethiopia


	
	
	
	

	9.2 Training:
	N/A
	
	
	
	

	9.3 Documentation:


	· User and maintenance manuals in English.

· DIN EN 14470-1: This standard specifies the requirements for safety cabinets for the storage of flammable liquids.

CE marking: The cabinet is CE-certified and therefore complies with the basic health and safety requirements of EU directives.

	
	
	
	

	9.4 Maintenance and After-Sales Support:


	· N/A
	
	
	
	

	10.Warranty Requirement
	The benches shall be aesthetically appealing and durable with at least five years warranty.
	
	
	
	


	Ministry of Industry, OS-IAIP Project Specification
	Unit
	Quantity
	Bidder Name:
	Evaluating Note on Scoring (C=Comply, NC=Not Comply)

	
	
	
	Bidder Offer:
	

	Category of specification
	Items and Specification


	
	
	Items and Specification
	

	Item.06
	 
	
	
	
	

	Item Name:
	Wall mounted glassware storage glass shelves
	PCS
	18
	
	

	1.Description
	Wall mounted laboratory shelving systems are heavy-duty wall mount shelving painted steel wall standards with thick glass shelves. On painted bookend brackets that are adjustable in 1-inch increments. Shelving includes optional front retaining lips.
	
	
	
	

	2.Unique Identification feature
	Name of the manufacturer of the Laboratory Glassware shelves should be provided

Provide Model Number with traceability internet link of the laboratory Glassware storage shelves at the manufacturer website for verification purpose

The country of origin of the Laboratory glassware storage shelves shall be declared.
	
	
	
	

	3.Status of the Instrument
	It shall be new (Refurbished equipment will not be accepted)/ shall be declared
	
	
	
	

	                       4.Technical specification
	
	
	
	

	4.1 General Features and Specifications
	4.1.1 Allows for a clear view for all items stored.

It should comply to the laboratory furniture standards and tests
	
	
	
	

	                               4.2 Detailed Technical Specifications
	

	4.2.1 Material


	4.2.1.1. : Frame material: Aluminum

4.2.1.2. Material type: stainless steel

4.2.1.3 Shelf Material: Thick Glass

4.2.1.4  Glass material: Safety Glass
	
	
	
	

	4.2.2 Design
	4.2.2.1 Rack type wall mounted

4.2.2.2  Lockable glass Wing doors
	
	
	
	

	4.2.3 Dimension and weight
	4.2.3.1 Height 175 - 185 cm; width 95 - 105 cm and depth 28 - 32 cm
	
	
	
	

	4.2.4 Load bearing capacity
	4.2.4.1 Minimum of 40kg
	
	
	
	

	5.Testimonial Requirement
	· Should have Certificate of performance
	
	
	
	

	6.Manufacturer Authorization Letter
	· Should have Valid Manufacturer's Authorization Letter
	
	
	
	

	7.Construction and Durability


	Operating conditions: 

· Temperature: 10°C to 40°C.

· Humidity: ≤ 85% non-condensing.
	
	
	
	

	8.Power Requirements


	N/A
	
	
	
	

	9.Required Services
	
	
	
	
	

	9.1 Delivery and Installation:


	· The supply must include transportation to the specified site (Bulbula and shashemene, Yirgalem and bensa daye, Bure and Inijibara), Ethiopia


	
	
	
	

	9.2 Training:
	· N/A
	
	
	
	

	9.3 Documentation:


	· User and maintenance manuals in English.

· All the necessary manuals, certificate of conformance with SEFA 8 or equivalent standards


	
	
	
	

	9.4 Maintenance and After-Sales Support:


	· Availability of spare parts guaranteed for at least 2 years.
	
	
	
	

	10.Warranty Requirement
	The benches shall be aesthetically appealing and durable with at least five years warranty.
	
	
	
	


	Ministry of Industry, OS-IAIP Project Specification
	Unit
	Quantity
	Bidder Name:
	Evaluating Note on Scoring (C=Comply, NC=Not Comply)

	
	
	
	Bidder Offer:
	

	Category of specification
	Items and Specification


	
	
	Items and Specification
	

	Item.07
	 
	
	
	
	

	Item Name:
	Chemical/reagent vented storage cabinet
	Pcs
	3
	
	

	1.Description
	Composed of a ventilation system in addition to a filtration system. The storage cabinet should be moving lock handle which can be locked to prevent unnecessary movement
	
	
	
	

	2.Unique Identification feature
	Name of the manufacturer of the Laboratory chemical vented storage Cabinet should be provided

Provide Model Number with traceability internet link of the laboratory chemical vented  storage cabinet at the manufacturer website for verification purpose

The country of origin of the Laboratory chemical vented storage cabinet shall be declared.
	
	
	
	

	3.Status of the Instrument
	It shall be new (Refurbished equipment will not be accepted)/ shall be declared
	
	
	
	

	4.Technical specification                       
	
	
	
	

	4.1 General Features and Specifications
	N/A
	
	
	
	

	4.2 Detailed Technical Specifications                              
	

	4.2.1 Material


	4.2.1.1. : Bottom, top and sides shall be at least 10 gauge sheet steel

4.2.1.2. 1±10%mm double wall thickness with 35±10% air space

4.2.1.3 Interior equipment: Corrosion-resistant pull-out shelves offer maximum safety and are particularly suitable for the clear storage of small containers

4.2.1.4   Exterior body made of powder-coated sheet steel and interior body made of highly resistant melamine resin-coated special panels - highly corrosion resistant.
	
	
	
	

	4.2.2 Fire resistance:
	Should withstand fire for at least 90 minutes
	
	
	
	

	4.2.3 Capacity
	60 or 120 bottles (±10%) of 2.5 Litre or 1 Litre bottle respectively
	
	
	
	

	4.2.4 Lockable
	Easily controlled locking device
	
	
	
	

	4.2.5 No of drawers and sizes
	4.2.5.1 At least 6  adjustable drawers to accommodate different container size with two partitioning

4.2.5.2Minimum load capacity per drawer 50kg
	
	
	
	

	4.2.6 
	
	
	
	
	

	5.Testimonial Requirement
	· Should have Certificate of performance
	
	
	
	

	6.Manufacturer Authorization Letter
	· Should have Valid Manufacturer's Authorization Letter
	
	
	
	

	7.Construction and Durability


	Operating conditions: 

· Temperature: 10°C to 40°C.

· Humidity: ≤ 85% non-condensing.
	
	
	
	

	8.Power Requirements


	N/A
	
	
	
	

	9.Required Services
	N/A
	
	
	
	

	9.1 Delivery and Installation:


	· The supply must include transportation to the specified site (Bulbula and shashemene, Yirgalem and bensa daye, Bure and Inijibara), Ethiopia

· All accessories and spares required for normal functioning of the chemical vented storage shelves should be supplied and it should be assembled onsite.
	
	
	
	

	9.2 Training:
	· N/A
	
	
	
	

	9.3 Documentation:


	· User and maintenance manuals in English.

· All the necessary manuals, certificate of conformance with SEFA 8 or equivalent standards


	
	
	
	

	9.4 Maintenance and After-Sales Support:


	· Availability of spare parts guaranteed for at least 2 years.
	
	
	
	

	10.Warranty Requirement
	The benches shall be aesthetically appealing and durable with at least five years warranty.
	
	
	
	


	Ministry of Industry, OS-IAIP Project Specification
	Unit
	Quantity
	Bidder Name:
	Evaluating Note on Scoring (C=Comply, NC=Not Comply)

	
	
	
	Bidder Offer:
	

	Category of specification
	Items and Specification


	
	
	Items and Specification
	

	Item.08
	 
	
	
	
	

	Item Name:
	Laboratory Balance Table
	Pcs
	12
	
	

	1.Description
	Anti-vibration table compatible with microbalances and analytical balances operation. It should have excellent acid, alkali and corrosion resistance. Should be easy to clean and maintain. Should have superior load bearing capacity and rigidity necessary to support sensitive calibrated instruments.
	
	
	
	

	2.Unique Identification feature
	Name of the manufacturer of the Laboratory Balance Table should be provided

Provide Model Number with traceability internet link of the laboratory Balance Table at the manufacturer website for verification purpose

The country of origin of the Laboratory Balance Table shall be declared.
	
	
	
	

	3.Status of the Instrument
	It shall be new (Refurbished equipment will not be accepted)/ shall be declared
	
	
	
	

	4.Technical specification                       
	
	
	
	

	4.1 General Features and Specifications
	4.1.1 Vibration resistant: It should be able to remove 99% of vertical and horizontal vibrations caused by building-, sound- and surface-generated frequencies

4.1.2Granite slab supported on anti-vibration rubber mountings
	
	
	
	

	4.2 Detailed Technical Specifications                               
	

	4.2.1 Material


	4.2.1.1. Marble or stone or granite coated with stainless steel or epoxy resin
	
	
	
	

	4.2.2 Load bearing capacity
	Should be able to support a minimum of 100 kg
	
	
	
	

	4.2.3 Bench top dimension
	Marble/granite thickness: 40 mm

Width: o (dimension: Width: 115-125cm)

Depth: 65-75 cm
	
	
	
	

	4.2.4 Height
	Adjustable to allow the stable setup of levelness, 95cm- 105cm
	
	
	
	

	4.2.5 Design
	4.2.5.1 H-type leg design, fixed feat.
	
	
	
	

	4.2.6 Utility (electricity)


	Power: 220-240v; 50 Hz

Eight 16amps socket outlet for balance with dimension Width: 145-155cm
	
	
	
	

	5.Testimonial Requirement
	· Should have Certificate of performance
	
	
	
	

	6.Manufacturer Authorization Letter
	· Should have Valid Manufacturer's Authorization Letter
	
	
	
	

	7.Construction and Durability


	Operating conditions: 

· Temperature: 10°C to 40°C.

· Humidity: ≤ 85% non-condensing.
	
	
	
	

	8. Power Requirements


	N/A
	
	
	
	

	9.Required Services
	N/A
	
	
	
	

	9.1 Delivery and Installation:


	· The supply must include transportation to the specified site (Bulbula and shashemene, Yirgalem and bensa daye, Bure and Inijibara), Ethiopia

· All accessories and spares required for normal functioning of the Balance table should be supplied and it should be assembled onsite.
	
	
	
	

	9.2 Training:
	· N/A
	
	
	
	

	9.3 Documentation:


	· User and maintenance manuals in English.

· All the necessary manuals, certificate of conformance with SEFA 8M or equivalent standards


	
	
	
	

	9.4 Maintenance and After-Sales Support:


	· Availability of spare parts guaranteed for at least 2 years.
	
	
	
	

	10.Warranty Requirement
	· The benches shall be aesthetically appealing and durable with at least five years warranty.
	
	
	
	


	Ministry of Industry, OS-IAIP Project Specification
	Unit
	Quantity
	Bidder Name:
	Evaluating Note on Scoring (C=Comply, NC=Not Comply)

	
	
	
	Bidder Offer:
	

	Category of specification
	Items and Specification


	
	
	Items and Specification
	

	Item.09
	 
	
	
	
	

	Item Name:
	Samples storage shelves
	Pcs
	30
	
	

	1.Description
	A shelf designed to ensuring Food sample are properly organized and easily accessible. These rugged and dependable shelving units deliver real supporting strength for all types of storage uses. Offset angle post support heavy loads and accommodate compression clips. Sturdy formed shelf is made from cold rolled steel and has "Triple Bends" on all four sides for incomparable strength.
	
	
	
	

	2.Unique Identification feature
	Name of the manufacturer of the Sample Storage should be provided

Provide Model Number with traceability internet link of the laboratory Sample storage shelves at the manufacturer website for verification purpose

The country of origin of the Laboratory Sample storage shelves shall be declared.
	
	
	
	

	3.Status of the Shelves
	It shall be new (Refurbished equipment will not be accepted)/ shall be declared
	
	
	
	

	                       4.Technical specification
	
	
	
	

	4.1 General Features and Specifications
	4.1.1 Features a rust resistant phosphatized cleaning for better paint adhesion and durability. Baked-on gray enamel finish. Compression clip rapidly snaps into post which allows for independent adjustment of shelves – normal shelf loading increases the locking action. Closed units feature back and end panels.

It should comply to the laboratory furniture standards and tests
	
	
	
	

	4.2Detailed Technical Specifications                               
	

	4.2.1 Material


	4.2.1.1. : Stainless steel

4.2.1.2. It should be made of Aluminum or stainless steel frames laminated with chemical resistant epoxy resins
	
	
	
	

	4.2.2 Design
	4.2.2.1 floor mounted

4.2.2.2 .Island

4.2.2.3 Classic M

4.2.2.4  Number of levels: 5 with edges
	
	
	
	

	4.2.3 Dimension and weight
	4.2.3.1 Height: 175 - 185 cm Depth: 40 - 45 cm and Width: 90 - 95 cm


	
	
	
	

	4.2.4 Load bearing capacity
	4.2.4.1 Minimum of 50 kg per shelf
	
	
	
	

	5.Testimonial Requirement
	N/A
	
	
	
	

	6.Manufacturer Authorization Letter
	· Should have Valid Manufacturer's Authorization Letter
	
	
	
	

	7.Construction and Durability


	Operating conditions: 

· Temperature: 10°C to 40°C.

· Humidity: ≤ 85% non-condensing.
	
	
	
	

	8.Power Requirements


	N/A
	
	
	
	

	9.Required Services
	N/A
	
	
	
	

	9.1 Delivery and Installation:


	· The supply must include transportation to the specified site (Bulbula and Shashemene, Yirgalem and bensa daye, Bure and Inijibara), Ethiopia


	
	
	
	

	9.2 Training:
	· N/A
	
	
	
	

	9.3 Documentation:


	· User and maintenance manuals in English.

· All the necessary manuals, certificate of conformance with SEFA 8 or equivalent standards


	
	
	
	

	9.4 Maintenance and After-Sales Support:


	· Availability of spare parts guaranteed for at least 2 years.
	
	
	
	

	10.Warranty Requirement
	· The benches shall be aesthetically appealing and durable with at least five years warranty.
	
	
	
	


· All deliver shall be within one hundred twenty (120) days from the date of contract signing.

Furniture’s Categories: Double sided Laboratory Workbenches with cabinets, shelves, sinks, wall, Center, Swivel chair and Table for 3 Integrated Agro Industrial Parks(IAIPs) and 3 Rural Transformation (RTCs) and 
	No
	Categories
	Quantity
	Total
	Quantity
	Total
	Grand Total

	
	
	RTC
	3*RTC
	IAIP
	3*IAIP
	RTC +IAIP

	1
	Double sided Laboratory Workbenches with cabinets, shelves and sinks(ISALAND)
	1
	3
	3
	9
	12

	2
	Single sided Laboratory Workbenches with cabinets (Width 175 – 185 cm) without sink
	3
	9
	16
	48
	57

	3
	Single sided Laboratory Work benches with cabinets, Sink and Facet  (Width 175 – 185 cm)
	2
	6
	4
	12
	18

	4
	Laboratory chair
	9
	27
	32
	96
	123

	5
	Chemical resistant chemical/reagent storage shelves
	2
	6
	6
	18
	24

	6
	Samples storage shelves
	5
	15
	5
	15
	30

	7
	Wall mounted glassware storage glass shelves
	2
	6
	4
	12
	18

	8
	Chemical/reagent vented storage cabinet
	0
	0
	1
	3
	3

	9
	Laboratory Balance Table
	1
	3
	3
	9
	12


Non-Technical and Non-Financial Requirements

1. Supply of the Goods

· All goods shall meet relevant standards set by Ethiopian Quality and Standard Authority, International Standards (DIN, ISO, AISI, etc), and shall have the Manufacturer /Licensed Distributor Authorization Letter.

· All goods shall comply with all safety requirements applicable on the date of delivery.

· The goods supplied under this contract must be new, unused, of the most recent or current models and incorporate all recent improvements in design and materials.

· All goods belonging to a specific LOT has to be delivered together. No partial delivery will be allowed.

· All electrical equipment should be supplied with connecting devices, power cords and plugs as per standards of Ethiopia, should be compliant with local power supply (220±10V AC, 50Hz) and capable of performance in the climatic conditions prevalent in the sites of destination.

2. Maintenance & Repair

· The availability of reputed & experienced local technical representation and/or properly staffed and equipped service workshop is a must, and has to be named and described in the technical offer.

3. Documents / Samples

· Operation manual in [insert language] hard copy and/or soft copy to be submitted with each unit.

· Service manual in hard copy and/or soft copy [insert language] to be submitted for each unit.

 [List other requirements as applicable] 

3. Inspections and Tests

The following inspections and tests shall be performed:  Verification will be conducted at the delivery location and time, in accordance with the checklist of specifications

PART 3 – Contract

	Section VIII - General Conditions of Contract


Table of Clauses

1481.
Definitions


1482.
Contract Documents


1493.
Fraud and Corruption


1494.
Interpretation


1505.
Language


1506.
Joint Venture, Consortium or Association


1507.
Eligibility


1508.
Notices


1509.
Governing Law


15110.
Settlement of Disputes


15111.
Inspections and Audit by the Bank


15112.
Scope of Supply


15113.
Delivery and Documents


15114.
Supplier’s Responsibilities


15315.
Contract Price


15316.
Terms of Payment


15317.
Taxes and Duties


15318.
Performance Security


15419.
Copyright


15420.
Confidential Information


15521.
Subcontracting


15522.
Specifications and Standards


 15523.
Packing and Documents………………………………………………………………………………………………

15524.
Insurance


15625.
Transportation and Incidental Services


15626.
Inspections and Tests


15727.
Liquidated Damages


15728.
Warranty


15829.
Patent Indemnity


15930.
Limitation of Liability


15931.
Change in Laws and Regulations


15932.
Force Majeure


16033.
Change Orders and Contract Amendments


16134.
Extensions of Time


16135.
Termination


16236.
Assignment


16237.
Export Restriction




Section VIII. General Conditions of Contract

	Definitions
	1.1
The following words and expressions shall have the meanings hereby assigned to them:

(a) “Bank” means the World Bank and refers to the International Bank for Reconstruction and Development (IBRD) or the International Development Association (IDA).

(b) “Contract” means the Contract Agreement entered into between the Purchaser and the Supplier, together with the Contract Documents referred to therein, including all attachments, appendices, and all documents incorporated by reference therein.

(c) “Contract Documents” means the documents listed in the Contract Agreement, including any amendments thereto.

(d) “Contract Price” means the price payable to the Supplier as specified in the Contract Agreement, subject to such additions and adjustments thereto or deductions therefrom, as may be made pursuant to the Contract.

(e) “Day” means calendar day.

(f) “Completion” means the fulfillment of the Related Services by the Supplier in accordance with the terms and conditions set forth in the Contract. 
(g) “GCC” means the General Conditions of Contract.

(h) “Goods” means all of the commodities, raw material, machinery and equipment, and/or other materials that the Supplier is required to supply to the Purchaser under the Contract.

(i) “Purchaser’s Country” is the country specified in the Special Conditions of Contract (SCC).

(j) “Purchaser” means the entity purchasing the Goods and Related Services, as specified in the SCC.
(k) “Related Services” means the services incidental to the supply of the goods, such as insurance, installation, training and initial maintenance and other such obligations of the Supplier under the Contract.

(l) “SCC” means the Special Conditions of Contract.

(m) “Subcontractor” means any person, private or government entity, or a combination of the above, to whom any part of the Goods to be supplied or execution of any part of the Related Services is subcontracted by the Supplier.

(n) “Supplier” means the person, private or government entity, or a combination of the above, whose Bid to perform the Contract has been accepted by the Purchaser and is named as such in the Contract Agreement.

(o) “The Project Site,” where applicable, means the place named in the SCC.

	Contract Documents
	2.1 Subject to the order of precedence set forth in the Contract Agreement, all documents forming the Contract (and all parts thereof) are intended to be correlative, complementary, and mutually explanatory. The Contract Agreement shall be read as a whole. 

	Fraud and Corruption
	3.1 
The Bank requires compliance with the Bank’s Anti-Corruption Guidelines and its prevailing sanctions policies and procedures as set forth in the WBG’s Sanctions Framework, as set forth in Appendix 1 to the GCC.

3.2
The Purchaser requires the Supplier to disclose any commissions or fees that may have been paid or are to be paid to agents or any other party with respect to the Bidding process or execution of the Contract. The information disclosed must include at least the name and address of the agent or other party, the amount and currency, and the purpose of the commission, gratuity or fee. 

	Interpretation
	4.1 If the context so requires it, singular means plural and vice versa.

4.2 Incoterms

(a) Unless inconsistent with any provision of the Contract, the meaning of any trade term and the rights and obligations of parties thereunder shall be as prescribed by Incoterms specified in the SCC.

(b) The terms EXW, CIP, FCA, CFR and other similar terms, when used, shall be governed by the rules prescribed in the current edition of Incoterms specified in the SCC and published by the International Chamber of Commerce in Paris, France.

4.3 Entire Agreement

The Contract constitutes the entire agreement between the Purchaser and the Supplier and supersedes all communications, negotiations and agreements (whether written or oral) of the parties with respect thereto made prior to the date of Contract.

4.4 Amendment

No amendment or other variation of the Contract shall be valid unless it is in writing, is dated, expressly refers to the Contract, and is signed by a duly authorized representative of each party thereto.

4.5 Non waiver

(a) Subject to GCC Sub-Clause 4.5(b) below, no relaxation, forbearance, delay, or indulgence by either party in enforcing any of the terms and conditions of the Contract or the granting of time by either party to the other shall prejudice, affect, or restrict the rights of that party under the Contract, neither shall any waiver by either party of any breach of Contract operate as waiver of any subsequent or continuing breach of Contract.

(b) Any waiver of a party’s rights, powers, or remedies under the Contract must be in writing, dated, and signed by an authorized representative of the party granting such waiver, and must specify the right and the extent to which it is being waived.

4.6 Severability

If any provision or condition of the Contract is prohibited or rendered invalid or unenforceable, such prohibition, invalidity or unenforceability shall not affect the validity or enforceability of any other provisions and conditions of the Contract.

	Language
	5.1 The Contract as well as all correspondence and documents relating to the Contract exchanged by the Supplier and the Purchaser, shall be written in the language specified in the SCC. Supporting documents and printed literature that are part of the Contract may be in another language provided they are accompanied by an accurate translation of the relevant passages in the language specified, in which case, for purposes of interpretation of the Contract, this translation shall govern.

5.2 The Supplier shall bear all costs of translation to the governing language and all risks of the accuracy of such translation, for documents provided by the Supplier.

	Joint Venture, Consortium or Association
	6.1 If the Supplier is a joint venture, consortium, or association, all of the parties shall be jointly and severally liable to the Purchaser for the fulfillment of the provisions of the Contract and shall designate one party to act as a leader with authority to bind the joint venture, consortium, or association. The composition or the constitution of the joint venture, consortium, or association shall not be altered without the prior consent of the Purchaser.

	Eligibility
	7.1 The Supplier and its Subcontractors shall have the nationality of an eligible country. A Supplier or Subcontractor shall be deemed to have the nationality of a country if it is a citizen or constituted, incorporated, or registered, and operates in conformity with the provisions of the laws of that country. 
7.2 All Goods and Related Services to be supplied under the Contract and financed by the Bank shall have their origin in Eligible Countries. For the purpose of this Clause, origin means the country where the goods have been grown, mined, cultivated, produced, manufactured, or processed; or through manufacture, processing, or assembly, another commercially recognized article results that differs substantially in its basic characteristics from its components. 

	Notices
	8.1 Any notice given by one party to the other pursuant to the Contract shall be in writing to the address specified in the SCC. The term “in writing” means communicated in written form with proof of receipt. 
8.2 A notice shall be effective when delivered or on the notice’s effective date, whichever is later.

	Governing Law
	9.1 The Contract shall be governed by and interpreted in accordance with the laws of the Purchaser’s Country, unless otherwise specified in the SCC.
9.2 Throughout the execution of the Contract, the Supplier shall comply with the import of goods and services prohibitions in the Purchaser’s Country when:
(a) as a matter of law or official regulations, the Borrower’s country prohibits commercial relations with that country; or 
(b) by an act of compliance with a decision of the United Nations Security Council taken under Chapter VII of the Charter of the United Nations, the Borrower’s Country prohibits any import of goods from that country or any payments to any country, person, or entity in that country.

	Settlement of Disputes
	10.1 The Purchaser and the Supplier shall make every effort to resolve amicably by direct informal negotiation any disagreement or dispute arising between them under or in connection with the Contract. 
10.2 If, after twenty-eight (28) days, the parties have failed to resolve their dispute or difference by such mutual consultation, then either the Purchaser or the Supplier may give notice to the other party of its intention to commence arbitration, as hereinafter provided, as to the matter in dispute, and no arbitration in respect of this matter may be commenced unless such notice is given. Any dispute or difference in respect of which a notice of intention to commence arbitration has been given in accordance with this Clause shall be finally settled by arbitration. Arbitration may be commenced prior to or after delivery of the Goods under the Contract. Arbitration proceedings shall be conducted in accordance with the rules of procedure specified in the SCC. 
10.3 Notwithstanding any reference to arbitration herein, 
(a) the parties shall continue to perform their respective obligations under the Contract unless they otherwise agree; and 
(b) the Purchaser shall pay the Supplier any monies due the Supplier.

	Inspections and Audit by the Bank
	11.1 The Supplier shall keep, and shall make all reasonable efforts to cause its Subcontractors and subconsultants to keep, accurate and systematic accounts and records in respect of the Goods in such form and details as will clearly identify relevant time changes and costs.
11.2 Pursuant to paragraph 2.2 e. of Appendix 1 to the General Conditions the Supplier shall permit and shall cause its agents (where declared or not), subcontractors, subconsultants, service providers, suppliers, and personnel, to permit, the Bank and/or persons appointed by the Bank to inspect the site and/or the accounts, records and other documents relating to the procurement process, selection and/or contract execution, and to have such accounts, records and other documents audited by auditors appointed by the Bank. The Supplier’s and its Subcontractors’ and subconsultants’ attention is drawn to Sub-Clause 3.1 (Fraud and Corruption) which provides, inter alia, that acts intended to materially impede the exercise of the Bank’s inspection and audit rights constitute a prohibited practice subject to contract termination (as well as to a determination of ineligibility pursuant to the Bank’s prevailing sanctions procedures).

	Scope of Supply
	12.1
The Goods and Related Services to be supplied shall be as specified in the Schedule of Requirements.

	Delivery and Documents
	13.1
Subject to GCC Sub-Clause 33.1, the Delivery of the Goods and Completion of the Related Services shall be in accordance with the Delivery and Completion Schedule specified in the Schedule of Requirements. The details of shipping and other documents to be furnished by the Supplier are specified in the SCC.

	Supplier’s Responsibilities
	1.1 The Supplier shall supply all the Goods and Related Services included in the Scope of Supply in accordance with GCC Clause 12, and the Delivery and Completion Schedule, as per GCC Clause 13. 
1.2 The Supplier, including its Subcontractors, shall not employ or engage forced labor or persons subject to trafficking, as described in GCC Sub-Clauses 14.3 and 14.4.
1.3 Forced labor consists of any work or service, not voluntarily performed, that is exacted from an individual under threat of force or penalty, and includes any kind of involuntary or compulsory labor, such as indentured labor, bonded labor or similar labor-contracting arrangements.
1.4 Trafficking in persons is defined as the recruitment, transportation, transfer, harbouring or receipt of persons by means of the threat or use of force or other forms of coercion, abduction, fraud, deception, abuse of power, or of a position of vulnerability, or of the giving or receiving of payments or benefits to achieve the consent of a person having control over another person, for the purposes of exploitation.
1.5 The Supplier, including its Subcontractors, shall not employ or engage a child under the age of 14 unless the national law specifies a higher age (the minimum age).
1.6 The Supplier, including its Subcontractors, shall not employ or engage a child between the minimum age and the age of 18 in a manner that is likely to be hazardous, or to interfere with, the child’s education, or to be harmful to the child’s health or physical, mental, spiritual, moral, or social development.

1.7 Work considered hazardous for children is work that, by its nature or the circumstances in which it is carried out, is likely to jeopardize the health, safety, or morals of children. Such work activities prohibited for children include work:

(a) with exposure to physical, psychological or sexual abuse;

(b) underground, underwater, working at heights or in confined spaces; 

(c) with dangerous machinery, equipment or tools, or involving handling or transport of heavy loads; 

(d) in unhealthy environments exposing children to hazardous substances, agents, or processes, or to temperatures, noise or vibration damaging to health; or

(e) under difficult conditions such as work for long hours, during the night or in confinement on the premises of the employer.

1.8 The Supplier shall comply, and shall require its Subcontractors if any to comply, with all applicable health and safety regulations, laws, guidelines, and any other requirement stated in the Technical Specifications.

1.9 Pursuant to the SCC, the Supplier, including its Subcontractors/ suppliers/ manufacturers shall take all technical and organizational measures necessary to protect the information technology systems and data used in connection with the Contract. Without limiting the foregoing, the Supplier, including its Subcontractors/ suppliers/ manufacturers, shall use all reasonable efforts to establish, maintain, implement and comply with, reasonable information technology, information security, cyber security and data protection controls, policies and procedures, including oversight, access controls, encryption, technological and physical safeguards and business continuity/disaster recovery and security plans that are designed to protect against and prevent breach, destruction, loss, unauthorized distribution, use, access, disablement, misappropriation or modification, or other compromise or misuse of or relating to any information technology system or data used in connection with the Contract.
1.10 The Supplier shall comply with additional obligations as specified in the SCC.

	Contract Price
	15.1
Prices charged by the Supplier for the Goods supplied and the Related Services performed under the Contract shall not vary from the prices quoted by the Supplier in its Bid, with the exception of any price adjustments authorized in the SCC. 

	Terms of Payment
	16.1
The Contract Price, including any Advance Payments, if applicable, shall be paid as specified in the SCC.
16.2
The Supplier’s request for payment shall be made to the Purchaser in writing, accompanied by invoices describing, as appropriate, the Goods delivered and Related Services performed, and by the documents submitted pursuant to GCC Clause 13 and upon fulfillment of all other obligations stipulated in the Contract.

16.3
Payments shall be made promptly by the Purchaser, but in no case later than sixty (60) days after submission of an invoice or request for payment by the Supplier, and after the Purchaser has accepted it.

16.4
The currencies in which payments shall be made to the Supplier under this Contract shall be those in which the Bid price is expressed. 
16.5
In the event that the Purchaser fails to pay the Supplier any payment by its due date or within the period set forth in the SCC, the Purchaser shall pay to the Supplier interest on the amount of such delayed payment at the rate shown in the SCC, for the period of delay until payment has been made in full, whether before or after judgment or arbitrage award. 

	Taxes and Duties
	17.1
For goods manufactured outside the Purchaser’s Country, the Supplier shall be entirely responsible for all taxes, stamp duties, license fees, and other such levies imposed outside the Purchaser’s Country.

17.2
For goods Manufactured within the Purchaser’s Country, the Supplier shall be entirely responsible for all taxes, duties, license fees, etc., incurred until delivery of the contracted Goods to the Purchaser.

17.3
If any tax exemptions, reductions, allowances or privileges may be available to the Supplier in the Purchaser’s Country, the Purchaser shall use its best efforts to enable the Supplier to benefit from any such tax savings to the maximum allowable extent.

	Performance Security
	18.1
If required as specified in the SCC, the Supplier shall, within twenty-eight (28) days of the notification of contract award, provide a performance security for the performance of the Contract in the amount specified in the SCC.
18.2
The proceeds of the Performance Security shall be payable to the Purchaser as compensation for any loss resulting from the Supplier’s failure to complete its obligations under the Contract.

18.3
As specified in the SCC, the Performance Security, if required, shall be denominated in the currency (ies) of the Contract, or in a freely convertible currency acceptable to the Purchaser; and shall be in one of the format stipulated by the Purchaser in the SCC, or in another format acceptable to the Purchaser.

18.4
The Performance Security shall be discharged by the Purchaser and returned to the Supplier not later than twenty-eight (28) days following the date of Completion of the Supplier’s performance obligations under the Contract, including any warranty obligations, unless specified otherwise in the SCC.

	Copyright
	19.1
The copyright in all drawings, documents, and other materials containing data and information furnished to the Purchaser by the Supplier herein shall remain vested in the Supplier, or, if they are furnished to the Purchaser directly or through the Supplier by any third party, including suppliers of materials, the copyright in such materials shall remain vested in such third party.

	Confidential Information
	20.1
The Purchaser and the Supplier shall keep confidential and shall not, without the written consent of the other party hereto, divulge to any third party any documents, data, or other information furnished directly or indirectly by the other party hereto in connection with the Contract, whether such information has been furnished prior to, during or following completion or termination of the Contract. Notwithstanding the above, the Supplier may furnish to its Subcontractor such documents, data, and other information it receives from the Purchaser to the extent required for the Subcontractor to perform its work under the Contract, in which event the Supplier shall obtain from such Subcontractor an undertaking of confidentiality similar to that imposed on the Supplier under GCC Clause 20.

20.2
The Purchaser shall not use such documents, data, and other information received from the Supplier for any purposes unrelated to the contract. Similarly, the Supplier shall not use such documents, data, and other information received from the Purchaser for any purpose other than the performance of the Contract.

20.3
The obligation of a party under GCC Sub-Clauses 20.1 and 20.2 above, however, shall not apply to information that:

(a) the Purchaser or Supplier need to share with the Bank or other institutions participating in the financing of the Contract; 
(b) now or hereafter enters the public domain through no fault of that party;

(c) can be proven to have been possessed by that party at the time of disclosure and which was not previously obtained, directly or indirectly, from the other party; or

(d) otherwise lawfully becomes available to that party from a third party that has no obligation of confidentiality.

20.4
The above provisions of GCC Clause 20 shall not in any way modify any undertaking of confidentiality given by either of the parties hereto prior to the date of the Contract in respect of the Supply or any part thereof.

20.5
The provisions of GCC Clause 20 shall survive completion or termination, for whatever reason, of the Contract.

	Subcontracting
	21.1
The Supplier shall notify the Purchaser in writing of all subcontracts awarded under the Contract if not already specified in the Bid. Notification by the Supplier, for addition of any Subcontractor not named in the Contract, shall also include the Subcontractor’s declaration in accordance with Appendix 2 to the GCC- Sexual exploitation and Abuse (SEA) and/or Sexual Harassment (SH) Performance Declaration. Such notification, in the original Bid or later shall not relieve the Supplier from any of its obligations, duties, responsibilities, or liability under the Contract.

21.2
Subcontracts shall comply with the provisions of GCC Clauses 3 and 7. 

	Specifications and Standards
	22.1
Technical Specifications and Drawings

(a) The Goods and Related Services supplied under this Contract shall conform to the technical specifications and standards mentioned in Section VI, Schedule of Requirements and, when no applicable standard is mentioned, the standard shall be equivalent or superior to the official standards whose application is appropriate to the Goods’ country of origin.

(b) The Supplier shall be entitled to disclaim responsibility for any design, data, drawing, specification or other document, or any modification thereof provided or designed by or on behalf of the Purchaser, by giving a notice of such disclaimer to the Purchaser.

(c) Wherever references are made in the Contract to codes and standards in accordance with which it shall be executed, the edition or the revised version of such codes and standards shall be those specified in the Schedule of Requirements. During Contract execution, any changes in any such codes and standards shall be applied only after approval by the Purchaser and shall be treated in accordance with GCC Clause 33.

	Packing and Documents
	23.1
The Supplier shall provide such packing of the Goods as is required to prevent their damage or deterioration during transit to their final destination, as indicated in the Contract. During transit, the packing shall be sufficient to withstand, without limitation, rough handling and exposure to extreme temperatures, salt and precipitation, and open storage. Packing case size and weights shall take into consideration, where appropriate, the remoteness of the goods’ final destination and the absence of heavy handling facilities at all points in transit.

23.2
The packing, marking, and documentation within and outside the packages shall comply strictly with such special requirements as shall be expressly provided for in the Contract, including additional requirements, if any, specified in the SCC, and in any other instructions ordered by the Purchaser.

	Insurance
	24.1
Unless otherwise specified in the SCC, the Goods supplied under the Contract shall be fully insured—in a freely convertible currency from an eligible country—against loss or damage incidental to manufacture or acquisition, transportation, storage, and delivery, in accordance with the applicable Incoterms or in the manner specified in the SCC. 

	Transportation and Incidental Services
	25.1
Unless otherwise specified in the SCC, responsibility for arranging transportation of the Goods shall be in accordance with the specified Incoterms. 

	
	25.2
The Supplier may be required to provide any or all of the following services, including additional services, if any, specified in SCC:
(a)
performance or supervision of on-site assembly and/or start‑up of the supplied Goods;

(b)
furnishing of tools required for assembly and/or maintenance of the supplied Goods;

(c)
furnishing of a detailed operations and maintenance manual for each appropriate unit of the supplied Goods;

(d)
performance or supervision or maintenance and/or repair of the supplied Goods, for a period of time agreed by the parties, provided that this service shall not relieve the Supplier of any warranty obligations under this Contract; and

(e)
training of the Purchaser’s personnel, at the Supplier’s plant and/or on-site, in assembly, start-up, operation, maintenance, and/or repair of the supplied Goods.

25.3
Prices charged by the Supplier for incidental services, if not included in the Contract Price for the Goods, shall be agreed upon in advance by the parties and shall not exceed the prevailing rates charged to other parties by the Supplier for similar services 

	Inspections and Tests
	26.1
The Supplier shall at its own expense and at no cost to the Purchaser carry out all such tests and/or inspections of the Goods and Related Services as are specified in the SCC.
26.2
The inspections and tests may be conducted on the premises of the Supplier or its Subcontractor, at point of delivery, and/or at the Goods’ final destination, or in another place in the Purchaser’s Country as specified in the SCC. Subject to GCC Sub-Clause 26.3, if conducted on the premises of the Supplier or its Subcontractor, all reasonable facilities and assistance, including access to drawings and production data, shall be furnished to the inspectors at no charge to the Purchaser.

26.3
The Purchaser or its designated representative shall be entitled to attend the tests and/or inspections referred to in GCC Sub-Clause 26.2, provided that the Purchaser bear all of its own costs and expenses incurred in connection with such attendance including, but not limited to, all traveling and board and lodging expenses.

26.4
Whenever the Supplier is ready to carry out any such test and inspection, it shall give a reasonable advance notice, including the place and time, to the Purchaser. The Supplier shall obtain from any relevant third party or manufacturer any necessary permission or consent to enable the Purchaser or its designated representative to attend the test and/or inspection.

26.5
The Purchaser may require the Supplier to carry out any test and/or inspection not required by the Contract but deemed necessary to verify that the characteristics and performance of the Goods comply with the technical specifications codes and standards under the Contract, provided that the Supplier’s reasonable costs and expenses incurred in the carrying out of such test and/or inspection shall be added to the Contract Price. Further, if such test and/or inspection impedes the progress of manufacturing and/or the Supplier’s performance of its other obligations under the Contract, due allowance will be made in respect of the Delivery Dates and Completion Dates and the other obligations so affected.

26.6
The Supplier shall provide the Purchaser with a report of the results of any such test and/or inspection.

26.7
The Purchaser may reject any Goods or any part thereof that fail to pass any test and/or inspection or do not conform to the specifications. The Supplier shall either rectify or replace such rejected Goods or parts thereof or make alterations necessary to meet the specifications at no cost to the Purchaser, and shall repeat the test and/or inspection, at no cost to the Purchaser, upon giving a notice pursuant to GCC Sub-Clause 26.4.

26.8
The Supplier agrees that neither the execution of a test and/or inspection of the Goods or any part thereof, nor the attendance by the Purchaser or its representative, nor the issue of any report pursuant to GCC Sub-Clause 26.6, shall release the Supplier from any warranties or other obligations under the Contract.

	Liquidated Damages
	27.1
Except as provided under GCC Clause 32, if the Supplier fails to deliver any or all of the Goods by the Date(s) of delivery or perform the Related Services within the period specified in the Contract, the Purchaser may without prejudice to all its other remedies under the Contract, deduct from the Contract Price, as liquidated damages, a sum equivalent to the percentage specified in the SCC of the delivered price of the delayed Goods or unperformed Services for each week or part thereof of delay until actual delivery or performance, up to a maximum deduction of the percentage specified in those SCC. Once the maximum is reached, the Purchaser may terminate the Contract pursuant to GCC Clause 35.

	Warranty
	28.1
The Supplier warrants that all the Goods are new, unused, and of the most recent or current models, and that they incorporate all recent improvements in design and materials, unless provided otherwise in the Contract.

28.2
Subject to GCC Sub-Clause 22.1(b), the Supplier further warrants that the Goods shall be free from defects arising from any act or omission of the Supplier or arising from design, materials, and workmanship, under normal use in the conditions prevailing in the country of final destination.

28.3
Unless otherwise specified in the SCC, the warranty shall remain valid for twelve (12) months after the Goods, or any portion thereof as the case may be, have been delivered to and accepted at the final destination indicated in the SCC, or for eighteen (18) months after the date of shipment from the port or place of loading in the country of origin, whichever period concludes earlier.

28.4
The Purchaser shall give notice to the Supplier stating the nature of any such defects together with all available evidence thereof, promptly following the discovery thereof. The Purchaser shall afford all reasonable opportunity for the Supplier to inspect such defects.

28.5
Upon receipt of such notice, the Supplier shall, within the period specified in the SCC, expeditiously repair or replace the defective Goods or parts thereof, at no cost to the Purchaser.

28.6
If having been notified, the Supplier fails to remedy the defect within the period specified in the SCC, the Purchaser may proceed to take within a reasonable period such remedial action as may be necessary, at the Supplier’s risk and expense and without prejudice to any other rights which the Purchaser may have against the Supplier under the Contract.

	Patent Indemnity
	29.1
The Supplier shall, subject to the Purchaser’s compliance with GCC Sub-Clause 29.2, indemnify and hold harmless the Purchaser and its employees and officers from and against any and all suits, actions or administrative proceedings, claims, demands, losses, damages, costs, and expenses of any nature, including attorney’s fees and expenses, which the Purchaser may suffer as a result of any infringement or alleged infringement of any patent, utility model, registered design, trademark, copyright, or other intellectual property right registered or otherwise existing at the date of the Contract by reason of: 
(a) the installation of the Goods by the Supplier or the use of the Goods in the country where the Site is located; and 
(b) the sale in any country of the products produced by the Goods. 
Such indemnity shall not cover any use of the Goods or any part thereof other than for the purpose indicated by or to be reasonably inferred from the Contract, neither any infringement resulting from the use of the Goods or any part thereof, or any products produced thereby in association or combination with any other equipment, plant, or materials not supplied by the Supplier, pursuant to the Contract.

29.2
If any proceedings are brought or any claim is made against the Purchaser arising out of the matters referred to in GCC Sub-Clause 29.1, the Purchaser shall promptly give the Supplier a notice thereof, and the Supplier may at its own expense and in the Purchaser’s name conduct such proceedings or claim and any negotiations for the settlement of any such proceedings or claim.

29.3
If the Supplier fails to notify the Purchaser within twenty-eight (28) days after receipt of such notice that it intends to conduct any such proceedings or claim, then the Purchaser shall be free to conduct the same on its own behalf.

29.4
The Purchaser shall, at the Supplier’s request, afford all available assistance to the Supplier in conducting such proceedings or claim, and shall be reimbursed by the Supplier for all reasonable expenses incurred in so doing.

29.5
The Purchaser shall indemnify and hold harmless the Supplier and its employees, officers, and Subcontractors from and against any and all suits, actions or administrative proceedings, claims, demands, losses, damages, costs, and expenses of any nature, including attorney’s fees and expenses, which the Supplier may suffer as a result of any infringement or alleged infringement of any patent, utility model, registered design, trademark, copyright, or other intellectual property right registered or otherwise existing at the date of the Contract arising out of or in connection with any design, data, drawing, specification, or other documents or materials provided or designed by or on behalf of the Purchaser.

	Limitation of Liability
	30.1
Except in cases of criminal negligence or willful misconduct, 
(a)
the Supplier shall not be liable to the Purchaser, whether in contract, tort, or otherwise, for any indirect or consequential loss or damage, loss of use, loss of production, or loss of profits or interest costs, provided that this exclusion shall not apply to any obligation of the Supplier to pay liquidated damages to the Purchaser and

(b)
the aggregate liability of the Supplier to the Purchaser, whether under the Contract, in tort or otherwise, shall not exceed the total Contract Price, provided that this limitation shall not apply to the cost of repairing or replacing defective equipment, or to any obligation of the supplier to indemnify the Purchaser with respect to patent infringement

	Change in Laws and Regulations
	31.1
Unless otherwise specified in the Contract, if after the date of 28 days prior to date of Bid submission, any law, regulation, ordinance, order or bylaw having the force of law is enacted, promulgated, abrogated, or changed in the place of the Purchaser’s Country where the Site is located (which shall be deemed to include any change in interpretation or application by the competent authorities) that subsequently affects the Delivery Date and/or the Contract Price, then such Delivery Date and/or Contract Price shall be correspondingly increased or decreased, to the extent that the Supplier has thereby been affected in the performance of any of its obligations under the Contract. Notwithstanding the foregoing, such additional or reduced cost shall not be separately paid or credited if the same has already been accounted for in the price adjustment provisions where applicable, in accordance with GCC Clause 15.

	Force Majeure
	32.1
The Supplier shall not be liable for forfeiture of its Performance Security, liquidated damages, or termination for default if and to the extent that it’s delay in performance or other failure to perform its obligations under the Contract is the result of an event of Force Majeure.

32.2
For purposes of this Clause, “Force Majeure” means an event or situation beyond the control of the Supplier that is not foreseeable, is unavoidable, and its origin is not due to negligence or lack of care on the part of the Supplier. Such events may include, but not be limited to, acts of the Purchaser in its sovereign capacity, wars or revolutions, fires, floods, epidemics, quarantine restrictions, and freight embargoes.

32.3
If a Force Majeure situation arises, the Supplier shall promptly notify the Purchaser in writing of such condition and the cause thereof. Unless otherwise directed by the Purchaser in writing, the Supplier shall continue to perform its obligations under the Contract as far as is reasonably practical, and shall seek all reasonable alternative means for performance not prevented by the Force Majeure event.

	Change Orders and Contract Amendments
	33.1 The Purchaser may at any time order the Supplier through notice in accordance GCC Clause 8, to make changes within the general scope of the Contract in any one or more of the following:

(a) drawings, designs, or specifications, where Goods to be furnished under the Contract are to be specifically manufactured for the Purchaser;

(b) the method of shipment or packing;

(c) the place of delivery; and 
(d) the Related Services to be provided by the Supplier.

33.2 If any such change causes an increase or decrease in the cost of, or the time required for, the Supplier’s performance of any provisions under the Contract, an equitable adjustment shall be made in the Contract Price or in the Delivery/Completion Schedule, or both, and the Contract shall accordingly be amended. Any claims by the Supplier for adjustment under this Clause must be asserted within twenty-eight (28) days from the date of the Supplier’s receipt of the Purchaser’s change order.

33.3 Prices to be charged by the Supplier for any Related Services that might be needed but which were not included in the Contract shall be agreed upon in advance by the parties and shall not exceed the prevailing rates charged to other parties by the Supplier for similar services.

33.4 Value Engineering: The Supplier may prepare, at its own cost, a value engineering proposal at any time during the performance of the contract. The value engineering proposal shall, at a minimum, include the following;

(a) the proposed change(s), and a description of the difference to the existing contract requirements;

(b) a full cost/benefit analysis of the proposed change(s) including a description and estimate of costs (including life cycle costs) the Purchaser may incur in implementing the value engineering proposal; and

(c) a description of any effect(s) of the change on performance/functionality.

The Purchaser may accept the value engineering proposal if the proposal demonstrates benefits that:
(a) accelerates the delivery period; or

(b) reduces the Contract Price or the life cycle costs to the Purchaser; or
(c) improves the quality, efficiency or sustainability of the Goods; or
(d) yields any other benefits to the Purchaser,

without compromising the necessary functions of the Facilities.

If the value engineering proposal is approved by the Purchaser and results in:

(a) a reduction of the Contract Price; the amount to be paid to the Supplier shall be the percentage specified in the PCC of the reduction in the Contract Price; or

(b) an increase in the Contract Price; but results in a reduction in life cycle costs due to any benefit described in (a) to (d) above, the amount to be paid to the Supplier shall be the full increase in the Contract Price.

33.5 Subject to the above, no variation in or modification of the terms of the Contract shall be made except by written amendment signed by the parties. 

	Extensions of Time
	34.1
If at any time during performance of the Contract, the Supplier or its subcontractors should encounter conditions impeding timely delivery of the Goods or completion of Related Services pursuant to GCC Clause 13, the Supplier shall promptly notify the Purchaser in writing of the delay, its likely duration, and its cause. As soon as practicable after receipt of the Supplier’s notice, the Purchaser shall evaluate the situation and may at its discretion extend the Supplier’s time for performance, in which case the extension shall be ratified by the parties by amendment of the Contract.

34.2
Except in case of Force Majeure, as provided under GCC Clause 32, a delay by the Supplier in the performance of its Delivery and Completion obligations shall render the Supplier liable to the imposition of liquidated damages pursuant to GCC Clause 26, unless an extension of time is agreed upon, pursuant to GCC Sub-Clause 34.1.

	Termination
	35.1
Termination for Default

(a) The Purchaser, without prejudice to any other remedy for breach of Contract, by written notice of default sent to the Supplier, may terminate the Contract in whole or in part:

(i) if the Supplier fails to deliver any or all of the Goods within the period specified in the Contract, or within any extension thereof granted by the Purchaser pursuant to GCC Clause 34; 
(ii) if the Supplier fails to perform any other obligation under the Contract; or

(iii) if the Supplier, in the judgment of the Purchaser has engaged in Fraud and Corruption, as defined in   paragraph 2.2 a of the Appendix 1 to the GCC, in competing for or in executing the Contract.
(b) In the event the Purchaser terminates the Contract in whole or in part, pursuant to GCC Clause 35.1(a), the Purchaser may procure, upon such terms and in such manner as it deems appropriate, Goods or Related Services similar to those undelivered or not performed, and the Supplier shall be liable to the Purchaser for any additional costs for such similar Goods or Related Services. However, the Supplier shall continue performance of the Contract to the extent not terminated.

35.2
Termination for Insolvency. 
(a) The Purchaser may at any time terminate the Contract by giving notice to the Supplier if the Supplier becomes bankrupt or otherwise insolvent. In such event, termination will be without compensation to the Supplier, provided that such termination will not prejudice or affect any right of action or remedy that has accrued or will accrue thereafter to the Purchaser

35.3
Termination for Convenience.

(a) The Purchaser, by notice sent to the Supplier, may terminate the Contract, in whole or in part, at any time for its convenience. The notice of termination shall specify that termination is for the Purchaser’s convenience, the extent to which performance of the Supplier under the Contract is terminated, and the date upon which such termination becomes effective.

(b) The Goods that are complete and ready for shipment within twenty-eight (28) days after the Supplier’s receipt of notice of termination shall be accepted by the Purchaser at the Contract terms and prices. For the remaining Goods, the Purchaser may elect: 
(i) to have any portion completed and delivered at the Contract terms and prices; and/or

(ii) to cancel the remainder and pay to the Supplier an agreed amount for partially completed Goods and Related Services and for materials and parts previously procured by the Supplier.

	Assignment
	36.1
Neither the Purchaser nor the Supplier shall assign, in whole or in part, their obligations under this Contract, except with prior written consent of the other party.

	Export Restriction
	37.1
Notwithstanding any obligation under the Contract to complete all export formalities, any export restrictions attributable to the Purchaser, to the country of the Purchaser, or to the use of the products/goods, systems or services to be supplied, which arise from trade regulations from a country supplying those products/goods, systems or services, and which substantially impede the Supplier from meeting its obligations under the Contract, shall release the Supplier from the obligation to provide deliveries or services, always provided, however, that the Supplier can demonstrate to the satisfaction of the Purchaser and of the Bank that it has completed all formalities in a timely manner, including applying for permits, authorizations and licenses necessary for the export of the products/goods, systems or services under the terms of the Contract. Termination of the Contract on this basis shall be for the Purchaser’s convenience pursuant to Sub-Clause 35.3.


APPENDIX 1 
(Text in this Appendix shall not be modified)
Fraud and Corruption

1. Purpose

1.1 The Bank’s Anti-Corruption Guidelines and this annex apply with respect to procurement under 
1.2 Bank Investment Project Financing operations.

2. Requirements

2.1 The Bank requires that Borrowers (including beneficiaries of Bank financing); bidders (applicants/proposers), consultants, contractors and suppliers; any sub-contractors, sub-consultants, service providers or suppliers; any agents (whether declared or not); and any of their personnel, observe the highest standard of ethics during the procurement process, selection and contract execution of Bank-financed contracts, and refrain from Fraud and Corruption.
2.2 To this end, the Bank:

a. Defines, for the purposes of this provision, the terms set forth below as follows:

i. “corrupt practice” is the offering, giving, receiving, or soliciting, directly or indirectly, of anything of value to influence improperly the actions of another party;

ii. “fraudulent practice” is any act or omission, including misrepresentation, that knowingly or recklessly misleads, or attempts to mislead, a party to obtain financial or other benefit or to avoid an obligation;

iii. “collusive practice” is an arrangement between two or more parties designed to achieve an improper purpose, including to influence improperly the actions of another party;

iv. “coercive practice” is impairing or harming, or threatening to impair or harm, directly or indirectly, any party or the property of the party to influence improperly the actions of a party;

v. “obstructive practice” is:

(a) deliberately destroying, falsifying, altering, or concealing of evidence material to the investigation or making false statements to investigators in order to materially impede a Bank investigation into allegations of a corrupt, fraudulent, coercive, or collusive practice; and/or threatening, harassing, or intimidating any party to prevent it from disclosing its knowledge of matters relevant to the investigation or from pursuing the investigation; or

(b) acts intended to materially impede the exercise of the Bank’s inspection and audit rights provided for under paragraph 2.2 e. below.

b. Rejects a proposal for award if the Bank determines that the firm or individual recommended for award, any of its personnel, or its agents, or its sub-consultants, sub-contractors, service providers, suppliers and/ or their employees, has, directly or indirectly, engaged in corrupt, fraudulent, collusive, coercive, or obstructive practices in competing for the contract in question;

c. In addition to the legal remedies set out in the relevant Legal Agreement, may take other appropriate actions, including declaring misprocurement, if the Bank determines at any time that representatives of the Borrower or of a recipient of any part of the proceeds of the loan engaged in corrupt, fraudulent, collusive, coercive, or obstructive practices during the procurement process, selection and/or execution of the contract in question,  without the Borrower having taken timely and appropriate action satisfactory to the Bank to address such practices when they occur, including by failing to inform the Bank in a timely manner at the time  they knew of the practices; 

d. Pursuant to the Bank’s Anti-Corruption Guidelines, and in accordance with the Bank’s prevailing sanctions policies and procedures, may sanction a firm or individual, either indefinitely or for a stated period of time, including by publicly declaring such firm or individual ineligible (i) to be awarded or otherwise benefit from a Bank-financed contract, financially or in any other manner;
 (ii) to be a nominated
 sub-contractor, consultant, manufacturer or supplier, or service provider of an otherwise eligible firm being awarded a Bank-financed contract; and (iii) to receive the proceeds of any loan made by the Bank or otherwise to participate further in the preparation or implementation of any Bank-financed project; 

e. Requires that a clause be included in bidding/request for proposals documents and in contracts financed by a Bank loan, requiring (i) bidders (applicants/proposers), consultants, contractors, and suppliers, and their sub-contractors, sub-consultants, service providers, suppliers, agents, personnel, permit the Bank to inspect
 all accounts, records and other documents relating to the procurement process, selection and/or contract execution, and to have them audited by auditors appointed by the Bank.
APPENDIX 2 

Sexual Exploitation and Abuse (SEA) and/or Sexual Harassment (SH) Performance Declaration for Subcontractors*

[The following table shall be filled in by each subcontractor proposed by the Supplier, that was not named in the Contract]

Subcontractor’s Name: [insert full name]

Date: [insert day, month, year]
Contract reference [insert contract reference]
Page [insert page number] of [insert total number] pages

	SEA and/or SH Declaration 

	We:

(  (a) have not been subject to disqualification by the Bank for non-compliance with SEA/ SH obligations.

(  (b) are subject to disqualification by the Bank for non-compliance with SEA/ SH obligations.
(  (c) had been subject to disqualification by the Bank for non-compliance with SEA/ SH obligations, and were removed from the disqualification list. An arbitral award on the disqualification case has been made in our favor. 

	

	Period of disqualification: From: _______________ To: ________________


Name of the Subcontractor

Name of the person duly authorized to sign on behalf of the Subcontractor
_______

Title of the person signing on behalf of the Subcontractor
______________________
Signature of the person named above
______________________
Date signed ________________________________ day of ___________________, _____

Countersignature of authorized representative of the Supplier:

Signature: ________________________________________________________

Date signed ________________________________ day of ___________________, _____
	Section IX - Special Conditions of Contract

	The following Special Conditions of Contract (SCC) shall supplement and / or amend the General Conditions of Contract (GCC). Whenever there is a conflict, the provisions herein shall prevail over those in the GCC.

[The Purchaser shall select insert the appropriate wording using the samples below or other acceptable wording, and delete the text in italics]

	GCC 1.1(i)
	The Purchaser’s Country is: Ethiopia

	GCC 1.1(j)
	The Purchaser is: Ministry of Industry(OS-IAIP project)

	GCC 1.1 (o)
	The Project Site(s)/Final Destination(s) is/are: Ethiopia Addis Ababa, 4KILO Ministry of Industry(OS-IAIP project)

	GCC 1.1 (p)
	The term SEA/SH where used in the Contract has the following meaning:

· “Sexual Exploitation and Abuse” “(SEA)” means the following:

Sexual Exploitation is defined as any actual or attempted abuse of position of vulnerability, differential power or trust, for sexual purposes, including, but not limited to, profiting monetarily, socially or politically from the sexual exploitation of another.

Sexual Abuse is defined as the actual or threatened physical intrusion of a sexual nature, whether by force or under unequal or coercive conditions.

· “Sexual Harassment” “(SH)” is defined as unwelcome sexual advances, requests for sexual favors, and other verbal or physical conduct of a sexual nature by supplier’s personnel with other  supplier’s, or purchaser’s personnel.

	GCC 4.2 (a)
	The meaning of the trade terms shall be as prescribed by Incoterms. If the meaning of any trade term and the rights and obligations of the parties thereunder shall not be as prescribed by Incoterms, they shall be as prescribed by: DDP" (Delivered Duty Paid).


	GCC 4.2 (b)
	The version edition of Incoterms shall be N/A

	GCC 5.1
	The language shall be: English.

	GCC 8.1
	For notices, the Purchaser’s address shall be:

Attention: Girma Teferi
Street Address: Ethiopia Addis Ababa, 4KILO
Floor/ Room number:, Ministry of Industry office , OS-IAIP project procurement office 5th floor room No 511,
City: Addis Ababa, 4kilo
Country: Ethiopia
Telephone: 251-917-180001

	GCC 9.1
	The governing law shall be the law of: Federal Democratic Republic of Ethiopian Law

	GCC 10.2
	The rules of procedure for arbitration proceedings pursuant to GCC Clause 10.2 shall be as follows:

Contracts with Supplier national of the Purchaser’s Country:
In the case of a dispute between the Purchaser and a Supplier who is a national of the Purchaser’s Country, the dispute shall be referred to adjudication or arbitration in accordance with the laws of the Purchaser’s Country.

	GCC 13.1
	· Warranty shall be as specified in the respective furniture specifications.

· Documents required for payment processing include the invoice, delivery receipt, and other necessary supporting documents.

The above documents shall be received by the Purchaser before arrival of the Goods and, if not received, the Supplier will be responsible for any consequent expenses.

	GCC 14.9
	Cyber Security [insert either “applies” or “does not apply”]  [GCC 14.9 must apply if the contract has been assessed to present potential or actual cyber security risks.]

	GCC 14.10
	[Note to Purchaser: Under a Project assessed as high or substantial Sexual Exploitation and Abuse(SEA)/Sexual Harassment (SH) risk, include the following if the Related Services include activities that need to be performed by the Supplier’s personnel such as installation, operation and/or maintenance, otherwise state: “Not Applicable”.]

GCC 14.10.1 The Supplier shall have a code of conduct, and provide appropriate sensitization, for the Supplier’s personnel carrying out [state as applicable: installation/operation/maintenance/operation and maintenance] that include, but not limited to, maintaining a safe working environment and not engaging in the following practices:

(i) any form of sexual harassment including unwelcome sexual advances, requests for sexual favors, and other verbal or physical conduct of a sexual nature with other Supplier’s or Purchaser’s personnel;
(ii) any form of sexual exploitation, which means any actual or attempted abuse of position of vulnerability, differential power or trust, for sexual purposes, including, but not limited to, profiting monetarily, socially or politically from the sexual exploitation of another;

(iii) any form of sexual abuse, which means the actual or threatened physical intrusion of a sexual nature, whether by force or under unequal or coercive conditions; and  
(iv) any form of sexual activity with individuals under the age of 18, except in case of pre-existing marriage. 

GCC 14.10.2 The Purchaser may require the Supplier to remove (or cause to be removed), from the site or other places where the [state as applicable: installation/operation/maintenance/operation and maintenance] is being executed, a Supplier’s personnel that undertakes behaviors that are inconsistent with the code of conduct stated in GCC 14.9.1. Notwithstanding any requirement from the Purchaser to replace any such person, the Supplier shall immediately remove (or cause to be removed) any such person, from the site or other places where the [state as applicable: installation/operation/ maintenance/ operation and maintenance] is being executed. In either case, the Supplier shall promptly appoint, as appropriate, a suitable replacement with equivalent skills and experience.

	GCC 15.1
	The prices charged for the Goods supplied and the related Services performed [insert “shall” or “shall not,” as appropriate] be adjustable.

[Price adjustment shall be applied where local or foreign inflation as appropriate is expected to be high.]



	GCC 16.1
	Payment Terms
GCC 16.1—The method and conditions of payment to be made to the Supplier under this Contract shall be as follows:
· Full payment shall be made within ten (10) days following the delivery of the furniture and submission of all required documents, including the invoice and delivery receipt.

	GCC 16.5
	The payment-delay period after which the Purchaser shall pay interest to the supplier shall be 30 days.

The interest rate that shall be applied is 0.1%

	GCC 18.1
	A Performance Security  shall be required
The amount of the Performance Security shall be: 10% of purchasing or total contract value.


	GCC 18.3
	If required, the Performance Security shall be in the form of : bank  Demand Guarantee or insurance guarantee 


	GCC 24.1
	The insurance coverage shall be as specified in the Incoterms.

	GCC 25.1
	Responsibility for transportation of the Goods shall be as specified in the Incoterms. 


	GCC 25.2
	Incidental services to be provided are:  as GCC Clause 25.2


	GCC 26.1
	The inspections and tests shall be covered by the purchaser


	GCC 26.2
	The Inspections and tests shall be conducted at: OS-IAIP project site.

	GCC 27.1
	The liquidated damage shall be covered by suppliers.

	GCC 27.1
	The maximum amount of liquidated damages shall be:  5% 0f the price per week.

	GCC 28.3
	The period of validity of the Warranty shall be: as per the specifications   


	GCC 31.1
	All laboratory furniture shall be delivered, and the related services completed, within 120 days of the contract signing date.



	Section X - Contract Forms
Table of Forms

172Notification of Intention to Award


176Letter of Acceptance


177Contract Agreement


179Performance Security


183Advance Payment Security






Notification of Intention to Award

[This Notification of Intention to Award shall be sent to each Bidder that submitted a Bid, unless the Bidder has previously received notice of exclusion from the process at an interim stage of the procurement process.]

[Send this Notification to the Bidder’s Authorized Representative named in the Bidder Information Form]

For the attention of Bidder’s Authorized Representative 

Name:  Henok  Abebe
Address: Ethiopia Addis Ababa, 4kilo
Telephone: 251-913-029437
Email Address: henlid24@gmail.com
[IMPORTANT: insert the date that this Notification is transmitted to Bidders. The Notification must be sent to all Bidders simultaneously. This means on the same date and as close to the same time as possible.]  

DATE OF TRANSMISSION: This Notification is sent by: [email/fax] on [date] (local time) 

Notification of Intention to Award

Purchaser: Ministry of Industry /OS-IAIP project/
Project: OS-IAIP project
Contract title: procurement of laboratory furniture.
Country: Ethiopia Addis Ababa, 4Kilo
RFB No: NCB MOI/ OS-IAIP 04/2025
This Notification of Intention to Award (Notification) notifies you of our decision to award the above contract. The transmission of this Notification begins the Standstill Period. During the Standstill Period you may:

a) request a debriefing in relation to the evaluation of your Bid, and/or

b) Submit a Procurement-related Complaint in relation to the decision to award the contract.

1. The successful Bidder

	Name:
	[insert name of successful Bidder]

	Address:
	[insert address of the successful Bidder]

	Contract price:
	[insert contract price of the successful Bid]

	Total combined score:
	[insert the total combined score of the successful Bidder]


2. Other Bidders [INSTRUCTIONS: insert names of all Bidders that submitted a Bid, Bid prices as read out and evaluated, technical scores and  combined scores.]

	Name of Bidder
	Technical Score
	Bid Price
	Evaluated Bid Cost
	Combined Score

	[insert name]
	[insert Technical score]
	[insert Bid price]
	[insert evaluated cost]
	[insert combined score]

	[insert name]
	[insert Technical score]
	[insert Bid price]
	[insert evaluated cost]
	[insert combined score]

	[insert name]
	[insert Technical score]
	[insert Bid price]
	[insert evaluated cost]
	[insert combined score]

	[insert name]
	[insert Technical score]
	[insert Bid price]
	[insert evaluated cost]
	[insert combined score]

	[insert name]
	[insert Technical score]
	[insert Bid price]
	[insert evaluated cost]
	[insert combined score]


3. Reason/s why your Bid was unsuccessful [Delete if the combined score already reveals the reason]
	[INSTRUCTIONS: State the reason/s why this Bidder’s Bid was unsuccessful. Do NOT include: (a) a point by point comparison with another Bidder’s Bid or (b) information that is marked confidential by the Bidder in its Bid.]


4. How to request a debriefing

	DEADLINE: The deadline to request a debriefing expires at midnight on three Business Days after written of official letter. (Local time).

You may request a debriefing in relation to the results of the evaluation of your Bid. If you decide to request a debriefing your written request must be made within three (3) Business Days of receipt of this Notification of Intention to Award.

Provide the contract name, reference number, name of the Bidder, contact details; and address the request for debriefing as follows:

Attention: [insert full name of person, if applicable]

Title/position: [insert title/position]

Agency: [insert name of Purchaser]

Email address: [insert email address]

Fax number: [insert fax number] delete if not used

If your request for a debriefing is received within the 3 Business Days deadline, we will provide the debriefing within five (5) Business Days of receipt of your request. If we are unable to provide the debriefing within this period, the Standstill Period shall be extended by five (5) Business Days after the date that the debriefing is provided. If this happens, we will notify you and confirm the date that the extended Standstill Period will end.

The debriefing may be in writing, by phone, video conference call or in person. We shall promptly advise you in writing how the debriefing will take place and confirm the date and time.

If the deadline to request a debriefing has expired, you may still request a debriefing. In this case, we will provide the debriefing as soon as practicable, and normally no later than fifteen (15) Business Days from the date of publication of the Contract Award Notice.


5. How to make a complaint 

	Period:  Procurement-related Complaint challenging the decision to award shall be submitted by midnight, [insert date] (local time). 
Provide the contract name, reference number, name of the Bidder, contact details; and address the Procurement-related Complaint as follows:

Attention: [insert full name of person, if applicable]

Title/position: [insert title/position]

Agency: [insert name of Purchaser]

Email address: [insert email address]

Fax number: [insert fax number] delete if not used
At this point in the procurement process, you may submit a Procurement-related Complaint challenging the decision to award the contract. You do not need to have requested, or received, a debriefing before making this complaint. Your complaint must be submitted within the Standstill Period and received by us before the Standstill Period ends.

Further information:

For more information see the Procurement Regulations for IPF Borrowers (Procurement Regulations) (Annex III). You should read these provisions before preparing and submitting your complaint. In addition, the World Bank’s Guidance “How to make a Procurement-related Complaint” provides a useful explanation of the process, as well as a sample letter of complaint.

In summary, there are four essential requirements:

1. You must be an ‘interested party’. In this case, that means a Bidder who submitted a Bid in this bidding process, and is the recipient of a Notification of Intention to Award.

2. The complaint can only challenge the decision to award the contract. 

3. You must submit the complaint within the period stated above.

4. You must include, in your complaint, all of the information required by the Procurement Regulations (as described in Annex III).


6. Standstill Period 

	DEADLINE: The Standstill Period is due to end at midnight on [insert date] (local time).

The Standstill Period lasts ten (10) Business Days after the date of transmission of this Notification of Intention to Award. 

The Standstill Period may be extended as stated in Section 4 above. 


If you have any questions regarding this Notification please do not hesitate to contact us.

On behalf of the Purchaser:

Name: Girma Teferi
Title/Position: Procurement Specialist   
Telephone: 251-917-180001
Email:
gjrmateferi31@gmail.com.
Letter of Acceptance

[letterhead paper of the Purchaser]

[date]
To: ADVANCE \D 1.90[name and address of the Supplier]
Subject: Notification of award Contract No. . . . . . . . . . .  
This is to notify you that your Bid dated . . . . [insert date] . . . . for execution of the . . . .  . . . . [insert name of the contract and identification number, as given in the SCC] . . . . . . . . . . for the Accepted Contract Amount of . . . . . . . . . [insert amount in numbers and words and name of currency], as corrected and modified in accordance with the Instructions to Bidders is hereby accepted by our Agency.

You are requested to furnish (i) the Performance Security within 28 days in accordance with the Conditions of Contract, using for that purpose one of the Performance Security Forms and (ii) the additional information on beneficial ownership in accordance with ITB 48.1 within eight (8) Business days using the Beneficial Ownership Disclosure Form, included in Section X, - Contract Forms, of the Bidding Document. 

Authorized Signature: 

Name and Title of Signatory: 

Name of Agency: 

Attachment: Contract Agreement
Contract Agreement

[The successful Bidder shall fill in this form in accordance with the instructions indicated]

THIS AGREEMENT made the [ insert: number ] day of [ insert: month ], [ insert: year ].

BETWEEN

(1)
[ insert complete name of Purchaser ], a [ insert description of type of legal entity, for example, an agency of the Ministry of .... of the Government of { insert name of Country of Purchaser }, or corporation incorporated under the laws of { insert name of Country of Purchaser } ] and having its principal place of business at [ insert address of Purchaser ] (hereinafter called “the Purchaser”), of the one part, and 
(2)
[ insert name of Supplier ], a corporation incorporated under the laws of [ insert: country of Supplier ] and having its principal place of business at [ insert: address of Supplier ] (hereinafter called “the Supplier”), of the other part:
WHEREAS the Purchaser invited Bids for certain Goods and ancillary services, viz., [insert brief description of Goods and Services] and has accepted a Bid by the Supplier for the supply of those Goods and Services 
The Purchaser and the Supplier agree as follows: 
1.
In this Agreement words and expressions shall have the same meanings as are respectively assigned to them in the Contract documents referred to.

2.
The following documents shall be deemed to form and be read and construed as part of this Agreement. This Agreement shall prevail over all other contract documents.
(a) the Letter of Acceptance
(b) Letter of Bid - Technical Part 
(c) Letter of Bid - Financial Part 
(d) the Addenda Nos._____ (if any) 
(e) Special Conditions of Contract

(f) General Conditions of Contract

(g) the Specification (including Schedule of Requirements and Technical Specifications)

(h) the completed Schedules (including Price Schedules) 
(i) any other document listed in GCC as forming part of the Contract 
(3)
In consideration of the payments to be made by the Purchaser to the Supplier as specified in this Agreement, the Supplier hereby covenants with the Purchaser to provide the Goods and Services and to remedy defects therein in conformity in all respects with the provisions of the Contract.

(4)
The Purchaser hereby covenants to pay the Supplier in consideration of the provision of the Goods and Services and the remedying of defects therein, the Contract Price or such other sum as may become payable under the provisions of the Contract at the times and in the manner prescribed by the Contract.

IN WITNESS whereof the parties hereto have caused this Agreement to be executed in accordance with the laws of [insert the name of the Contract governing law country] on the day, month and year indicated above.

For and on behalf of the Purchaser:
Signed: [insert signature] 


in the capacity of [insert title or other appropriate designation]
in the presence of [insert identification of official witness]
For and on behalf of the Supplier:
Signed: [insert signature of authorized representative(s) of the Supplier] 
in the capacity of [insert title or other appropriate designation]
in the presence of [insert identification of official witness]
Performance Security 
Option 1: (Bank Guarantee)

[The bank, as requested by the successful Bidder, shall fill in this form in accordance with the instructions indicated] 
[Guarantor letterhead or SWIFT identifier code]

Beneficiary: [insert name and Address of Purchaser]



Date: [Insert date of issue]
PERFORMANCE GUARANTEE No.: [Insert guarantee reference number]
Guarantor: [Insert name and address of place of issue, unless indicated in the letterhead]
We have been informed that _ [insert name of Supplier, which in the case of a joint venture shall be the name of the joint venture] (hereinafter called "the Applicant") has entered into Contract No. [insert reference number of the contract] dated [insert date] with the Beneficiary, for the supply of _ [insert name of contract and brief description of Goods and related Services] (hereinafter called "the Contract"). 
Furthermore, we understand that, according to the conditions of the Contract, a performance guarantee is required.

At the request of the Applicant, we as Guarantor, hereby irrevocably undertake to pay the Beneficiary any sum or sums not exceeding in total an amount of [insert amount in figures] 
(          ) [insert amount in words],1 such sum being payable in the types and proportions of currencies in which the Contract Price is payable, upon receipt by us of the Beneficiary’s complying demand supported by the Beneficiary’s statement, whether in the demand itself or in a separate signed document accompanying or identifying the demand, stating that the Applicant is in breach of its obligation(s) under the Contract, without the Beneficiary needing to prove or to show grounds for your demand or the sum specified therein. 
This guarantee shall expire, no later than the …. Day of ……, 2…2, and any demand for payment under it must be received by us at this office indicated above on or before that date. 
This guarantee is subject to the Uniform Rules for Demand Guarantees (URDG) 2010 Revision, ICC Publication No. 758, except that the supporting statement under Article 15(a) is hereby excluded.

_____________________ 
[signature(s)] 
Note: All italicized text (including footnotes) is for use in preparing this form and shall be deleted from the final product.
Option 2: Performance Bond
By this Bond [insert name of Principal] as Principal (hereinafter called “the Supplier”) and [insert name of Surety] as Surety (hereinafter called “the Surety”), are held and firmly bound unto [insert name of Purchaser] as Obligee (hereinafter called “the Supplier”) in the amount of [insert amount in words and figures], for the payment of which sum well and truly to be made in the types and proportions of currencies in which the Contract Price is payable, the Supplier and the Surety bind themselves, their heirs, executors, administrators, successors and assigns, jointly and severally, firmly by these presents.

WHEREAS the Supplier has entered into a written Agreement with the Purchaser dated the 
 day of 
, 20 
, for [name of contract and brief description of Goods and related Services] in accordance with the documents, plans, specifications, and amendments thereto, which to the extent herein provided for, are by reference made part hereof and are hereinafter referred to as the Contract.

NOW, THEREFORE, the Condition of this Obligation is such that, if the Supplier shall promptly and faithfully perform the said Contract (including any amendments thereto), then this obligation shall be null and void; otherwise, it shall remain in full force and effect. Whenever the Supplier shall be, and declared by the Purchaser to be, in default under the Contract, the Purchaser having performed the Purchaser’s obligations thereunder, the Surety may promptly remedy the default, or shall promptly:


(1)
complete the Contract in accordance with its terms and conditions; or


(2)
obtain a Bid or Bids from qualified Bidders for submission to the Purchaser for completing the Contract in accordance with its terms and conditions, and upon determination by the Purchaser and the Surety of the lowest responsive Bidder, arrange for a Contract between such Bidder and Purchaser and make available as work progresses (even though there should be a default or a succession of defaults under the Contract or Contracts of completion arranged under this paragraph) sufficient funds to pay the cost of completion less the Balance of the Contract Price; but not exceeding, including other costs and damages for which the Surety may be liable hereunder, the amount set forth in the first paragraph hereof. The term “Balance of the Contract Price,” as used in this paragraph, shall mean the total amount payable by Purchaser to Supplier under the Contract, less the amount properly paid by Purchaser to the Supplier; or


(3)
pay the Purchaser the amount required by Purchaser to complete the Contract in accordance with its terms and conditions up to a total not exceeding the amount of this Bond.

The Surety shall not be liable for a greater sum than the specified penalty of this Bond.

Any suit under this Bond must be instituted not later than twenty-eight (28) days following the date of completion of the Supplier’s performance of its obligations under the Contract, including any warranty obligations.

No right of action shall accrue on this Bond to or for the use of any person or corporation other than the Purchaser named herein or the heirs, executors, administrators, successors, and assigns of the Purchaser.

In testimony whereof, the Supplier has hereunto set his hand and affixed his seal, and the Surety has caused these presents to be sealed with his corporate seal duly attested by the signature of his legal representative, this 
 day of 
 20 
.

SIGNED ON 
 on behalf of 

By 
 in the capacity of 

In the presence of 

SIGNED ON 
 on behalf of 

By 
 in the capacity of 

In the presence of 

Advance Payment Security 
Demand Guarantee

[Guarantor letterhead or SWIFT identifier code] 
Beneficiary: [Insert name and Address of Purchaser]



Date:
[Insert date of issue]
ADVANCE PAYMENT GUARANTEE No.:
[Insert guarantee reference number]
Guarantor: [Insert name and address of place of issue, unless indicated in the letterhead]
We have been informed that [insert name of Supplier, which in the case of a joint venture shall be the name of the joint venture] (hereinafter called “the Applicant”) has entered into Contract No. [insert reference number of the contract] dated [insert date] with the Beneficiary, for the execution of [insert name of contract and brief description of Goods and related Services] (hereinafter called "the Contract"). 
Furthermore, we understand that, according to the conditions of the Contract, an advance payment in the sum [insert amount in figures] () [insert amount in words] is to be made against an advance payment guarantee.

At the request of the Applicant, we as Guarantor, hereby irrevocably undertake to pay the Beneficiary any sum or sums not exceeding in total an amount of [insert amount in figures] 
(          ) [insert amount in words]1 upon receipt by us of the Beneficiary’s complying demand supported by the Beneficiary’s statement, whether in the demand itself or in a separate signed document accompanying or identifying the demand, stating either that the Applicant:

(a) has used the advance payment for purposes other than toward delivery of Goods; or
(b) has failed to repay the advance payment in accordance with the Contract conditions, specifying the amount which the Applicant has failed to repay. 
A demand under this guarantee may be presented as from the presentation to the Guarantor of a certificate from the Beneficiary’s bank stating that the advance payment referred to above has been credited to the Applicant on its account number [insert number] at [insert name and address of Applicant’s bank].

The maximum amount of this guarantee shall be progressively reduced by the amount of the advance payment repaid by the Applicant as specified in copies of interim statements or payment certificates which shall be presented to us. This guarantee shall expire, at the latest, upon our receipt of a copy of the interim payment certificate indicating that ninety (90) percent of the Accepted Contract Amount, has been certified for payment, or on the [insert day] day of [insert month], 2 [insert year], whichever is earlier. Consequently, any demand for payment under this guarantee must be received by us at this office on or before that date.

This guarantee is subject to the Uniform Rules for Demand Guarantees (URDG) 2010 Revision, ICC Publication No.758, except that the supporting statement under Article 15(a) is hereby excluded.
____________________ 
[signature(s)] 

Note: All italicized text (including footnotes) is for use in preparing this form and shall be deleted from the final product.
ETHICAL CLAUSES AND GENERAL PRINCIPLES FOR PROCUREMENT AND EXECUTION OF CONTRACTS

The present Annex contains the ethical clauses and fundamental principles on procurement, drafting and execution of works, supplies and service procurement contracts foreseen in the Intergovernmental Agreement. All matters not expressly mentioned in the present Annex shall be regulated by the applicable law established by the Agreement. 

1. CONTRACTOR’S REQUIREMENTS

1.1 Unless differently stated in the Agreement, procurement procedures are open to EU economic operators , operators falling in the conditions set out by art. 25 of the EU/2014/24 Directive and operators fulfilling requirements and qualifications for contracts according to their National law.

1.2 The Contracting Authority may  request all tenderers to fulfil one or more requirements to take part in public procurement, provided that such requirements are relevant and proportionate to perform the contract to an appropriate quality standard.

1.2.1   Economic and financial capacity.  The Contracting Authority may impose conditions for participation to guarantee that economic  operators possess economic and financial capacity to perform the contract. To that end, the Contracting Authority may request in particular that economic operators have a minimum yearly turnover. The Contracting Authority may not request a minimum yearly turnover exceeding the double of the estimated contract amount, except in cases duly justified by the special risks related to the nature of the works, services or supplies.  Where a contract is divided into lots, this Article shall apply in relation to each individual lot. However, the contracting authority may set the minimum yearly turnover that economic operators are required to have by reference to groups of lots in the event that the successful tenderer is awarded several lots to be executed at the same time.

1.2.2. Professional and technical capacity:  Contracting authorities may impose requirements ensuring that economic operators possess the necessary human and technical resources and experience to perform the contract to an appropriate quality standard.  Contracting authorities may require, in particular, that economic operators have a sufficient level of experience demonstrated by suitable references from contracts performed in the past. In procurement procedures for supplies requiring siting or installation work, services or works, the professional ability of economic operators to provide the service or to execute the installation or the work may be evaluated with regard to their skills, efficiency, experience and reliability

1.2.3 Qualifications for professional activities: With regard to suitability to pursue the professional activity, contracting authorities may require economic operators to be enrolled in one of the professional or trade registers kept in their State of establishment., 

1.2.3 Tender documents shall indicate the required conditions of participation which may be expressed as minimum levels of ability, together with the appropriate means of proof.

1.4  Where an economic operator relies on the capacities of other entities with regard to criteria relating to economic and financial standing, the contracting authority may require that the economic operator and those entities be jointly liable for the execution of the contract.

1.5 . In the case of works contracts, service contracts and siting or installation operations in the context of a supply contract, contracting authorities may require that certain critical tasks be performed directly by the tenderer itself or, where the tender is submitted by a group of economic operators , by a participant in that group .

1.6  Economic operators falling in one or more of the following conditions are excluded from participation in public procurement ,and cannot be awarded a contract: 

1.6.1 they have been the subject of a conviction by final judgment for one of the following reasons, as defined by art. 57 of the EU/2014/24 directive:  participation in a criminal organization, corruption, fraud,  terrorist offences or offences linked to terrorist activities, money laundering or terrorist financing, child labor and other forms of trafficking in human beings;

1.6.2 they  have been the subject of a conviction by final judgment for any other crime having as a consequence the incapability of contracting with public Authorities, either in the country where they are established or in one of the country Parties of the Agreement; 

1.6.3 they are in serious breach of their obligations relating to the payment of taxes or social security contributions because they have been the subject of a conviction by final judgment or a binding final administrative decision in the State of the Donor or of the contracting authority of in the country where they are established; 

 1.6.4 they  are in serious breach ,demonstrated by any appropriate means of their legal obligations on health and social security, environment, welfare and labor , in in the State of the Donor or of the contracting authority of in the country where they are established; 

1.6.5  either  they are subject of a proceeding to declare, or they are in one of the following conditions : bankrupt, or being wound up, insolvent, or are having their affairs administered by the liquidator or by the courts, or have entered in an arrangement with creditors, with or without suspending their business activities, or are in an analogous situation; 

1.6.6 the contracting authority can demonstrate by appropriate means that the economic operator is guilty of grave professional misconduct, which renders its integrity questionable;

1.6.7 they, or the members of the group to which they belong,  their partners in joint ventures or groups or their subcontractors, are in conflict of interest linked to their prior involvement in the procurement procedure, having provided consultancy to the contracting authority or having been involved in the preliminary phases of the procurement procedure;

1.6.8 they have been guilty of serious misrepresentation in supplying the information required for the verification of the absence of grounds for exclusion or the fulfilment of the selection criteria, they have withheld such information to one of the Parties of the Agreement or they are recorded in the register kept by the Observatory of the Italian Anticorruption Authority for submission of false documents or false information in order to obtain qualification for their professional activity; 

1.6.9 They have been convicted by a judgement for terrorism, or participation to a criminal organization,  having as a consequence loss, suspension or ban  from participating in public procurement procedures;

1.6.10  They have been banned from being awarded a public procurement contract by a binding final administrative decision (as a consequence of a final judgement on a crime), in the State of the Donor or of the contracting authority of in the country where they are established;

1.6.11 They are in breach of their obligations related to prohibition of fictitious transfer of ownership to trustees on a fiduciary basis , regarding control of fictitious transfer of ownership to third parties either in the State of the Donor or of the contracting authority or in the country where they are established;

1.6.12  They are not compliant with their obligations concerning working rights of people with disabilities in the State of the contracting authority;

1.6.13 They are in control of any other tenderer participating to the same procurement procedure, or they exert  a decisive influence on the  other tenderer implying that their tenders are attributable to one and only decision making management structure; 

1.6.14  They have hired, as employees or consultants, former  employees of the contracting authority whose contract is expired form less than three years, in case those former employees, within the last three years, had decision-making powers on behalf of the contracting authority in awarding contracts to themselves. 

1.7  An economic operator shall also be excluded when a member of the administrative, management or supervisory body of that economic operator or has powers of representation, decision or control therein falls under of the conditions set out in par. 1.6.   

2. CHOICE OF CONTRACTORS

2.1  Award and execution of works, supply and service contacts and concessions guarantee performance quality and respect of cost effectiveness, efficacy, promptness, and fairness. In contracts and concession awards,  contracting authorities abide also  to the principles of free competition, non-discrimination, transparency, proportionality and publicity.  Whenever allowed by the applicable law, upon criteria expressly mentioned in the tender documents, inspired by social needs, protection of health, environment, cultural heritage and sustainable development, also in energy . Contracting authorities shall treat economic operators equally and without discrimination and shall act in a transparent and proportionate manner.

2.2  The design of the procurement shall not be made with the intention of  artificially narrowing competition with the intention of unduly favouring or disadvantaging certain economic operators .or certain works, suppliers or services. 

2.3 Criteria for choosing participants  to public procurement procedures  shall not discriminate micro, small and medium enterprises.

2.4.  Bidding documents shall specify the financial resources available for the contract to be awarded, and the maximum amount of the auction.. Any offer above that amount shall be automatically excluded.

2.5Award procedures shall be cancelled if there are fewer than three eligible candidates./bidders.  Whenever objective market conditions reasons render highly unlikely submission of three valid offers, tender documents may allow award in presence of one or two valid  eligible offers.

2.6  Each bidder may submit only one offer.  When submitting their tender, bidders declare not to have any conflict of interest and not to have any specific connection to other tenderers or to other parties involved in the procurement procedure. 

2.7  Tender documents only may authorise or require tenderers to submit variants. Variants shall not be authorised without such indication. Variants shall be linked to the subject-matter of the contract.

2.8 Whenever the Agreement requires a no-objection on procurement procedures by AICS,contracting authorities requests a bid guarantee amounting to 2% of the maximum amount of the auction.  Guarantees may be issued by a bank or a primary insurance company, shall be effective upon complying demand of the contracting authority simply stating that the contractor is in breach of his obligations and must contain an express waiver to the right to enforce the prior payment of the original debtor.  The guarantee shall be requested  if the contract is not stipulated due to the fault of the contractor. 

3. CONTRACT EXECUTION

3.1 Contracts awarded after  a no-objection by AICS shall be guaranteed by a performance bond, normally  equal to 10%.of the contract price.  Guarantees may be issued by a bank or a primary insurance company, shall be effective at first demand of  the contracting authority and must contain an express waiver to the right to enforce the prior payment of the original debtor.  Guarantees shall also be payable upon fraud or grave misconduct of the contractor.  Performance bonds are progressively reduced during contract execution, and anyway up to maximum 80% of the amount of the guarantee. The remaining 20% shall be released upon verification of regular execution of the contract. 

3.2  Contracts can be modified during their term with the prior approval of AICS, pursuant to art. 72 of the EU/2014/24 directive.  Anyway, any increase in price shall not exceed  the total amount budgeted in the Agreement.  The approval of modifications can be denied if they make impossible or highly unlikely completion of other activities of the initiative regulated by the Agreement.  Contractors shall not be entitled to any payment or reimbursement whatsoever for expenses deriving from activities carried out without AICS’ prior approval.  Upon AICS’ or the contracting authority’s request, contractors may be asked to restore, at their own expense, the original state before the unauthorized modification.   

3.3  The contracting authority may, if during the contract term it becomes necessary increase or reduce the total contract amount up to 20% , ask fulfillment at the same conditions of the original contract. Contractors shall not be allowed to terminate the contract. 
3.4  Contacts may not be assigned to third parties.  In case of assignment, the contract shall be automatically terminated. Assignment can be allowed, upon AICS’ prior approval, only if a new contractor replaces the previous as a  consequence of universal or partial succession into the position of the initial contractor, due to death, corporate restructuring, including takeover, merger, acquisition or insolvency, of another economic operator that fulfils the criteria for qualitative selection initially established provided that this does not entail other substantial modifications to the contract and is not aimed at circumventing application of the present Annex;

3.5  Contracts’ duration can only be extended during their term of execution, if an option to extend duration is expressly included in the original contract and in tender documents.. In that case, contractors are bound to perform at the same prices and conditions of the original, or the most advantageous for the contracting authority.   

3.6  Without prejudice to fulfilment of obligations regarding traceability of financial flows, as per the following paragraph 3.10, handover of credits deriving from a procurement, design contest  or concession contract are considered effective by the Italian Government only upon AICS prior approval..  In any case, the contracting authority reserves the right to object to the assignee all exceptions applicable to the original contractor pursuant to the works, supply, service, or design contract signed by the latter. 

3.7 Contractors who have been awarded a design contract are responsible for damages caused to the contracting authorities for errors or omissions  in their design.   In case of design or works procurement contracts, contractors are responsible for delays and additional expenses caused by deficiencies in the original design.

3.8    Tender documents shall indicate conditions for subcontracting. Tenderers shall declare , in their bids, which supplies, services or works they intend to subcontract.  Successful tenderers submit all subcontracts to the contracting authorities before the performance of the subcontract commences .  Main contractors are fully responsible to the contracting authority for the entire contract . Subcontractors have to fulfill all requirements as per par. 1.2 in relation to the subcontract and must not fall under any grounds for exclusion under  paragraphs 1.6 and 1.7 above. Tenderers or main contractors shall replace all subcontractors  incurring in any ground for exclusion.

3.9 Contract prices are expressed and paid in Euro, or in the currency otherwise expressly mentioned in the Agreement.  Exchange risks and variations shall not be subject to any compensation whatsoever.

3.10  Payments shall be traceable, according to deadlines foreseen in the contract and taking into account the actual progress in performance.  The Italian Government makes payments to the other Party, as foreseen in the Agreement, exclusively on a dedicated bank account. In all contracts a specific clause obliges the contracting authorities, main and subcontractors to use the dedicated account for all payments.  

3.11  Contracts are automatically terminated if contractors are  subject of proceedings for bankruptcy, for winding up, for having their affairs administered by the court, or are in an arrangement with creditors, or for any similar procedure provided for in their National law.

3.12  In case of willful misconduct or serious fault, contractors’ liability may not be limited.

3.13  Contract execution shall be governed by the  law of the contracting authority, unless differently foreseen in the Agreement or in this Annex.

3.14  Disputes arising between the contractors and the contracting authority shall not be subject to the jurisdiction of the Italian courts. 

4.  ELIGIBLE AND INELIGIBLE COSTS

4.1  The costs included in the contract(s) shall be eligible if they are actual, economic, and necessary for carrying out the Project pursuant to Project document.

4.2 In any case, the following items shall not be considered eligible:

4.2.1  voluptuary or luxury goods (e.g. perfumes, cosmetics, art objects, spirits, sports goods, etc.);

4.2.2  goods, services and civil works directly or indirectly connected to military activities;

4.2.3  non-income / non-profit taxes (including VAT) and import duties eventually due in the country of the contracting authority;

4.2.4   provisions for outstanding debts and future losses of the beneficiary or the final users;

4.2.5   interests owed by the contracting authority or the final users to any third party.

5. ETHICAL CLAUSES

5.1 Any attempt by candidates or bidders to obtain confidential information, enter into unlawful agreements with competitors or influence the contracting authority during the process of examining, clarifying, evaluating, and comparing tenders will lead to the rejection of his candidacy or tender and may result in administrative penalties;

5.2  Contractors and their staff or any other company with which the contractor is associated or linked may not, even on an ancillary or subcontracting basis, supply other services, carry out works or supply equipment for the Project.

5.3  Contractors must at all times act impartially and as a faithful adviser in accordance with the code of conduct of their profession. They must refrain from making public statements about the Project or services without the contracting authority’s prior approval. They may not commit the contracting authority in any way without its prior written consent.

5.4  For the duration of the contract, contractors and their staff must respect human rights and undertake not to offend the political, cultural and religious mores of the beneficiary state. In particular, tenderers who have been awarded contracts shall respect core labour standards as defined in the relevant International Labour Organisation conventions (such as the conventions on labour unions and the protection of labour unions’ rights, and on freedom of association and collective bargaining; elimination of forced and compulsory labour, as integrated by the 2014 Protocol; elimination of discrimination in respect of employment and occupation; convention on the protection of maternity, the convention on safety and health in agriculture, and the abolition of child labour).

5.5  The contractors may accept no payment connected with the contract other than that provided for therein. The contractors and their staff must not exercise any activity or receive any advantage inconsistent with their obligations to the contracting authority.

5.6  The contractor and their staff are obliged to maintain professional secrecy for the entire duration of the contract and after its completion. All reports and documents drawn up or received by the contractor are confidential.

5.7  The contractors shall refrain from any relationship likely to compromise their independence or that of their staff. If contractors cease to be independent, or in case a conflict of interest arises,  they inform the contracting authority with no delay.  The contracting authority may terminate the contract without further notice and without the supplier having any claim to compensation.

5.8   Either MAECI- DGCS or AICS reserve the right to suspend or cancel Project financing if corrupt practices of any kind are discovered at any stage of the award process and if the contracting authority fails to take all appropriate measures to remedy the situation. For the purposes of this provision, "corrupt practices" are the offer of a bribe, gift, gratuity or commission to any person as an inducement or reward for performing or refraining from any act relating to the award of a contract or implementation of a contract already concluded with the contracting authority.

5.9  More specifically, all tender dossiers and contracts for works, supplies and services must include a clause stipulating that tenders will be rejected or contracts terminated if it emerges that the award or execution of a contract has given rise to unusual commercial expenses. Such unusual commercial expenses are commissions not mentioned in the main contract or not stemming from a properly concluded contract referring to the main contract, commissions not paid in return for any actual and legitimate service, commissions remitted to a tax haven, commissions paid to a recipient who is not clearly identified or commissions paid to a company which has every appearance of being a front company.

5.10   Contractors undertakes to supply the AICS on request with supporting evidence regarding the conditions in which the contract is being executed. The Italian competent authorities may carry out whatever documentary or on-the-spot checks it deem necessary to find evidence in cases of suspected unusual commercial expenses or suspect corruptive practices.

5.11  Contractors found to have paid unusual commercial expenses on Projects funded by the AICS are liable, depending on the seriousness of the facts observed, to have their contracts terminated or to be permanently excluded from receiving Italian government’s funds.

5.12  Failure to comply with one or more of the ethics clauses may result in the exclusion of the candidate, bidder or contractor from other Italian-funded contracts, and in penalties foreseen in the contract. The individual or company in question must be informed of the fact in writing.

5.13  It is the obligation of the contracting authority to  make sure that procurement procedures are concluded in a transparent manner, based on objective criteria and disregarding any possible external influences.

� 	The amount of the Bond shall be denominated in the currency of the Purchaser’s country or the equivalent amount in a freely convertible currency.


� 	For the avoidance of doubt, a sanctioned party’s ineligibility to be awarded a contract shall include, without limitation, (i) applying for pre-qualification, expressing interest in a consultancy, and bidding, either directly or as a nominated sub-contractor, nominated consultant, nominated manufacturer or supplier, or nominated service provider, in respect of such contract, and (ii) entering into an addendum or amendment introducing a material modification to any existing contract.


� 	A nominated sub-contractor, nominated consultant, nominated manufacturer or supplier, or nominated service provider (different names are used depending on the particular bidding document) is one which has been: (i) included by the bidder in its pre-qualification application or bid because it brings specific and critical experience and know-how that allow the bidder to meet the qualification requirements for the particular bid; or (ii) appointed by the Borrower.  


� 	Inspections in this context usually are investigative (i.e., forensic) in nature.  They involve fact-finding activities undertaken by the Bank or persons appointed by the Bank to address specific matters related to investigations/audits, such as evaluating the veracity of an allegation of possible Fraud and Corruption, through the appropriate mechanisms.  Such activity includes but is not limited to: accessing and examining a firm's or individual's financial records and information, and making copies thereof as relevant; accessing and examining any other documents, data and information (whether in hard copy or electronic format) deemed relevant for the investigation/audit, and making copies thereof as relevant; interviewing staff and other relevant individuals; performing physical inspections and site visits; and obtaining third party verification of information.


� 	For the avoidance of doubt, a sanctioned party’s ineligibility to be awarded a contract shall include, without limitation, (i) applying for pre-qualification, expressing interest in a consultancy, and bidding, either directly or as a nominated sub-contractor, nominated consultant, nominated manufacturer or supplier, or nominated service provider, in respect of such contract, and (ii) entering into an addendum or amendment introducing a material modification to any existing contract.


� 	A nominated sub-contractor, nominated consultant, nominated manufacturer or supplier, or nominated service provider (different names are used depending on the particular bidding document) is one which has been: (i) included by the bidder in its pre-qualification application or bid because it brings specific and critical experience and know-how that allow the bidder to meet the qualification requirements for the particular bid; or (ii) appointed by the Borrower.  


� 	Inspections in this context usually are investigative (i.e., forensic) in nature.  They involve fact-finding activities undertaken by the Bank or persons appointed by the Bank to address specific matters related to investigations/audits, such as evaluating the veracity of an allegation of possible Fraud and Corruption, through the appropriate mechanisms.  Such activity includes but is not limited to: accessing and examining a firm's or individual's financial records and information, and making copies thereof as relevant; accessing and examining any other documents, data and information (whether in hard copy or electronic format) deemed relevant for the investigation/audit, and making copies thereof as relevant; interviewing staff and other relevant individuals; performing physical inspections and site visits; and obtaining third party verification of information.


1	 The Guarantor shall insert an amount representing the percentage of the Accepted Contract Amount specified in the Letter of Acceptance, and denominated either in the currency (ies) of the Contract or a freely convertible currency acceptable to the Beneficiary.


2	Insert the date twenty-eight days after the expected completion date as described in GC Clause 18.4. The Purchaser should note that in the event of an extension of this date for completion of the Contract, the Purchaser would need to request an extension of this guarantee from the Guarantor. Such request must be in writing and must be made prior to the expiration date established in the guarantee. In preparing this guarantee, the Purchaser might consider adding the following text to the form, at the end of the penultimate paragraph: “The Guarantor agrees to a one-time extension of this guarantee for a period not to exceed [six months] [one year], in response to the Beneficiary’s written request for such extension, such request to be presented to the Guarantor before the expiry of the guarantee.”


1	The Guarantor shall insert an amount representing the amount of the advance payment and denominated either in 


the currency(ies) of the advance payment as specified in the Contract, or in a freely convertible currency acceptable to the Purchaser.





2
2

